Proposed Instrument design simulations

Vinita J. Ghosh

July 2003

One of the primary objectives in designing HYSPEC has been to maximize the signal to background ratio. This objective will be accomplished by doing two sets of simulations, one set to maximize the flux on sample, the second set to minimize the beam-related background. The final design of the instrument will use information obtained from these two sets of simulations

HYSPEC has been assigned a beamline (BL14B), and we can now include the detailed beam-related information into our model before we proceed with the (final?) design optimization. The following features can be included:

- The moderator-monochromator distance is 24.5m (according to Scot Doran).

- The tilt of the moderator surface with respect to the beam direction is 2.4 degrees.

- The fact that there will be no guide in the core vessel insert

- The guide will start at the upstream end of the shutter and can be as large as 10cm wide and 12cm high at the upstream end.

Apart from these changes the model is essentially similar to the one we have used so far. I have put together a list of BL14B-related information that I need to include in the design and shielding models later on. I would like to send this list to Tom Fornek so he can tell me whom to contact for this kind of information.

The following simulations need to be performed to optimize the design of the instrument. The flux on sample, energy and Q resolution simulations will be performed using MCSTAS, the beam-related background and shielding simulations using MCNPX. The MCSTAS simulations are done on ‘NEUTRONS’, the MCNPX and NISP on my PC.

I   Simulations for optimizing the guide configuration.

- First, optimize the guide height using a guide with a uniform width of 4cm,

- The guide expands continuously from 12cm to 15-20cm.

- The guide has two expanding funnels as in the current model

- After the vertical profile is optimized, optimize the horizontal profile. The two possible options to investigate, are

- The guide converges continuously from 10 to 4cm

- The guide converges discontinuously, in the form of two funnels.

- Next, curve the optimized guide. Neither NISP nor MCSTAS includes algorithms for expanding or converging curved guides. However, the curved guide can be simulated as a collection of segmented straight guides (which can expand or converge), set at appropriate angles with respect to each other.

II Simulations to measure the flux on sample, E and Q resolution of the instrument.

Energy and Q-resolution of the instrument will be studied for the optimized guide configuration with 3θc supermirror coatings.

III Guide coating

The guide optimization will be performed using 3θc supermirror coatings on all sides of the guides. Using the optimized guide configuration, check how much improvement is obtained in the flux on sample for θc > 3. For HERMES it was found that the flux on sample improved by going to higher values of θc but the Q- resolution of the instrument deteriorated by going to higher values of θc. The correlation between guide coating and the Q-resolution will have to be studied.

IV  Positions of the various choppers

We need to know how many choppers will be required and how they should function. At the very least we will need a T0 chopper, a wavelength-defining chopper, and a frame overlap chopper.

- The ideal positions of the different choppers have to be determined. They will depend on the moderator-monochromator distance.

- Preliminary results show that the T0 chopper will have to rotate at 120 Hz when we have a 10cm wide beam, 60Hz if the guide width is 4cm. A tungsten chopper of thickness between 20-30cm will be ideal, if it is mechanically stable.

- We still have to determine whether the same chopper can be used as both a frame-overlap and as an order-suppressor chopper.

- We need to make sure that no stray wavelengths leak through when we have a Fermi-like chopper in the lineup.

V  Design and operation of the rotating collimator or Fermi-like chopper.

The motivation of these simulations is to see whether

- The straight slot Fermi chopper can be used instead of a double disc chopper to select the wavelength, as well as to control the burst width at the sample.

- Whether this chopper can be used in addition to a double disk chopper to reduce the pulse width. For both of these simulations the time and the energy profiles downstream of the chopper have to be monitored.

- We need to make sure that double pulses are not produced by the Fermi chopper for various rotation rates.

Some simulations have been performed using G. Granroth’s algorithm for a straight-slot Fermi chopper. Preliminary results suggest that there may be an error in the code. The FWHM of the time profile is about half of the estimated value. The results have been sent to Garret so he can look at the code.

- If we cannot find the error in Garrett’s code we may have to develop our own code.

VI   Polarization analysis.

The bender analyzer configuration has to be optimized. We need to know the value of the secondary flight path, the two different energies for which we want to optimize the configuration, and what are the best supermirror coatings that are commercially available.  Majkrzak used coatings with m=0.6 for one polarization component and m=3 for the other in 1993. Have there been significant improvements in this technology since?

VII  Analysis software development

Programs to extract E and Q resolution from the MC data, which can be stored as N(x,y,t) or as I(t) and J(x,y).  This software will be required to plot the resolution ellipsoids and to document the energy and Q-resolution of the instrument. Any standard package, like Matlab, IDL, and even Origin, can easily serve that purpose – no need to invest in anything special. If there are questions – I am here to explain the “howto”.

This software can also be used to analyze HYSPEC data which will be stored as N(x,y,t). Igor suggested that we leave the software development to Brent Fultz for now. That is certainly an option. HYSPEC, however, has certain features that are different from ARCS. The monochromator introduces angle-wavelength correlations. The shape of the moderator pulse is asymmetric and it has a long tail. For both of these reasons HYSPEC needs a E and Q-resolution analysis scheme that goes beyond the Gaussian approximation.

VIII   No-chopper operation of a crystal monochromator.

One of the interesting possibilities provided by HYSPEC design is an operation without choppers by using the wavelength and time-frame selection by the crystal monochromator. The main problem of such operation is that the sample illumination time which is essentially determined by the moderator pulse length, is quite long for thermal-neutron energies. However, for higher Ei = 80-100 meV, the moderator pulse FWHM becomes ~60-80 microseconds, which is not much longer than that provided by the counter-rotating disc chopper. In addition, a long pulse is OK for large energy transfers. Because at high Ei the beam collimation becomes quite tight, one may expect that an appropriately bent perfect single-crystal silicon monochromator could perform very well. It has a low integral reflectivity, but this comes because of a very tight energy-resolution, which may appear just appropriate at high Ei.  In addition, it may give better geometrical focus.  This configuration has a potential to offer several important advantages:

- better geometrical focusing for very small samples with perfect crystal monochromator

- no-chopper operation can be employed to start test-running HYSPEC before the  funds for procuring and installing expensive chopper components become available in the funding profile, and, therefore, before the construction is complete (hopefully, right after SNS beams become operational)

Apart from the above, this mode of operation is interesting in itself as a promising novel design concept for a TOF instrument.

Shielding simulations

We would like to design HYSPEC to have the smallest possible beam-related background. To do so we currently plan on comparing four different guide configurations. For all four configurations the guide height expands from 12 to 18 cm, but the guide width and curvature are different. The different options are (i) a straight guide 4cm wide, (ii) a curved guide 4cm wide, (iii) a straight guide which converges from 10 to 4cm, (iv) a curved guide which converges from 10 to 4cm.

For the straight-guide configurations we need to design a beamstop which is small enough to fit in the drum shield and can still provide low enough dose rates and He3 detector countrates. This task is obviously more challenging for the 10cm wide tapered guide (which brings a lot more neutrons out of the biological shield) than for the 4cm wide guide.

For the curved guide configuration the beamstop will be embedded in the primary shield instead of the drum shield. Preliminary simulations for a 4cm wide curved guide (with a 8cm offset) have shown that the number of neutrons reaching the end of the primary shield is only one order of magnitude lower than the number of neutrons reaching the end of the primary shield for a straight guide. Curving the guide does not appear to be a huge advantage.

Two sets of simulations will be required for each beamstop design. One will assume that the incident neutrons have energies greater than 400meV, and that the T0 chopper block is in the beam. The other set will assume that only thermal neutrons (< 400meV) are included in the beam and that the T0 chopper is no longer in the beam. The energy range of the thermal neutrons may be restricted further to simulate the fact that only a small energy range will be allowed to go through by the wavelength-defining chopper. The latter simulation is not really relevant for the beam stop design, as these (<400 meV) neutrons can be stopped by a 1” sponge of a crispy mix. What it might be useful for - is for the estimate of a thermal neutron background in the counter. Essentially, this is a separate problem, which does not even require MCNP-X (MCNP would be enough). I suggest that for optimizing the beamstop design we do not bother about splitting the neutron spectrum, and focus on a simulations which include neutrons with all energies.

We will need to calculate the biological dose rates and the He3 detector response for HYSPEC with different guide configurations. It will be assumed that when HYSPEC is operating, we can take credit for the T0 chopper in calculating the dose rates and the He3 detector response function. For the design of the beamstop outside the detector cave we will assume that the T0 chopper block is not in the beam, and that the full beam will be dumped on the external beamstop.

Beamstop design will require at least the following simulations:

- Determination of the composition and dimensions of a T0 chopper.

- Study the effectiveness of a single crystal sapphire filter in decreasing signal/background.

- Compare two different options for a straight guide (i) an in-shield beamstop, and (ii) a get-lost pipe and a beamstop placed outside the detector cave.

- Design a beamstop that can be embedded in the primary shield for a curved guide.

- Design the drum shield to minimize the beam-related background.

- Design the primary guide shielding to minimize beam related background.

- Study neutron leakage through the different choppers, to determine the ideal composition and coating of disc choppers.

- Find the position of the wavelength – defining chopper. This chopper should be placed as close as possible to the monochromator to minimize the burst width at the sample. However, the chopper blade and the accompanying housing will act as neutron scatterers and will thus increase the background. We need to find the ‘best’ location, and reinforce the shielding to minimize its negative impact.

Current model.

The model is being upgraded to change the moderator-monochromator distance to 24.5m. In this model:

- The moderator surface is perpendicular to the beam direction

- There is no guide in the core vessel insert. However, we will include a steel insert (1m long) that will protect the guide substrate.

- The guide starts at 2m from the moderator. The guide has 1cm Si substrate and a 8cm steel jacket. An air-filled gap of 2mm surrounds the steel jacket. Three different guide geometries are being considered: (a) a straight guide 4cm by 12cm, (b) a curved guide 4cm by 12cm and (c) a tapered straight guide. This guide converges continuously in the horizontal plane from 10 to 4cm, and expands in the vertical plane from 12 to 18cm.

- A PG crystal with an aluminum frame is placed at 20.20m and makes a 10deg angle to the beam. This angle corresponds to the 60meV position of the crystal.

- A single disk frame-overlap and a double-disk wavelength defining chopper can be included in the setup.

- A T0 chopper block and/or a sapphire filter can be included in the setup.

What we have learnt so far

- According to E. Iverson’s moderator leakage spectra roughly 6% of all neutrons are thermal (< 100meV) neutrons and the rest are epithermals. The epithermal neutrons range in energy from 100meV to 1000MeV. We do not have an emission spectrum for the gammas, so only the contribution of the photons produced by the neutrons can be calculated.

- The sapphire filter will help to improve the signal-to-background ratio. The transmission of thermal neutrons through 10cm of sapphire is 80%, whereas the transmission of epithermals through sapphire is less than 10%.

- The epithermal neutrons can be very effectively stopped by a T0 chopper made of tungsten or inconel. The neutron flux at the end of a 18m guide (starting 2m from the moderator) is reduced by 2-3 orders of magnitude by 20cm of tungsten or 30cm of inconel.

- A T0 chopper placed 6m from the moderator has to rotate at least at 120Hz to effectively block all neutrons of energy greater than 500meV for 10cm wide guide. We need to contact the SNS chopper expert Ralph Niemann about our special requirements.

More computing power required

Roughly 1 in 104 neutrons reaches the end of the primary guide when there are no choppers or attenuators in the beam. When a Gd-coated disc choppers, a sapphire filter or a tungsten block are added only 1 in 105 or 106 neutrons reach the end of the guide. It takes 24 hours to run a simulation with 107 neutrons, and we need 108 or 109 neutrons to generate reasonable statistics. To avoid 10-100 days per simulation I am exploring the following options:

- Using Larry’s computer to do some simulations. Of little help – nothing we currently have is as fast as Vinita’s Zeon.

- Using simple test problems to understand scattering and absorption in materials. Or, analyzing the transmission function of each element (chopper, sapphire, etc.) separately.

- The use of 1/R2 scaling to reduce the physical space being sampled. In fact, we only have to track the neutrons which leave the moderator in ~0.1*4pi around the “forward” direction towards the monochromator. Leaving out the rest 90% should save the time proportionally. Are we already doing that?

- Different MCNP techniques that can be used:

(a) Generate a source at the end of the guide which can be used to design the drum shield or the in-shield beamstop.

(b) Stop tracking neutrons that enter the guide shielding. I need to evaluate how

much time this procedure will save and what errors will be introduced.

(c) Split neutrons as they go through various chopper materials.

(d) Other techniques? Ask Hans and Arnie

- Brute force solution – get another fast computer! Of very limited help – PC computing power has not increased enough since Vinita’s Zeon was bought (5-50 days instead of 10-100 is not a great gain). Increasing the memory to a couple of Gb might be helpful, though. For example, mslice operation on my 2002 laptop (Pentium4 – 1.6 GHz, 0.5Gb RAM) is about 5 to 10 times slower than on my 2001 desktop (Athlon – 1.2 GHz, 1Gb RAM).