Project Number: AW-2225

Contract Number:  TW-0839

December 1996

SPECIAL SPECIFICATION

SECTION 02350

CAISSONS

PART	1 -	 GENERAL                                                                                                            Page

1.01	Summary

1.02	Related Sections

1.03	Submittals

1.04	Quality Assurance:

1.05	Contractor Qualifications

1.06	Job Conditions

PART 2 - MATERIALS

2.01	Concrete

2.02	Reinforcing Steel

PART 3 - EXECUTION

3.01	Caisson Excavation

3.02	Concrete Placement

3.03	Reinforcing Steel and Dowels

3.04	Field Tests/Inspections

3.05	Field Logs

SPECIAL SPECIFICATION

SECTION 02350

CAISSONS

PART 1 - GENERAL

1.01	SUMMARY

A.	Section Includes:

1.	Concrete Caissons

1.02	RELATED SECTIONS

A.	Section 03300 - Cast-in-Place Concrete

1.03	SUBMITTALS

Submit in accordance with the Conditions of Contract and Division 1 Section “Descriptive Submittals”, unless otherwise indicated.

Shop Drawings:  Indicate by dimensions location of each portion of Work.

Daily Caisson Report for each caisson, recording actual elevation at bottom and top, elevation of rock (if any), final centerline location at top, variation of shaft from plumb, result of tests performed, any unusual conditions, times of starting excavation, completion of excavation, inspection, testing and placement of concrete (include any delays in concreting and location of construction joints in shafts).

Submit qualifications of Caisson Drilling Contractor for approval by Sandia National Laboratories (SNL) prior to start of caisson construction.

1.04	QUALITY ASSURANCE:

Codes and Standards:   Comply with provisions of American Concrete Institute (ACI) “Standard Specification for the Construction of End Bearing Drilled Piers” (ACI 336.1) , and as herein specified.

Survey Work:  Engage a registered surveyor or licensed Professional Engineer to perform surveys, layouts, and measurements of each caisson’s horizontal axial location, shaft diameter, bottom and top elevations, deviations from specified tolerances, and other data as required.

1.05	CONTRACTOR QUALIFICATIONS

A.	The caissons shall be installed by a Contractor experienced with the type of caissons specified, with experience in similar ground conditions.  Submit a list of five (5) previous projects constructed under similar conditions.

1.06	JOB CONDITIONS

Site Information:  The geotechnical investigation report is provided for the Contractor’s information. It is expressly understood that SNL will not be responsible for interpretations or conclusions drawn therefrom by Contractor.  The report is made available for convenience of Contractor and is not guaranteed to represent conditions that may actually be encountered.

Additional test borings and other exploratory operations may be made by Contractor at no additional cost to SNL.

Existing Utilities:  Locate existing underground utilities by careful hand excavation before starting caisson excavation operations.  If utilities are to remain in place, provide protection from damage during caisson operations.

Should uncharted or incorrectly charted piping or other utilities be encountered during excavation, consult the SDR immediately for directions to procedure.  Cooperate with SNL and utility companies in keep services and facilities in operation.  Repair damaged utilities to satisfaction of utility owner.

PART 2 - MATERIALS

2.01	CONCRETE

Comply with the requirements of Section 03300 unless indicated otherwise.  The maximum size of aggregate shall be 1 ½”.

Caisson Concrete:  3000 PSI at 28 days.

2.02	REINFORCING STEEL

A.	Comply with the requirements of Section 03300.

PART 3 - EXECUTION

3.01	CAISSON EXCAVATION

General:  Excavate holes for caissons to required elevation as shown on drawings.  Excavate holes for closely spaced caissons, and those occurring in fragile or sand stratas, only after adjacent holes are filled with concrete and allowed to set.

Construction tolerances: Locate centerline of caissons within the following tolerances:

Permissible variation of location not more than 3” (76 mm).

Shafts out of plumb, not more than 1.5% of length nor exceeding 12.5% of shaft diameter or 15” (381 mm), whichever is less.

Concrete cut-off elevation, plus 1” (25 mm) to minus 3” (76 mm).

If above tolerances are exceeded, provide corrective construction to compensate for excessive eccentricity, as directed by the SDR.

C.	Remove from building area all material removed from caisson excavation in excess of fill requirements.

3.02	CONCRETE PLACEMENT

A.	General:  Fill caissons with concrete immediately after inspection and acceptance by the SDR.  Use protection sheets (cut out to receive concrete) over excavation openings, extending at least 12” beyond edge.

Place concrete continuously and in a smooth flow without segregating the mixed materials.  Provide mechanical vibration for consolidation of at least top 5-feet of each shaft.

Place concrete by means of bottom discharge bucket, flexible drop chute, elephant trunk hopper or tremie.  Use chutes or tremies for placing concrete where a drop of more than 5 feet is required, or pump concrete into place.

Stop concrete placement at cut-off elevation shown, screed level, and apply a scoured, rough finish.  Where cut-off elevation is above ground elevation, form top section above grade and extend shaft to required elevation.

All concrete must be placed within eight hours of caisson excavation.

3.03	REINFORCING STEEL AND DOWELS

A.	Before placing, clean reinforcing steel and dowels of loose rust, scale, dirt, grease and other material which could reduce or destroy bond.

B.	Fabricate and erect reinforcing cages in shafts as one continuous unit.  Place reinforcement accurately and symmetrically about axis of hole and hold securely in position during concrete placement with spacers specifically manufactured for holding reinforcing in drilled holes.

Use templates to set anchor bolts, leveling plates and other accessories furnished under work of other sections.  Provide blocking and holding devices to maintain required position during concrete placement.

Protect exposed ends of dowels and anchor bolts from mechanical damage and detrimental exposure to weather.

3.04	FIELD TESTS/INSPECTIONS

A.	Inspection:  When a suitable bottom is reached in any caisson, no reinforcing steel or concrete will be placed until the SDR has inspected it.

3.05	DAILY CAISSON REPORTS

A report for each caisson is required upon completion of each caisson.

Daily Caisson Report:  Each report shall contain but not be limited to the following information:

Caisson Designation.

Date Started.

Date Completed.

Shaft Diameter.

Top and Bottom elevations as actually placed.

Amount of Concrete Placed.

Amount of Obstructions (if any).

C.	Upon completion of the report it shall be signed by the installer.  Submit six (6) signed copies to the SDR.

END OF SECTION