# ICP Whole Water Recoverable

Parameter Code '00916'

Name: Calcium, water, unfiltered, milligrams per liter
Matrix: Water, Unf

| Test ID | Lab Code | LTMDL by Spk Std Dev | LTMDL of BB Std Dev | LTMDL by 99th Percentile of BB | P99 | LTMDL in use | Std Dev | Change To: | LCL | UCL | LRL | update |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 00916C | 2356 | 0.00975 | 0.018 | 0.023 | 0.0344 | 0.020 | 0.00396 |  |  |  |  | No |

Parameter Code '00927'

Name: Magnesium, water, unfiltered, milligrams per liter
Matrix: Water, Unf

| Test ID | Lab Code | LTMDL by Spk Std Dev | LTMDL of BB Std Dev | LTMDL by 99th Percentile of BB | P99 | LTMDL in use | Std Dev | Change To: | LCL | UCL | LRL | update |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 00927C | 2362 | 0.0052 | 0.0038 | 0.002 | 0.0083 | 0.004 | 0.00211 | 0.0052 | 0.0041 | 0.007 | 0.01 | Yes |

Parameter Code '01034'

Name: Chromium, water, unfiltered, micrograms per liter
Matrix: Water, Unf

| Test ID | Lab Code | LTMDL by Spk Std Dev | LTMDL of BB Std Dev | LTMDL by 99th Percentile of BB | P99 | LTMDL in use | Std Dev | Change To: | LCL | UCL | LRL | update |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01034G | 2357 | 0.66244 | 0.3563 | 0.372 | 0.4937 | 1.000 | 0.26958 | 0.66 | 0.5294 | 0.8855 | 1.3 | Yes |

Parameter Code '01045'

Name: Iron, water, unfiltered, micrograms per liter
Matrix: Water, Unf

| Test ID | Lab Code | LTMDL by Spk Std Dev | LTMDL of BB Std Dev | LTMDL by 99th Percentile of BB | P99 | LTMDL in use | Std Dev | Change To: | LCL | UCL | LRL | update |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01045C | 2359 | 3.70432 | 3.0494 | 3.024 | 3.08 | 3.000 | 1.50750 |  |  |  |  | No |

Parameter Code '01055'

Name: Manganese, water, unfiltered, total, micrograms per liter
Matrix: Water, Unf

| Test ID | Lab Code | LTMDL by Spk Std Dev | LTMDL of BB Std Dev | LTMDL by 99th Percentile of BB | P99 | LTMDL in use | Std Dev | Change To: | LCL | UCL | LRL | update |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01055D | 2363 | 0.16637 | 0.1353 | 0.077 | 0.159 | 0.300 | 0.06757 | 0.166 | 0.1325 | 0.2236 | 0.33 | Yes |

Parameter Code '00916'

Name: Calcium, water, unfiltered, milligrams per liter

Return to Index

Parameter Code '00927'

Name: Magnesium, water, unfiltered, milligrams per liter

Return to Index

Parameter Code '01034'

Name: Chromium, water, unfiltered, micrograms per liter

Return to Index

Parameter Code '01045'

Name: Iron, water, unfiltered, micrograms per liter

Return to Index

Parameter Code '01055'

Name: Manganese, water, unfiltered, total, micrograms per liter

Return to Index