GCOS TECHNICAL SUPPORT CENTER REPORT

CARIBBEAN AND CENTRAL AMERICA

April thru June 2006

7th  and Final Quarterly Report

INTERMET, INC.							June 30, 2006

Danny L. Foster

Sarasota, FL 34240

USA

INTERMET, INC

7732 Castleisland Drive

Sarasota, FL 34240

USA

Phone/Fax + 941 379 3536

Home + 941 378 1313

Cell + 540 420 2255

Intermet@comcast.net

7th and Final Report

April thru June 2006

In General:

During this 16 week period, the Contractor’s activities were primarily dedicated to monitoring the performance of the GUAN and GSN sites and responding to minor problems and providing support to observatories as needed.

The Contractor worked with Acajutla, El Salvador 78650 to create the missing CLIMAT reports for the years 2001, 2002, 2003, and 2004.  These reports have been submitted to the National Climate Center in Asheville, NC.  This activity was made possible by the provision of a desk top computer for the Climate Section of the NMHS.

The Contractor provided interim progress and monitoring reports to the GCOS Implementation Project Manager (GIPM) in terms of written, graphic and oral reports.  The contractor and the GIPM worked closely over the telephone and internet to discuss and resolve problems as well as plan activities.

The Contractor continued to work closely with Belize and Intermet Systems Inc. to resolve the 40 meter problem above 100 hpa.  Apparently the problem was with the iMetOS Compaq System software.  The recent reports indicate the problem has been resolved but close attention must be made to these reports for the next months.

Termination of contract:

The GIPM instructed the Contractor to send all the inspection instruments to his office in Maryland.  This will include:  1 each Magellan eXplorist GPS Receiver and 1 each Luft Precision Thermometer and Hygrometer 5220.00  E200 0404.0302.3.  Nothing more.

The Contractor’s files, including trip reports, descriptions of observatory facilities and other technical information will not be sent to the GIPM unless directed to do so.

The Contractor considers this contract to be terminated on June 30, 2006.

Please see the following attachments:

Attachment A: A concise summary of the Contractor’s main accomplishments during the period of the contract

Attachment B: Some thoughts and recommendations by the Contractor