## NH3
Statistical summary of reported data for standard reference sample N-83 (nutrient constituents)
+3 Fs
+1.5 Fs
MPV
-1.5 Fs
-3 Fs
SUMMARY |  |  | Methods | [9 empty] | Statistics |  |  |  |  | SCALE
|  |  | 0 | 7 | 22 | 40 | Method Codes | [10 empty] | min | 0.1733
|  | n = | 1 | 2 | 48 | 3 | 00 Other | [6 empty] | MPV = | 0.22 | mg/L |  | max | 0.2667
|  | Minimum = | 0.228 | 0.209 | 0.171 | 0.207 | 07 Ion chromatography | [6 empty] | F-pseudosigma = | 0.015567 |  |  | major | 0.023351
|  | Maximum = |  | 0.231 | 0.313 | 0.26 | 22 Colorimetric | [6 empty] | n = | 54 |  |  | minor | 0.023351
|  | Median = |  |  | 0.22 |  | 40 Ion selective electrode | [6 empty] | Uh = | 0.23
|  | F-pseudosigma = |  |  | 0.015938 | [8 empty] | Lh = | 0.209
[18 empty] | Order | 0 | 7 | 22 | 40 | Lab | RV | Rating
[18 empty] | 1 | 0.228 |  |  |  | 1 | 0.219 | 4
[18 empty] | 2 |  | 0.209 |  |  | 10 | 0.26 | 0
|  |  | Method Codes | [6 empty] | Method Codes | [7 empty] | 3 |  | 0.231 |  |  | 16 | 0.25 | 1
Lab | Rating | Z-value | 0 | 7 | 22 | 40 | Lab | Rating | Z-value | 0 | 7 | 22 | 40 |  |  |  |  | 4 |  |  | 0.171 |  | 21 | 0.225 | 4
1 | 4 | -0.064238 | -- | -- | 0.219 | -- | 333 | 3 | -0.70662 | -- | 0.209 | -- | -- |  |  |  |  | 5 |  |  | 0.177 |  | 23 | 0.225 | 4
10 | 0 | 2.5695 | -- | -- | -- | 0.26 | 341 | 4 | -0.19271 | -- | -- | 0.217 | -- |  |  |  |  | 6 |  |  | 0.18 |  | 25 | 0.2 | 2
16 | 1 | 1.9271 | -- | -- | 0.25 | -- | 366 | 0 | -2.5695 | -- | -- | 0.18 | -- |  |  |  |  | 7 |  |  | 0.189 |  | 31 | 0.232 | 3
21 | 4 | 0.32119 | -- | -- | 0.225 | -- | 372 | 2 | 1.2848 | -- | -- | 0.24 | -- |  |  |  |  | 8 |  |  | 0.19 |  | 33 | 0.22 | 4
23 | 4 | 0.32119 | -- | -- | 0.225 | -- | 373 | 1 | 1.7344 | -- | -- | 0.247 | -- |  |  |  |  | 9 |  |  | 0.193 |  | 38 | 0.208 | 3
25 | 2 | -1.2848 | -- | -- | 0.2 | -- | 376 | 4 | 0 | -- | -- | 0.22 | -- |  |  |  |  | 10 |  |  | 0.195 |  | 46 | 0.213 | 4
31 | 3 | 0.77086 | -- | -- | 0.232 | -- | 377 | 3 | 0.64238 | -- | -- | 0.23 | -- |  |  |  |  | 11 |  |  | 0.197 |  | 59 | 0.213 | 4
33 | 4 | 0 | -- | -- | 0.22 | -- | 378 | 1 | -1.7344 | -- | -- | 0.193 | -- |  |  |  |  | 12 |  |  | 0.2 |  | 64 | 0.225 | 4
38 | 3 | -0.77086 | -- | -- | 0.208 | -- | 379 | 2 | -1.2205 | -- | -- | 0.201 | -- |  |  |  |  | 13 |  |  | 0.201 |  | 70 | 0.189 | 1
46 | 4 | -0.44967 | -- | -- | 0.213 | -- | 381 | 4 | 0.4047 | -- | -- | 0.2263 | -- |  |  |  |  | 14 |  |  | 0.202 |  | 72 | 0.195 | 1
59 | 4 | -0.44967 | -- | -- | 0.213 | -- | 386 | 3 | -0.8351 | -- | -- | -- | 0.207 |  |  |  |  | 15 |  |  | 0.208 |  | 85 | 0.215 | 4
64 | 4 | 0.32119 | -- | -- | 0.225 | -- | 393 | 0 | -7.7086 | -- | -- | -- | <0.1 |  |  |  |  | 16 |  |  | 0.209 |  | 86 | 0.302 | 0
70 | 1 | -1.9914 | -- | -- | 0.189 | -- | 398 | 3 | -0.57814 | -- | -- | 0.211 | -- |  |  |  |  | 17 |  |  | 0.211 |  | 89 | 0.228 | 3
72 | 1 | -1.606 | -- | -- | 0.195 | -- | 399 | 3 | 0.70662 | -- | 0.231 | -- | -- |  |  |  |  | 18 |  |  | 0.213 |  | 91 | 0.209 | 3
85 | 4 | -0.32119 | -- | -- | 0.215 | -- | 400 | 1 | -1.9271 | -- | -- | 0.19 | -- |  |  |  |  | 19 |  |  | 0.213 |  | 97 | 0.238 | 2
86 | 0 | 5.2675 | -- | -- | 0.302 | -- | [11 empty] | 20 |  |  | 0.213 |  | 102 | 0.24 | 2
89 | 3 | 0.5139 | 0.228 | -- | -- | -- | [11 empty] | 21 |  |  | 0.215 |  | 113 | 0.235 | 3
91 | 3 | -0.70662 | -- | -- | 0.209 | -- | [11 empty] | 22 |  |  | 0.215 |  | 118 | 0.215 | 4
97 | 2 | 1.1563 | -- | -- | 0.238 | -- | [11 empty] | 23 |  |  | 0.217 |  | 138 | 0.22 | 4
102 | 2 | 1.2848 | -- | -- | 0.24 | -- | [11 empty] | 24 |  |  | 0.219 |  | 142 | 0.171 | 0
113 | 3 | 0.96357 | -- | -- | 0.235 | -- | [11 empty] | 25 |  |  | 0.219 |  | 146 | 0.313 | 0
118 | 4 | -0.32119 | -- | -- | 0.215 | -- | [11 empty] | 26 |  |  | 0.22 |  | 158 | 0.224 | 4
138 | 4 | 0 | -- | -- | 0.22 | -- | [11 empty] | 27 |  |  | 0.22 |  | 180 | 0.202 | 2
142 | 0 | -3.1477 | -- | -- | 0.171 | -- | [11 empty] | 28 |  |  | 0.22 |  | 190 | 0.213 | 4
146 | 0 | 5.9741 | -- | -- | 0.313 | -- | [11 empty] | 29 |  |  | 0.22 |  | 193 | 0.22 | 4
158 | 4 | 0.25695 | -- | -- | 0.224 | -- | [11 empty] | 30 |  |  | 0.22 |  | 198 | 0.236 | 2
180 | 2 | -1.1563 | -- | -- | 0.202 | -- | [11 empty] | 31 |  |  | 0.22 |  | 224 | 0.197 | 2
190 | 4 | -0.44967 | -- | -- | 0.213 | -- | [11 empty] | 32 |  |  | 0.224 |  | 227 | 0.219 | 4
193 | 4 | 0 | -- | -- | 0.22 | -- | [11 empty] | 33 |  |  | 0.225 |  | 234 | 0.22 | 4
198 | 2 | 1.0278 | -- | -- | 0.236 | -- | [11 empty] | 34 |  |  | 0.225 |  | 313 | 0.22 | 4
224 | 2 | -1.4775 | -- | -- | 0.197 | -- | [11 empty] | 35 |  |  | 0.225 |  | 316 | 0.2293 | 3
227 | 4 | -0.064238 | -- | -- | 0.219 | -- | [11 empty] | 36 |  |  | 0.2263 |  | 318 | 0.177 | 0
234 | 4 | 0 | -- | -- | -- | 0.22 | [11 empty] | 37 |  |  | 0.2293 |  | 321 | 0.23 | 3
313 | 4 | 0 | -- | -- | 0.22 | -- | [11 empty] | 38 |  |  | 0.23 |  | 323 | 0.22 | 4
316 | 3 | 0.59741 | -- | -- | 0.2293 | -- | [11 empty] | 39 |  |  | 0.23 |  | 327 | 0.23 | 3
318 | 0 | -2.7622 | -- | -- | 0.177 | -- | [11 empty] | 40 |  |  | 0.23 |  | 328 | 0.28 | 0
321 | 3 | 0.64238 | -- | -- | 0.23 | -- | [11 empty] | 41 |  |  | 0.232 |  | 333 | 0.209 | 3
323 | 4 | 0 | -- | -- | 0.22 | -- | [11 empty] | 42 |  |  | 0.235 |  | 341 | 0.217 | 4
327 | 3 | 0.64238 | -- | -- | 0.23 | -- | [11 empty] | 43 |  |  | 0.236 |  | 366 | 0.18 | 0
328 | 0 | 3.8543 | -- | -- | 0.28 | -- | [11 empty] | 44 |  |  | 0.238 |  | 372 | 0.24 | 2
[18 empty] | 45 |  |  | 0.24 |  | 373 | 0.247 | 1
[18 empty] | 46 |  |  | 0.24 |  | 376 | 0.22 | 4
[18 empty] | 47 |  |  | 0.247 |  | 377 | 0.23 | 3
[18 empty] | 48 |  |  | 0.25 |  | 378 | 0.193 | 1
[18 empty] | 49 |  |  | 0.28 |  | 379 | 0.201 | 2
[18 empty] | 50 |  |  | 0.302 |  | 381 | 0.2263 | 4
[18 empty] | 51 |  |  | 0.313 |  | 386 | 0.207 | 3
[18 empty] | 52 |  |  |  | 0.207 | 393 | <0.1 | 0
[18 empty] | 53 |  |  |  | 0.22 | 398 | 0.211 | 3
[18 empty] | 54 |  |  |  | 0.26 | 399 | 0.231 | 3
[18 empty] | 55 |  |  |  | <0.1 | 400 | 0.19 | 1

## NH3_O
Statistical summary of reported data for standard reference sample N-83 (nutrient constituents)
+3 Fs
+1.5 Fs
MPV
-1.5 Fs
-3 Fs
SUMMARY |  |  | Methods | [9 empty] | Statistics |  |  |  |  | SCALE
|  |  | 0 | 7 | 20 | 22 | Method Codes | [10 empty] | min | 0.11307
|  | n = | 2 | 1 | 0 | 39 | 00 Other | [6 empty] | MPV = | 0.2465 | mg/L |  | max | 0.37993
|  | Minimum = | 0.215 | 0.2 | 0 | 0.18 | 07 Ion chromatography | [6 empty] | F-pseudosigma = | 0.044477 |  |  | major | 0.066716
|  | Maximum = | 0.233 |  |  | 0.487 | 20 Titration: colorimetric | [6 empty] | n = | 42 |  |  | minor | 0.066716
|  | Median = |  |  |  | 0.25 | 22 Colorimetric | [6 empty] | Uh = | 0.28
|  | F-pseudosigma = |  |  |  | 0.041142 | [7 empty] | Lh = | 0.22
[18 empty] | Order | 0 | 7 | 20 | 22 | Lab | RV | Rating
[18 empty] | 1 | 0.215 |  |  |  | 1 | 0.231 | 4
[18 empty] | 2 | 0.233 |  |  |  | 10 | 0.26 | 4
|  |  | Method Codes | [6 empty] | Method Codes | [7 empty] | 3 |  | 0.2 |  |  | 16 | 0.22 | 3
Lab | Rating | Z-value | 0 | 7 | 20 | 22 | Lab | Rating | Z-value | 0 | 7 | 20 | 22 |  |  |  |  | 4 |  |  | <0.1 |  | 21 | 0.25 | 4
1 | 4 | -0.34849 | -- | -- | -- | 0.231 | 377 | 4 | -0.37097 | -- | -- | -- | 0.23 |  |  |  |  | 5 |  |  |  | 0.18 | 23 | 0.243 | 4
10 | 4 | 0.30353 | -- | -- | -- | 0.26 | 378 | 2 | -1.1354 | -- | -- | -- | 0.196 |  |  |  |  | 6 |  |  |  | 0.187 | 25 | 0.2 | 2
16 | 3 | -0.59581 | -- | -- | -- | 0.22 | 379 | 1 | 1.63 | -- | -- | -- | 0.319 |  |  |  |  | 7 |  |  |  | 0.19 | 31 | 0.25 | 4
21 | 4 | 0.078692 | -- | -- | -- | 0.25 | 386 | 4 | -0.41594 | -- | -- | -- | 0.228 |  |  |  |  | 8 |  |  |  | 0.196 | 38 | 0.18 | 2
23 | 4 | -0.078692 | -- | -- | -- | 0.243 | 393 | 0 | -3.2938 | -- | -- | <0.1 | -- |  |  |  |  | 9 |  |  |  | 0.2 | 46 | <0.4 | NR
25 | 2 | -1.0455 | -- | 0.2 | -- | -- | 398 | 1 | 1.8099 | -- | -- | -- | 0.327 |  |  |  |  | 10 |  |  |  | 0.203 | 59 | 0.211 | 3
31 | 4 | 0.078692 | -- | -- | -- | 0.25 | [11 empty] | 11 |  |  |  | 0.21 | 70 | 0.233 | 4
38 | 2 | -1.4951 | -- | -- | -- | 0.18 | [11 empty] | 12 |  |  |  | 0.211 | 72 | 0.343 | 0
46 | NR | -- | -- | -- | -- | <0.4 | [11 empty] | 13 |  |  |  | 0.22 | 85 | 0.25 | 4
59 | 3 | -0.79816 | -- | -- | -- | 0.211 | [11 empty] | 14 |  |  |  | 0.225 | 89 | 0.233 | 4
70 | 4 | -0.30352 | -- | -- | -- | 0.233 | [11 empty] | 15 |  |  |  | 0.228 | 91 | 0.225 | 4
72 | 0 | 2.1696 | -- | -- | -- | 0.343 | [11 empty] | 16 |  |  |  | 0.228 | 97 | 0.28 | 3
85 | 4 | 0.078692 | -- | -- | -- | 0.25 | [11 empty] | 17 |  |  |  | 0.23 | 102 | 0.2 | 2
89 | 4 | -0.30352 | 0.233 | -- | -- | -- | [11 empty] | 18 |  |  |  | 0.231 | 113 | 0.21 | 3
91 | 4 | -0.48339 | -- | -- | -- | 0.225 | [11 empty] | 19 |  |  |  | 0.2315 | 118 | 0.26 | 4
97 | 3 | 0.75319 | -- | -- | -- | 0.28 | [11 empty] | 20 |  |  |  | 0.232 | 138 | 0.274 | 3
102 | 2 | -1.0455 | -- | -- | -- | 0.2 | [11 empty] | 21 |  |  |  | 0.233 | 142 | 0.215 | 3
113 | 3 | -0.82064 | -- | -- | -- | 0.21 | [11 empty] | 22 |  |  |  | 0.243 | 146 | 0.187 | 2
118 | 4 | 0.30353 | -- | -- | -- | 0.26 | [11 empty] | 23 |  |  |  | 0.25 | 158 | 0.228 | 4
138 | 3 | 0.61829 | -- | -- | -- | 0.274 | [11 empty] | 24 |  |  |  | 0.25 | 180 | 0.203 | 3
142 | 3 | -0.70822 | 0.215 | -- | -- | -- | [11 empty] | 25 |  |  |  | 0.25 | 190 | 0.264 | 4
146 | 2 | -1.3378 | -- | -- | -- | 0.187 | [11 empty] | 26 |  |  |  | 0.2505 | 193 | 0.27 | 3
158 | 4 | -0.41594 | -- | -- | -- | 0.228 | [11 empty] | 27 |  |  |  | 0.26 | 198 | 0.307 | 2
180 | 3 | -0.97802 | -- | -- | -- | 0.203 | [11 empty] | 28 |  |  |  | 0.26 | 227 | 0.306 | 2
190 | 4 | 0.39346 | -- | -- | -- | 0.264 | [11 empty] | 29 |  |  |  | 0.26 | 313 | 0.284 | 3
193 | 3 | 0.52836 | -- | -- | -- | 0.27 | [11 empty] | 30 |  |  |  | 0.264 | 316 | 0.2505 | 4
198 | 2 | 1.3602 | -- | -- | -- | 0.307 | [11 empty] | 31 |  |  |  | 0.27 | 318 | 0.2315 | 4
227 | 2 | 1.3378 | -- | -- | -- | 0.306 | [11 empty] | 32 |  |  |  | 0.274 | 321 | 0.33 | 1
313 | 3 | 0.84312 | -- | -- | -- | 0.284 | [11 empty] | 33 |  |  |  | 0.28 | 323 | <0.20 | NR
316 | 4 | 0.089933 | -- | -- | -- | 0.2505 | [11 empty] | 34 |  |  |  | 0.284 | 327 | 0.26 | 4
318 | 4 | -0.33725 | -- | -- | -- | 0.2315 | [11 empty] | 35 |  |  |  | 0.306 | 328 | 0.437 | 0
321 | 1 | 1.8774 | -- | -- | -- | 0.33 | [11 empty] | 36 |  |  |  | 0.307 | 341 | 0.19 | 2
323 | NR | -- | -- | -- | -- | <0.20 | [11 empty] | 37 |  |  |  | 0.319 | 366 | 0.232 | 4
327 | 4 | 0.30353 | -- | -- | -- | 0.26 | [11 empty] | 38 |  |  |  | 0.327 | 372 | 0.487 | 0
328 | 0 | 4.2831 | -- | -- | -- | 0.437 | [11 empty] | 39 |  |  |  | 0.33 | 373 | <0.240 | NR
341 | 2 | -1.2703 | -- | -- | -- | 0.19 | [11 empty] | 40 |  |  |  | 0.343 | 376 | 0.356 | 0
366 | 4 | -0.32601 | -- | -- | -- | 0.232 | [11 empty] | 41 |  |  |  | 0.356 | 377 | 0.23 | 4
372 | 0 | 5.4072 | -- | -- | -- | 0.487 | [11 empty] | 42 |  |  |  | 0.437 | 378 | 0.196 | 2
373 | NR | -- | -- | -- | -- | <0.240 | [11 empty] | 43 |  |  |  | 0.487 | 379 | 0.319 | 1
376 | 0 | 2.4619 | -- | -- | -- | 0.356 | [11 empty] | 44 |  |  |  | <0.20 | 386 | 0.228 | 4
[18 empty] | 45 |  |  |  | <0.240 | 393 | <0.1 | 0
[18 empty] | 46 |  |  |  | <0.4 | 398 | 0.327 | 1

## NO3
Statistical summary of reported data for standard reference sample N-83 (nutrient constituents)
+3 Fs
+1.5 Fs
MPV
-1.5 Fs
-3 Fs
SUMMARY |  |  | Methods | [9 empty] | Statistics |  |  |  |  | SCALE
|  |  | 0 | 7 | 22 | 40 | Method Codes | [10 empty] | min | 0.048654
|  | n = | 1 | 18 | 21 | 1 | 00 Other | [6 empty] | MPV = | 0.066 | mg/L |  | max | 0.083346
|  | Minimum = | 0.064 | 0.056 | 0.045 | 0.067 | 07 Ion chromatography | [6 empty] | F-pseudosigma = | 0.0057821 |  |  | major | 0.0086731
|  | Maximum = |  | 1.1834 | 0.08 |  | 22 Colorimetric | [6 empty] | n = | 41 |  |  | minor | 0.0086731
|  | Median = |  | 0.0674 | 0.065 |  | 40 Ion selective electrode | [6 empty] | Uh = | 0.0698
|  | F-pseudosigma = |  | 0.02298 | 0.0066716 | [8 empty] | Lh = | 0.062
[18 empty] | Order | 0 | 7 | 22 | 40 | Lab | RV | Rating
[18 empty] | 1 | 0.064 |  |  |  | 16 | 0.06 | 2
[18 empty] | 2 |  | 0.056 |  |  | 23 | <0.10 | NR
|  |  | Method Codes | [6 empty] | Method Codes | [7 empty] | 3 |  | 0.06 |  |  | 25 | 0.0678 | 4
Lab | Rating | Z-value | 0 | 7 | 22 | 40 | Lab | Rating | Z-value | 0 | 7 | 22 | 40 |  |  |  |  | 4 |  | 0.06 |  |  | 33 | 0.15 | 0
16 | 2 | -1.0377 | -- | -- | 0.06 | -- | 399 | 4 | -0.3459 | -- | 0.064 | -- | -- |  |  |  |  | 5 |  | 0.061 |  |  | 42 | 0.064 | 4
23 | NR | -- | -- | <0.10 | -- | -- | 400 | 0 | 2.4213 | -- | -- | 0.08 | -- |  |  |  |  | 6 |  | 0.064 |  |  | 45 | 0.095 | 0
25 | 4 | 0.31131 | -- | 0.0678 | -- | -- | [11 empty] | 7 |  | 0.064 |  |  | 46 | 0.066 | 4
33 | 0 | 14.5277 | -- | 0.15 | -- | -- | [11 empty] | 8 |  | 0.065 |  |  | 59 | 0.068 | 4
42 | 4 | -0.3459 | -- | 0.064 | -- | -- | [11 empty] | 9 |  | 0.066 |  |  | 72 | 0.0647 | 4
45 | 0 | 5.0155 | -- | 0.095 | -- | -- | [11 empty] | 10 |  | 0.067 |  |  | 85 | 0.064 | 4
46 | 4 | 0 | -- | 0.066 | -- | -- | [11 empty] | 11 |  | 0.0678 |  |  | 86 | 0.168 | 0
59 | 4 | 0.3459 | -- | -- | 0.068 | -- | [11 empty] | 12 |  | 0.068 |  |  | 89 | 0.064 | 4
72 | 4 | -0.22483 | -- | -- | 0.0647 | -- | [11 empty] | 13 |  | 0.0693 |  |  | 102 | 0.067 | 4
85 | 4 | -0.3459 | -- | -- | 0.064 | -- | [11 empty] | 14 |  | 0.087 |  |  | 110 | 0.06 | 2
86 | 0 | 17.6408 | -- | 0.168 | -- | -- | [11 empty] | 15 |  | 0.095 |  |  | 113 | 0.065 | 4
89 | 4 | -0.3459 | 0.064 | -- | -- | -- | [11 empty] | 16 |  | 0.116 |  |  | 138 | 0.0693 | 3
102 | 4 | 0.17295 | -- | 0.067 | -- | -- | [11 empty] | 17 |  | 0.15 |  |  | 142 | 0.069 | 3
110 | 2 | -1.0377 | -- | 0.06 | -- | -- | [11 empty] | 18 |  | 0.168 |  |  | 146 | 0.045 | 0
113 | 4 | -0.17295 | -- | -- | 0.065 | -- | [11 empty] | 19 |  | 1.1834 |  |  | 149 | 0.06 | 2
138 | 3 | 0.57073 | -- | 0.0693 | -- | -- | [11 empty] | 20 |  | <0.10 |  |  | 180 | 0.068 | 4
142 | 3 | 0.51885 | -- | -- | 0.069 | -- | [11 empty] | 21 |  |  | 0.045 |  | 190 | 0.071 | 3
146 | 0 | -3.6319 | -- | -- | 0.045 | -- | [11 empty] | 22 |  |  | 0.0537 |  | 198 | 0.06 | 2
149 | 2 | -1.0377 | -- | 0.06 | -- | -- | [11 empty] | 23 |  |  | 0.06 |  | 224 | 1.1834 | 0
180 | 4 | 0.3459 | -- | 0.068 | -- | -- | [11 empty] | 24 |  |  | 0.06 |  | 227 | 0.116 | 0
190 | 3 | 0.86474 | -- | -- | 0.071 | -- | [11 empty] | 25 |  |  | 0.06 |  | 234 | 0.087 | 0
198 | 2 | -1.0377 | -- | -- | 0.06 | -- | [11 empty] | 26 |  |  | 0.06 |  | 313 | 0.0647 | 4
224 | 0 | 193.2529 | -- | 1.1834 | -- | -- | [11 empty] | 27 |  |  | 0.062 |  | 321 | 0.056 | 1
227 | 0 | 8.6474 | -- | 0.116 | -- | -- | [11 empty] | 28 |  |  | 0.064 |  | 323 | 0.0698 | 3
234 | 0 | 3.6319 | -- | 0.087 | -- | -- | [11 empty] | 29 |  |  | 0.0647 |  | 327 | 0.06 | 2
313 | 4 | -0.22483 | -- | -- | 0.0647 | -- | [11 empty] | 30 |  |  | 0.0647 |  | 328 | 0.06 | 2
321 | 1 | -1.7295 | -- | 0.056 | -- | -- | [11 empty] | 31 |  |  | 0.065 |  | 333 | 0.065 | 4
323 | 3 | 0.65721 | -- | -- | 0.0698 | -- | [11 empty] | 32 |  |  | 0.065 |  | 341 | 0.062 | 3
327 | 2 | -1.0377 | -- | -- | 0.06 | -- | [11 empty] | 33 |  |  | 0.067 |  | 366 | 0.065 | 4
328 | 2 | -1.0377 | -- | -- | 0.06 | -- | [11 empty] | 34 |  |  | 0.068 |  | 372 | 0.07 | 3
333 | 4 | -0.17295 | -- | 0.065 | -- | -- | [11 empty] | 35 |  |  | 0.069 |  | 373 | 0.069 | 3
341 | 3 | -0.69179 | -- | -- | 0.062 | -- | [11 empty] | 36 |  |  | 0.069 |  | 376 | 0.067 | 4
366 | 4 | -0.17295 | -- | -- | 0.065 | -- | [11 empty] | 37 |  |  | 0.0698 |  | 377 | 0.061 | 3
372 | 3 | 0.69179 | -- | -- | 0.07 | -- | [11 empty] | 38 |  |  | 0.07 |  | 378 | 0.0537 | 0
373 | 3 | 0.51885 | -- | -- | 0.069 | -- | [11 empty] | 39 |  |  | 0.071 |  | 386 | 0.078 | 0
376 | 4 | 0.17295 | -- | -- | 0.067 | -- | [11 empty] | 40 |  |  | 0.078 |  | 393 | 0.067 | 4
377 | 3 | -0.86474 | -- | 0.061 | -- | -- | [11 empty] | 41 |  |  | 0.08 |  | 399 | 0.064 | 4
378 | 0 | -2.1273 | -- | -- | 0.0537 | -- | [11 empty] | 42 |  |  |  | 0.067 | 400 | 0.08 | 0
386 | 0 | 2.0754 | -- | -- | 0.078 | --
393 | 4 | 0.17295 | -- | -- | -- | 0.067

## NO2plus3
Statistical summary of reported data for standard reference sample N-83 (nutrient constituents)
+3 Fs
+1.5 Fs
MPV
-1.5 Fs
-3 Fs
SUMMARY |  |  | Methods | [9 empty] | Statistics |  |  |  |  | SCALE
|  |  | 2 | 7 | 22 |  | Method Codes | [10 empty] | min | 0.051507
|  | n = | 1 | 6 | 39 | 02 Atomic absorption: direct, nitrous oxide | [7 empty] | MPV = | 0.06485 | mg/L |  | max | 0.078193
|  | Minimum = | 0.064 | 0.06 | 0.0537 | 07 Ion chromatography | [7 empty] | F-pseudosigma = | 0.0044477 |  |  | major | 0.0066716
|  | Maximum = |  | 0.095 | 0.081 | 22 Colorimetric | [7 empty] | n = | 46 |  |  | minor | 0.0066716
|  | Median = |  | 0.0675 | 0.0647 | [8 empty] | Uh = | 0.068
|  | F-pseudosigma = |  | 0.015567 | 0.0037064 | [8 empty] | Lh = | 0.062
[18 empty] | Order | 2 | 7 | 22 | Lab | RV | Rating
[18 empty] | 1 | 0.064 |  |  | 1 | 0.062 | 3
[18 empty] | 2 |  | 0.06 |  | 10 | 0.065 | 4
|  |  | Method Codes | [6 empty] | Method Codes | [7 empty] | 3 |  | 0.066 |  | 16 | 0.06 | 2
Lab | Rating | Z-value | 2 | 7 | 22 |  | Lab | Rating | Z-value | 2 | 7 | 22 | [5 empty] | 4 |  | 0.067 |  | 21 | 0.064 | 4
1 | 3 | -0.64077 | -- | -- | 0.062 |  | 377 | 4 | -0.19111 | -- | -- | 0.064 | [5 empty] | 5 |  | 0.068 |  | 23 | <0.10 | NR
10 | 4 | 0.033725 | -- | -- | 0.065 |  | 378 | 0 | -2.5069 | -- | -- | 0.0537 | [5 empty] | 6 |  | 0.087 |  | 31 | 0.064 | 4
16 | 2 | -1.0904 | -- | -- | 0.06 |  | 379 | 4 | -0.19111 | -- | -- | 0.064 | [5 empty] | 7 |  | 0.095 |  | 38 | 0.063 | 4
21 | 4 | -0.19111 | -- | -- | 0.064 |  | 381 | 2 | -1.0904 | -- | -- | 0.06 | [5 empty] | 8 |  | <0.10 |  | 45 | 0.095 | 0
23 | NR | -- | -- | <0.10 | -- |  | 386 | 0 | 2.9566 | -- | -- | 0.078 | [5 empty] | 9 |  | <0.141 |  | 46 | 0.066 | 4
31 | 4 | -0.19111 | -- | -- | 0.064 |  | 398 | 1 | -1.8998 | -- | -- | 0.0564 | [5 empty] | 10 |  |  | 0.0537 | 59 | 0.068 | 3
38 | 4 | -0.41594 | -- | -- | 0.063 |  | 399 | 4 | 0.48339 | -- | 0.067 | -- | [5 empty] | 11 |  |  | 0.055 | 64 | 0.065 | 4
45 | 0 | 6.7787 | -- | 0.095 | -- |  | 400 | 0 | 3.4062 | -- | -- | 0.08 | [5 empty] | 12 |  |  | 0.0552 | 70 | 0.055 | 0
46 | 4 | 0.25856 | -- | 0.066 | -- | [12 empty] | 13 |  |  | 0.0564 | 72 | 0.0647 | 4
59 | 3 | 0.70823 | -- | -- | 0.068 | [12 empty] | 14 |  |  | 0.06 | 85 | 0.064 | 4
64 | 4 | 0.033725 | -- | -- | 0.065 | [12 empty] | 15 |  |  | 0.06 | 89 | 0.064 | 4
70 | 0 | -2.2146 | -- | -- | 0.055 | [12 empty] | 16 |  |  | 0.06 | 91 | 0.0657 | 4
72 | 4 | -0.033725 | -- | -- | 0.0647 | [12 empty] | 17 |  |  | 0.06 | 97 | 0.067 | 4
85 | 4 | -0.19111 | -- | -- | 0.064 | [12 empty] | 18 |  |  | 0.06 | 113 | 0.065 | 4
89 | 4 | -0.19111 | 0.064 | -- | -- | [12 empty] | 19 |  |  | 0.062 | 118 | 0.067 | 4
91 | 4 | 0.19111 | -- | -- | 0.0657 | [12 empty] | 20 |  |  | 0.062 | 138 | 0.0665 | 4
97 | 4 | 0.48339 | -- | -- | 0.067 | [12 empty] | 21 |  |  | 0.0625 | 142 | 0.069 | 3
113 | 4 | 0.033725 | -- | -- | 0.065 | [12 empty] | 22 |  |  | 0.063 | 146 | 0.0552 | 0
118 | 4 | 0.48339 | -- | -- | 0.067 | [12 empty] | 23 |  |  | 0.063 | 149 | 0.06 | 2
138 | 4 | 0.37098 | -- | -- | 0.0665 | [12 empty] | 24 |  |  | 0.064 | 158 | 0.081 | 0
142 | 3 | 0.93306 | -- | -- | 0.069 | [12 empty] | 25 |  |  | 0.064 | 180 | 0.068 | 3
146 | 0 | -2.1696 | -- | -- | 0.0552 | [12 empty] | 26 |  |  | 0.064 | 190 | 0.072 | 1
149 | 2 | -1.0904 | -- | 0.06 | -- | [12 empty] | 27 |  |  | 0.064 | 193 | 0.06 | 2
158 | 0 | 3.6311 | -- | -- | 0.081 | [12 empty] | 28 |  |  | 0.064 | 198 | 0.062 | 3
180 | 3 | 0.70823 | -- | 0.068 | -- | [12 empty] | 29 |  |  | 0.0647 | 227 | <0.141 | NR
190 | 1 | 1.6076 | -- | -- | 0.072 | [12 empty] | 30 |  |  | 0.0647 | 234 | 0.087 | 0
193 | 2 | -1.0904 | -- | -- | 0.06 | [12 empty] | 31 |  |  | 0.065 | 313 | 0.0647 | 4
198 | 3 | -0.64077 | -- | -- | 0.062 | [12 empty] | 32 |  |  | 0.065 | 316 | 0.0625 | 3
227 | NR | -- | -- | <0.141 | -- | [12 empty] | 33 |  |  | 0.065 | 318 | 0.0665 | 4
234 | 0 | 4.9801 | -- | 0.087 | -- | [12 empty] | 34 |  |  | 0.0657 | 323 | 0.0698 | 2
313 | 4 | -0.033725 | -- | -- | 0.0647 | [12 empty] | 35 |  |  | 0.0665 | 327 | 0.06 | 2
316 | 3 | -0.52836 | -- | -- | 0.0625 | [12 empty] | 36 |  |  | 0.0665 | 328 | 0.06 | 2
318 | 4 | 0.37098 | -- | -- | 0.0665 | [12 empty] | 37 |  |  | 0.067 | 341 | 0.063 | 4
323 | 2 | 1.1129 | -- | -- | 0.0698 | [12 empty] | 38 |  |  | 0.067 | 372 | 0.08 | 0
327 | 2 | -1.0904 | -- | -- | 0.06 | [12 empty] | 39 |  |  | 0.067 | 373 | 0.08 | 0
328 | 2 | -1.0904 | -- | -- | 0.06 | [12 empty] | 40 |  |  | 0.068 | 376 | 0.067 | 4
341 | 4 | -0.41594 | -- | -- | 0.063 | [12 empty] | 41 |  |  | 0.069 | 377 | 0.064 | 4
372 | 0 | 3.4062 | -- | -- | 0.08 | [12 empty] | 42 |  |  | 0.0698 | 378 | 0.0537 | 0
373 | 0 | 3.4062 | -- | -- | 0.08 | [12 empty] | 43 |  |  | 0.072 | 379 | 0.064 | 4
376 | 4 | 0.48339 | -- | -- | 0.067 | [12 empty] | 44 |  |  | 0.078 | 381 | 0.06 | 2
[18 empty] | 45 |  |  | 0.08 | 386 | 0.078 | 0
[18 empty] | 46 |  |  | 0.08 | 398 | 0.0564 | 1
[18 empty] | 47 |  |  | 0.08 | 399 | 0.067 | 4
[18 empty] | 48 |  |  | 0.081 | 400 | 0.08 | 0

## Total
Statistical summary of reported data for standard reference sample N-83 (nutrient constituents)
+3 Fs
+1.5 Fs
MPV
-1.5 Fs
-3 Fs
SUMMARY |  |  | Methods | [8 empty] | Statistics |  |  |  |  | SCALE
|  |  | 0 | 4 | 22 | Method Codes | [10 empty] | min | 0.12609
|  | n = | 2 | 1 | 51 | 00 Other | [6 empty] | MPV = | 0.155 | mg/L |  | max | 0.18391
|  | Minimum = | 0.116 | 0.158 | 0.0122 | 04 Inductively coupled plasma | [6 empty] | F-pseudosigma = | 0.0096368 |  |  | major | 0.014455
|  | Maximum = | 0.162 |  | 1.6 | 22 Colorimetric | [6 empty] | n = | 54 |  |  | minor | 0.014455
|  | Median = |  |  | 0.155 | [7 empty] | Uh = | 0.162
|  | F-pseudosigma = |  |  | 0.0090067 | [7 empty] | Lh = | 0.149
[17 empty] | Order | 0 | 4 | 22 | Lab | RV | Rating
[17 empty] | 1 | 0.116 |  |  | 1 | 0.1613 | 3
[17 empty] | 2 | 0.162 |  |  | 10 | 0.156 | 4
|  |  | Method Codes | [5 empty] | Method Codes | [7 empty] | 3 |  | 0.158 |  | 16 | 0.153 | 4
Lab | Rating | Z-value | 0 | 4 | 22 | Lab | Rating | Z-value | 0 | 4 | 22 | [5 empty] | 4 |  |  | 0.0122 | 21 | 0.154 | 4
1 | 3 | 0.65375 | -- | -- | 0.1613 | 328 | 3 | -0.51885 | -- | -- | 0.15 | [5 empty] | 5 |  |  | 0.12 | 23 | 0.142 | 2
10 | 4 | 0.10377 | -- | -- | 0.156 | 341 | 2 | 1.2452 | -- | -- | 0.167 | [5 empty] | 6 |  |  | 0.138 | 25 | 0.15 | 3
16 | 4 | -0.20754 | -- | -- | 0.153 | 366 | 0 | 2.5942 | -- | -- | 0.18 | [5 empty] | 7 |  |  | 0.14 | 31 | 0.155 | 4
21 | 4 | -0.10377 | -- | -- | 0.154 | 372 | 1 | -1.5565 | -- | -- | 0.14 | [5 empty] | 8 |  |  | 0.14 | 33 | 0.17 | 1
23 | 2 | -1.349 | -- | -- | 0.142 | 373 | 4 | -0.10377 | -- | -- | 0.154 | [5 empty] | 9 |  |  | 0.141 | 45 | 0.162 | 3
25 | 3 | -0.51885 | -- | -- | 0.15 | 376 | 1 | -1.7641 | -- | -- | 0.138 | [5 empty] | 10 |  |  | 0.142 | 46 | 0.154 | 4
31 | 4 | 0 | -- | -- | 0.155 | 377 | 4 | 0 | -- | -- | 0.155 | [5 empty] | 11 |  |  | 0.146 | 59 | 0.152 | 4
33 | 1 | 1.5565 | -- | -- | 0.17 | 378 | 3 | 0.62262 | -- | -- | 0.161 | [5 empty] | 12 |  |  | 0.146 | 64 | 0.1591 | 4
45 | 3 | 0.72638 | -- | -- | 0.162 | 379 | 3 | -0.93392 | -- | -- | 0.146 | [5 empty] | 13 |  |  | 0.146 | 70 | 0.161 | 3
46 | 4 | -0.10377 | -- | -- | 0.154 | 381 | 0 | 2.3867 | -- | -- | 0.178 | [5 empty] | 14 |  |  | 0.148 | 72 | 0.159 | 4
59 | 4 | -0.31131 | -- | -- | 0.152 | 386 | 3 | 0.51885 | -- | -- | 0.16 | [5 empty] | 15 |  |  | 0.149 | 85 | 0.157 | 4
64 | 4 | 0.42545 | -- | -- | 0.1591 | 393 | 0 | 3.6319 | -- | -- | 0.19 | [5 empty] | 16 |  |  | 0.149 | 86 | 0.116 | 0
70 | 3 | 0.62262 | -- | -- | 0.161 | 397 | 1 | -1.5565 | -- | -- | 0.14 | [5 empty] | 17 |  |  | 0.15 | 89 | 0.162 | 3
72 | 4 | 0.41508 | -- | -- | 0.159 | 398 | 3 | -0.72638 | -- | -- | 0.148 | [5 empty] | 18 |  |  | 0.15 | 91 | 0.155 | 4
85 | 4 | 0.20754 | -- | -- | 0.157 | [11 empty] | 19 |  |  | 0.151 | 97 | 0.12 | 0
86 | 0 | -4.047 | 0.116 | -- | -- | [11 empty] | 20 |  |  | 0.152 | 102 | 0.153 | 4
89 | 3 | 0.72638 | 0.162 | -- | -- | [11 empty] | 21 |  |  | 0.153 | 113 | 0.154 | 4
91 | 4 | 0 | -- | -- | 0.155 | [11 empty] | 22 |  |  | 0.153 | 118 | 0.164 | 3
97 | 0 | -3.6319 | -- | -- | 0.12 | [11 empty] | 23 |  |  | 0.1539 | 138 | 0.146 | 3
102 | 4 | -0.20754 | -- | -- | 0.153 | [11 empty] | 24 |  |  | 0.154 | 142 | 0.18 | 0
113 | 4 | -0.10377 | -- | -- | 0.154 | [11 empty] | 25 |  |  | 0.154 | 146 | 0.0122 | 0
118 | 3 | 0.93392 | -- | -- | 0.164 | [11 empty] | 26 |  |  | 0.154 | 149 | 0.149 | 3
138 | 3 | -0.93392 | -- | -- | 0.146 | [11 empty] | 27 |  |  | 0.154 | 158 | 0.146 | 3
142 | 0 | 2.5942 | -- | -- | 0.18 | [11 empty] | 28 |  |  | 0.154 | 180 | 0.156 | 4
146 | 0 | -14.8182 | -- | -- | 0.0122 | [11 empty] | 29 |  |  | 0.155 | 190 | 0.151 | 4
149 | 3 | -0.62262 | -- | -- | 0.149 | [11 empty] | 30 |  |  | 0.155 | 193 | 0.154 | 4
158 | 3 | -0.93392 | -- | -- | 0.146 | [11 empty] | 31 |  |  | 0.155 | 198 | 0.149 | 3
180 | 4 | 0.10377 | -- | -- | 0.156 | [11 empty] | 32 |  |  | 0.1556 | 224 | 0.164 | 3
190 | 4 | -0.41508 | -- | -- | 0.151 | [11 empty] | 33 |  |  | 0.156 | 227 | 0.158 | 4
193 | 4 | -0.10377 | -- | -- | 0.154 | [11 empty] | 34 |  |  | 0.156 | 234 | 0.141 | 2
198 | 3 | -0.62262 | -- | -- | 0.149 | [11 empty] | 35 |  |  | 0.157 | 313 | 0.205 | 0
224 | 3 | 0.93392 | -- | -- | 0.164 | [11 empty] | 36 |  |  | 0.159 | 316 | 0.1539 | 4
227 | 4 | 0.31131 | -- | 0.158 | -- | [11 empty] | 37 |  |  | 0.1591 | 318 | 0.1556 | 4
234 | 2 | -1.4528 | -- | -- | 0.141 | [11 empty] | 38 |  |  | 0.16 | 321 | 0.164 | 3
313 | 0 | 5.1885 | -- | -- | 0.205 | [11 empty] | 39 |  |  | 0.161 | 323 | 0.18 | 0
316 | 4 | -0.11415 | -- | -- | 0.1539 | [11 empty] | 40 |  |  | 0.161 | 327 | 1.6 | 0
318 | 4 | 0.062262 | -- | -- | 0.1556 | [11 empty] | 41 |  |  | 0.1613 | 328 | 0.15 | 3
321 | 3 | 0.93392 | -- | -- | 0.164 | [11 empty] | 42 |  |  | 0.162 | 341 | 0.167 | 2
323 | 0 | 2.5942 | -- | -- | 0.18 | [11 empty] | 43 |  |  | 0.164 | 366 | 0.18 | 0
327 | 0 | 149.9465 | -- | -- | 1.6 | [11 empty] | 44 |  |  | 0.164 | 372 | 0.14 | 1
[17 empty] | 45 |  |  | 0.164 | 373 | 0.154 | 4
[17 empty] | 46 |  |  | 0.167 | 376 | 0.138 | 1
[17 empty] | 47 |  |  | 0.17 | 377 | 0.155 | 4
[17 empty] | 48 |  |  | 0.178 | 378 | 0.161 | 3
[17 empty] | 49 |  |  | 0.18 | 379 | 0.146 | 3
[17 empty] | 50 |  |  | 0.18 | 381 | 0.178 | 0
[17 empty] | 51 |  |  | 0.18 | 386 | 0.16 | 3
[17 empty] | 52 |  |  | 0.19 | 393 | 0.19 | 0
[17 empty] | 53 |  |  | 0.205 | 397 | 0.14 | 1
[17 empty] | 54 |  |  | 1.6 | 398 | 0.148 | 3

## PO4
Statistical summary of reported data for standard reference sample N-83 (nutrient constituents)
+3 Fs
+1.5 Fs
MPV
-1.5 Fs
-3 Fs
SUMMARY |  |  | Methods | [8 empty] | Statistics |  |  |  |  | SCALE
|  |  | 0 | 7 | 22 | Method Codes | [10 empty] | min | 0.13766
|  | n = | 2 | 6 | 47 | 00 Other | [6 empty] | MPV = | 0.151 | mg/L |  | max | 0.16434
|  | Minimum = | 0.152 | 0.125 | 0.0139 | 07 Ion chromatography | [6 empty] | F-pseudosigma = | 0.0044477 |  |  | major | 0.0066716
|  | Maximum = | 0.155 | 0.164 | 0.46 | 22 Colorimetric | [6 empty] | Rating criterion = | 0.00755 |  |  | minor | 0.0066716
|  | Median = |  | 0.1525 | 0.151 | [7 empty] | n = | 55
|  | F-pseudosigma = |  | 0.011119 | 0.0037064 | [7 empty] | Uh = | 0.155
[13 empty] | Lh = | 0.149 |  |  | Order | 0 | 7 | 22 | Lab | RV | Rating
[17 empty] | 1 | 0.152 |  |  | 1 | 0.154 | 4
[17 empty] | 2 | 0.155 |  |  | 10 | 0.15 | 4
|  |  | Method Codes | [5 empty] | Method Codes | [7 empty] | 3 |  | 0.125 |  | 16 | 0.148 | 4
Lab | Rating | Z-value | 0 | 7 | 22 | Lab | Rating | Z-value | 0 | 7 | 22 | [5 empty] | 4 |  | 0.146 |  | 21 | 0.153 | 4
1 | 4 | 0.39735 | -- | -- | 0.154 | 328 | 0 | 40.9272 | -- | -- | 0.46 | [5 empty] | 5 |  | 0.15 |  | 23 | 0.158 | 3
10 | 4 | -0.13245 | -- | -- | 0.15 | 333 | 2 | 1.3245 | -- | 0.161 | -- | [5 empty] | 6 |  | 0.155 |  | 25 | 0.15 | 4
16 | 4 | -0.39735 | -- | -- | 0.148 | 341 | 3 | -0.5298 | -- | -- | 0.147 | [5 empty] | 7 |  | 0.161 |  | 31 | 0.152 | 4
21 | 4 | 0.2649 | -- | -- | 0.153 | 366 | 3 | 0.5298 | -- | -- | 0.155 | [5 empty] | 8 |  | 0.164 |  | 33 | 0.16 | 2
23 | 3 | 0.92715 | -- | -- | 0.158 | 372 | 4 | -0.13245 | -- | -- | 0.15 | [5 empty] | 9 |  |  | 0.0139 | 38 | 0.153 | 4
25 | 4 | -0.13245 | -- | -- | 0.15 | 373 | 4 | 0.13245 | -- | -- | 0.152 | [5 empty] | 10 |  |  | 0.1238 | 42 | 0.152 | 4
31 | 4 | 0.13245 | -- | -- | 0.152 | 376 | 4 | -0.13245 | -- | -- | 0.15 | [5 empty] | 11 |  |  | 0.14 | 45 | 0.164 | 1
33 | 2 | 1.1921 | -- | -- | 0.16 | 377 | 2 | -1.0596 | -- | -- | 0.143 | [5 empty] | 12 |  |  | 0.143 | 46 | 0.157 | 3
38 | 4 | 0.2649 | -- | -- | 0.153 | 378 | 4 | -0.2649 | -- | -- | 0.149 | [5 empty] | 13 |  |  | 0.144 | 59 | 0.149 | 4
42 | 4 | 0.13245 | 0.152 | -- | -- | 379 | 4 | 0.39735 | -- | -- | 0.154 | [5 empty] | 14 |  |  | 0.144 | 64 | 0.1513 | 4
45 | 1 | 1.7219 | -- | 0.164 | -- | 381 | 4 | -0.11921 | -- | -- | 0.1501 | [5 empty] | 15 |  |  | 0.145 | 70 | 0.148 | 4
46 | 3 | 0.7947 | -- | -- | 0.157 | 386 | 4 | -0.2649 | -- | -- | 0.149 | [5 empty] | 16 |  |  | 0.147 | 72 | 0.154 | 4
59 | 4 | -0.2649 | -- | -- | 0.149 | 393 | 2 | 1.1921 | -- | -- | 0.16 | [5 empty] | 17 |  |  | 0.148 | 85 | 0.15 | 4
64 | 4 | 0.039735 | -- | -- | 0.1513 | 398 | 4 | 0 | -- | -- | 0.151 | [5 empty] | 18 |  |  | 0.148 | 86 | 0.125 | 0
70 | 4 | -0.39735 | -- | -- | 0.148 | 399 | 3 | 0.5298 | -- | 0.155 | -- | [5 empty] | 19 |  |  | 0.149 | 89 | 0.155 | 3
72 | 4 | 0.39735 | -- | -- | 0.154 | [11 empty] | 20 |  |  | 0.149 | 97 | 0.145 | 3
85 | 4 | -0.13245 | -- | -- | 0.15 | [11 empty] | 21 |  |  | 0.149 | 102 | 0.14 | 2
86 | 0 | -3.4437 | -- | 0.125 | -- | [11 empty] | 22 |  |  | 0.149 | 113 | 0.16 | 2
89 | 3 | 0.5298 | 0.155 | -- | -- | [11 empty] | 23 |  |  | 0.15 | 118 | 0.144 | 3
97 | 3 | -0.7947 | -- | -- | 0.145 | [11 empty] | 24 |  |  | 0.15 | 138 | 0.155 | 3
102 | 2 | -1.457 | -- | -- | 0.14 | [11 empty] | 25 |  |  | 0.15 | 142 | 0.15 | 4
113 | 2 | 1.1921 | -- | -- | 0.16 | [11 empty] | 26 |  |  | 0.15 | 146 | 0.0139 | 0
118 | 3 | -0.92715 | -- | -- | 0.144 | [11 empty] | 27 |  |  | 0.15 | 149 | 0.15 | 4
138 | 3 | 0.5298 | -- | -- | 0.155 | [11 empty] | 28 |  |  | 0.15 | 158 | 0.144 | 3
142 | 4 | -0.13245 | -- | -- | 0.15 | [11 empty] | 29 |  |  | 0.15 | 180 | 0.154 | 4
146 | 0 | -18.1589 | -- | -- | 0.0139 | [11 empty] | 30 |  |  | 0.15 | 190 | 0.15 | 4
149 | 4 | -0.13245 | -- | 0.15 | -- | [11 empty] | 31 |  |  | 0.1501 | 198 | 0.149 | 4
158 | 3 | -0.92715 | -- | -- | 0.144 | [11 empty] | 32 |  |  | 0.151 | 224 | 0.162 | 2
180 | 4 | 0.39735 | -- | -- | 0.154 | [11 empty] | 33 |  |  | 0.151 | 227 | 0.155 | 3
190 | 4 | -0.13245 | -- | -- | 0.15 | [11 empty] | 34 |  |  | 0.1513 | 234 | 0.146 | 3
198 | 4 | -0.2649 | -- | -- | 0.149 | [11 empty] | 35 |  |  | 0.152 | 313 | 0.151 | 4
224 | 2 | 1.457 | -- | -- | 0.162 | [11 empty] | 36 |  |  | 0.152 | 316 | 0.1238 | 0
227 | 3 | 0.5298 | -- | -- | 0.155 | [11 empty] | 37 |  |  | 0.153 | 318 | 0.154 | 4
234 | 3 | -0.66225 | -- | 0.146 | -- | [11 empty] | 38 |  |  | 0.153 | 321 | 0.163 | 1
313 | 4 | 0 | -- | -- | 0.151 | [11 empty] | 39 |  |  | 0.154 | 323 | 0.154 | 4
316 | 0 | -3.6026 | -- | -- | 0.1238 | [11 empty] | 40 |  |  | 0.154 | 327 | 0.15 | 4
318 | 4 | 0.39735 | -- | -- | 0.154 | [11 empty] | 41 |  |  | 0.154 | 328 | 0.46 | 0
321 | 1 | 1.5894 | -- | -- | 0.163 | [11 empty] | 42 |  |  | 0.154 | 333 | 0.161 | 2
323 | 4 | 0.39735 | -- | -- | 0.154 | [11 empty] | 43 |  |  | 0.154 | 341 | 0.147 | 3
327 | 4 | -0.13245 | -- | -- | 0.15 | [11 empty] | 44 |  |  | 0.154 | 366 | 0.155 | 3
[17 empty] | 45 |  |  | 0.155 | 372 | 0.15 | 4
[17 empty] | 46 |  |  | 0.155 | 373 | 0.152 | 4
[17 empty] | 47 |  |  | 0.155 | 376 | 0.15 | 4
[17 empty] | 48 |  |  | 0.157 | 377 | 0.143 | 2
[17 empty] | 49 |  |  | 0.158 | 378 | 0.149 | 4
[17 empty] | 50 |  |  | 0.16 | 379 | 0.154 | 4
[17 empty] | 51 |  |  | 0.16 | 381 | 0.1501 | 4
[17 empty] | 52 |  |  | 0.16 | 386 | 0.149 | 4
[17 empty] | 53 |  |  | 0.162 | 393 | 0.16 | 2
[17 empty] | 54 |  |  | 0.163 | 398 | 0.151 | 4
[17 empty] | 55 |  |  | 0.46 | 399 | 0.155 | 3