# The LIGO Detectors Controls

Daniel Sigg#, P.O. Box 159, Richland, WA 99352.
(for the LIGO Scientific Collaboration)

Abstract

All three LIGO detectors have reached their design sensitivities. A sky-averaged detection range (SNR > 8) of more than 15 Mpc for inspiral binary neutron stars with masses of 1.4 Msol has been achieved with the two 4 km instruments. The fifth LIGO science started in November 2005 and ended September 2007. About 365 days of coincidence data have been collected. The feedback controls system is a major component to make LIGO work and its performance has been crucial to achieve the present sensitivity.

## Introduction

Figure 1: Schematic view of the optical path in LIGO. The light of a frequency stabilized Nd:YAG laser is passed through a triangular mode cleaner cavity before it is launched into a Michelson interferometer. To stabilize the laser frequency a small fraction of the light is sampled, doubly passed through an acousto-optic modulator (AOM) which serves as a frequency shifter, passed through a Pockels cell and sent to a reference cavity. Using a polarizing beamsplitter (PBS) and quarter-wave plate (/4) the light reflected from the reference cavity is measured by a photodetector to obtain the error signal, Sref, which in turn is used to adjust the laser frequency. The main laser light is passed through a pre-modecleaner (not shown) and a series of Pockels cells which impose the phase-modulated rf sidebands used to lock the mode cleaner and the Michelson interferometer. The mode cleaner locking signal, SMC, is measured by a photodetector in reflection of the mode cleaner cavity. The light which passes through the mode cleaner is sent through a Faraday isolator (FI) which also serves the purpose, together with a polarizer (P), to separate out the reflected light signal, Srefl. The main interferometer consists of a beamsplitter (BS), two arm cavities each of them formed by an input test mass (ITM) and an end test mass (ETM), and the power recycling mirror (PRM). Additional locking signals are obtained at the antisymmetric port, Santi, and by sampling a small amount of light from inside the power recycling cavity, Sprc.

Interferometric gravitational wave antennas are based on Michelson interferometers whose sensitivity to small differential length changes has been enhanced by adding multiple coupled optical resonators. The use of optical cavities is essential for reaching the required sensitivity, but sets challenges for the control system which must maintain the cavities near resonance. The goal for the strain sensitivity of the Laser Interferometer Gravitational-wave Observatory is 10-21 rms, integrated over a 100 Hz bandwidth centered at 150 Hz [1,2].

LIGO implements a power-recycled Michelson interferometer with Fabry-Perot arm cavities (see Fig. 1). Using optical cavities is essential in reaching the ultimate sensitivity goal but it requires an active electronic feedback system to keep them ‘on resonance’. The control system must keep the round-trip length of a cavity near an integer multiple of the laser wavelength so that light newly introduced into the cavity interferes constructively with light from previous round-trips. Under these conditions the light inside the cavity builds up and the cavity is said to be on resonance [3]. Attaining high power buildup in the arm cavities also requires that minimal light is allowed to leave the system through the antisymmetric port, so that all the light is sent back in the direction of the laser where it is reflected back into the system by the power recycling mirror. Hence, an additional feedback loop is needed to control the Michelson phase so that the antisymmetric port is set on a dark fringe.

Figure 2: LIGO sensitivity during the 5th science run. The three spectral curves represent the displacement sensitivity of the three LIGO detectors. The smooth curve represents the original goal as outlined in the LIGO proposal. Also, indicated is the sky-averaged range to detect the inspiral of two standard 1.4 Msol mass neutron stars with a signal-to-noise of 8.

## Sensitivity

The current displacement sensitivities of the three LIGO detectors are shown in Fig. 2. The sensitivity above approximately 200 Hz is limited by shot noise of the laser light. Below about 40 Hz the sensitivity is limited by anthropogenic and seismic activities. The noise in the intermediate frequency band is not completely understood. Thermal noise, electronics noise, back scattering of stray beams and upconversion of low frequency excitations may all contribute.

## The 5th Science Run

The LIGO observatories consist of three detectors at two different sites. At the Hanford Observatory in Washington a 4 km and a 2 km long interferometer share the same vacuum envelop. A single 4 km long interferometer is implemented at Livingston site in Louisiana.

The 5th LIGO science run started on November 4, 2005 and ended on September 30, 2007. Just over 365 days of triple coincidence data have been acquired. A little more than 400 days of two site coincident data have been archived. The duty factor for the 4 km interferometer at Hanford was around 78%, it was about 79% for the 2 km interferometer at Hanford and it was about 66% for the Livingston interferometer. The triple coincidence duty factor was 53%, whereas the two site coincidence duty factor was 60%.

## Results and Conclusions

The data of the 5th science run are still being analyzed. Results from earlier runs are available in Refs. 4-26.

Initial LIGO has achieved its major goals. Plans for the next generation advanced LIGO detectors are well underway.

## Acknowledgement

The authors gratefully acknowledge the support of the United States National Science Foundation for the construction and operation of the LIGO Laboratory and the Particle Physics and Astronomy Research Council of the United Kingdom, the Max-Planck-Society and the State of Niedersachsen/Germany for support of the construction and operation of the GEO600 detector. The authors also gratefully acknowledge the support of the research by these agencies and by the Australian Research Council, the Natural Sciences and Engineering Research Council of Canada, the Council of Scientific and Industrial Research of India, the Department of Science and Technology of India, the Spanish Ministerio de Educacion y Ciencia, The National Aeronautics and Space Administration, the John Simon Guggenheim Foundation, the Alexander von Humboldt Foundation, the Leverhulme Trust, the David and Lucile Packard Foundation, the Research Corporation, and the Alfred P. Sloan Foundation.

## References

[1]	A. Abramovici, W.E. Althouse, R.W.P. Drever, Y. Gursel, S. Kawamura, F.J. Raab, D. Shoemaker, L. Sievers, R.E. Spero, K.S. Thorne, R.E. Vogt, R. Weiss, S.E. Whitcomb, and M.E. Zucker, “LIGO - the laser interferometer gravitational-wave observatory,” Science 256, 325–333 (1992).

[2]	B. Barish and R. Weiss, “LIGO and the Detection of Gravitational Waves,” Phys. Today 52, 44 (1999).

[3]	A. E. Siegman, Lasers, (University Science, Mill Valley, Calif., 1986), Chap. 13, p. 663.

[4]	B. Abbott et al., “Detector description and performance for the first coincidence observations between LIGO and GEO,” Nucl. Instrum. Meth. A517 (2004) 154–179.

[5]	B. Abbott et al., “First upper limits from LIGO on gravitational waves bursts,” Phys. Rev. D 69 (2004) 102001.

[6]	B. Abbott et al., “Setting upper limits on the strength of periodic gravitational waves from PSR J1939 + 2134 using the first science data from the GEO600 and LIGO detectors,” Phys. Rev. D 69 (2004) 082004.

[7]	B. Abbott et al., “Analysis of LIGO data for gravitational waves from binary neutron stars,” Phys. Rev. D 69 (2004) 122001.

[8]	B. Abbott et al., “Analysis of LIGO data for stochastic gravitational waves,” Phys. Rev. D 69 (2004) 122004.

[9]	B. Abbott et al., “Limits on gravitational wave emission from selected pulsars using LIGO data,” Phys. Rev. Lett. 94 (2005) 181103.

[10]	B. Abbott et al., “A search for gravitational waves associated with the gamma ray burst GRB030329 using the LIGO detectors,” Phys. Rev. D 72 (2005) 042002.

[11]	B. Abbott et al., “First all-sky upper limits from LIGO on the strength of periodic gravitational waves using the Hough transform,” Phys. Rev. D 72 (2005) 102004.

[12]	B. Abbott et al., “Search for gravitational waves from galactic and extra-galactic binary neutron stars,” Phys. Rev. D. 72 (2005) 082001.

[13]	B. Abbott et al., “Search for gravitational waves from primordial black hole binary coalescences in the galactic halo,” Phys. Rev. D. 72 ( 2005) 082002.

[14]	B. Abbott et al., “Upper limits from LIGO and TAMA detectors on the rate of gravitational wave bursts,” Phys. Rev. D. 72 (2005) 122004.

[15]	B. Abbott et al., “Upper limits on a stochastic background of gravitational waves,” Phys. Rev. Lett. 95 (2005) 221101.

[16]	B. Abbott et al., “Upper limits on gravitational wave bursts in LIGO’s second science run”, Phys. Rev. D 72 (2005) 062001.

[17]	B. Abbott et al., “Search for gravitational wave bursts in LIGO’s third science run,” Class. Quantum Grav. 23 (2006) S29–S39.

[18]	B. Abbott et al., “Search for gravitational waves from binary black hole inspirals in LIGO data,”  Phys. Rev. D 73  (2006) 062001.

[19]	B. Abbott et al., “Joint LIGO and TAMA300 Search for Gravitational Waves from Inspiralling Neutron Star Binaries,” Phys. Rev. D 73 (2006) 102002.

[20]	B. Abbott et al., “First cross-correlation analysis of interferometric and resonant-bar gravitational wave data for stochastic backgrounds,” Phys. Rev. D 76 (2007) 022001.

[21]	B. Abbott et al., “Coherent searches for periodic gravitational waves from unknown isolated sources and Scorpius X-1: results from the second LIGO science run,” to appear in Phys. Rev. D.

[22]	B. Abbott et al., “Search for gravitational wave radiation associated with the pulsating tail of the SGR 1806-20 hyperflare of December 27, 2004 using LIGO,” Phys. Rev. D 76 (2007) 062003.

[23]	B. Abbott et al., “Search for gravitational-wave bursts in LIGO data from the fourth science run,” to appear in CQG.

[24]	B. Abbott et al., “Search for gravitational waves from binary inspirals in S3 and S4 LIGO data,” submitted to Phys. Rev. D.

[25]	B. Abbott et al., “Upper Limits on Gravitational Wave Emission from 78 Radio Pulsars,” Phys. Rev. D 76 (2007) 042001.

[26]	B. Abbott et al., “Searching for Stochastic Background of Gravitational Waves with LIGO,” ApJ. 659 (2007) 918.

# Text boxes

#sigg_d@ligo.caltech.edu