## Update History Summary for the

## Telecommunication Design Standards

Revised 20 June 2008

Revised the number and type of fiber optics cables in a standard telecommunications drop.

Revised 11 Nov 2004

- Removed references to 844-2316 as the department contact number, as that is no longer valid.

- Clarified paragraph 4 to indicate some of the IDR drawings may overlap those produced for the rest of the building.

- Revised paragraphs 7 and 9.1 to cover existing construction and the new "mini-IDR" cabinets.

- Clarified paragraph 9.1 to indicate the requirements for "horizontal wall space" means space/volume reserved for the stated equipment, and does not necessarily dictate the physical room wall construction or layout.

- Revised paragraphs 12 and 13  to require FMOC-owned equipment dedicated to the IDR to be mounted external to the IDR, so that it can be easily serviced under the restrictive post-9/11 rules governing IDR entry.

Revised 02/03

	Delete all copper data lines RED and BLACK.

	Terminate the one Cat 5e copper voice cable to a single gang faceplate next to the new fiber outlets at the

desktop (plenum cable is allowed).

	Combine the RED and BLACK fiber into the same user outlet.

	Combine the RED and BLACK fiber into one conduit backbone system.

	Delete the Singlemode fiber distribution to the desktop.

	Install one additional Multimode fiber to the desktop for each system RED and BLACK

	Change the 62.5-micron Multimode fiber to 50 micron Multimode fiber.

	Increase the allowable distance from IDR to desktop from 90 meters to 150 meters.

	Move fiber terminations in the IDR from wall mounted LIUs to termination shelves installed in equipment

cabinets.

	Eliminate the use of cable tray in the IDRs. Fiber conduit will now drop directly into the equipment

cabinet the fiber will be terminating in.

	Eliminate all but two 4 x 8 sheets of the ¾” plywood from IDR walls. Plywood will still be needed for

the Voice protector frame and to mount the ISDN power supply.

	Combine the RED side of the IDR and the BLACK in to on room with no divider wall.

Issued 07/02 (NEW)

Concurrent with the release of the Design Standards Manual, the Telecommunication Systems Design document is being issued.  The telecommunication systems design details have been deleted from the Design Standards Manual and now references the new Telecommunication Systems Design document.