Transmission Subgroup – Decisions and Assignments

From Nov 10, 2005 meeting

Decisions:

Delete the path: WOR – IID230 path.

Agreed with PWG decision yesterday to not report the Do Nothing case, but keep it “internally” for information purposes.

Alberta – BCH – Leave representation and rating as is in the current reference case.

Bridger West – add Bridger - Ben Lomond -Terminal line to integrate new units into Utah.

Revise the following Path Ratings:

OLD	NEW

Cholla – Pinnacle Peak	1200 MW	2700 MW

East of River	8055 MW	9255 MW

Path 26	3700 MW	4000 MW

SW of 4 Corners	2325 MW	3825 MW

West of River	10623 MW	11823 MW

Navajo – Crystal	1400 MW	1900 MW

SCIT	16700 MW	17700 MW

West of Hatwai	2750 MW	4277 MW

Assignments:  All information that is due to Jamie (denoted by red asterick below) is due next Tuesday, Nov 15

Jeff Miller/Transmission Subgroup - Create a Table for those paths whose ratings are different from the WECC path rating, showing old rating, new rating and reason for increase

* Rob - provide Jamie the integrating transmission for Springerville plant in EPC format.  (This should take care of the congestion seen on the Coronado – Silver King – Kyreene line

Modeling Team – run a case with all path limits turned off (unconstrained case).

* Chris / Ray Brush - For Montana to NW, use the 750 MW solution that NTAC has looked at.  Send this to Jamie in EPC format .

Formed a New Group to look at additions in reference case for Montana resources – (Bill Pascoe., Ray Brush., Marv Landauer., Chris Reese., Scott Waples., Bill Hosie,  - Ray chair).    NOTE: Since we decided to sse 750 MW solution that NTAC has looked at, this group may not have an assignment at this time.

* Bob Easton – Coordinate integrating transmission for coal in Colorado and send to Jamie.  This should address congestion seen on the Bonanza West path.

# * Peter Krzykos - check the model for 4 corners representation and let Jamie know if there are any changes.

Dean - Post the study results Jamie ran last night.

Modeling Team - For DC Line, add dollar penalty at higher DC flow levels to account for the effect of high losses if this can be done in Gridview.

* Marv, Jim E. and Chris – get Jamie new limit for South of Alston.

Dean / Mike DeWolf - Send Doug (CDEAC) direction on what to do with incremental resources in the SSG-WI reference case, as CDEAC adds its resource scenarios.

Dean - Set up next meeting at PDX for December 5.

Dean - Post the NTAC table on Transmission costs and send out a note asking folks to review it.