Transmission Subgroup – Decisions and Assignments

From Nov 10, 2005 meeting

Decisions:

Delete the path: WOR – IID230 path.

Agreed with PWG decision yesterday to not report the Do Nothing case, but keep it “internally” for information purposes.

Alberta – BCH – Leave representation and rating as is in the current reference case.

Bridger West – add Bridger - Ben Lomond -Terminal 345 kV line to integrate new units into Utah.

Revise the following Path Ratings:

OLD	NEW

Cholla – Pinnacle Peak	1200 MW	2700 MW

East of River	8055 MW	9255 MW

Path 26 (North to South)	3700 MW	4000 MW

SW of 4 Corners	2325 MW	3825 MW

West of River	10623 MW	11823 MW

Navajo – Crystal	1400 MW	1900 MW

SCIT	16700 MW	17700 MW

West of Hatwai	2750 MW	4277 MW

Assignments:  All information to Jamie is due next Tuesday, Nov 15

Modeling Team - Create a Table for those paths whose ratings are different from the WECC path rating, showing old rating, new rating and reason for increase

Rob - provide Jamie the integrating transmission for Springerville plant in EPC format.  (This should take care of the congestion seen on the Coronado – Silver King – Kyreene line

Jamie – run a case with all path and line limits turned off (unconstrained case).

Chris / Ray Brush - For Montana to NW, use the 750 MW solution that NTAC has looked at.  Send this to Jamie in EPC format .

Formed a New Group to look at additions in reference case for Montana resources – (Bill P., Ray B., Marv, Chris, Scott W., Bill Hosie,  - Ray chair).    Since we decided to Use 750 MW solution that NTAC has looked at, this group may not have an assignment at this time.

Bob Easton – Coordinate integrating transmission for coal in Colorado and send to Jamie.  This should address congestion seen on the Bonanza West path.

# Peter Krzykos - check the model for 4 corners representation and let Jamie know if there are any changes.

Dean - Post the study results Jamie ran last night.

Modeling Team - For DC Line, add dollar penalty at higher DC flow levels to account for the effect of high losses if this can be done in Gridview.

Marv, Jim E. and Chris – get Jamie new limit for South of Alston.

Dean / Mike DeWolf - Send Doug (CDEAC) direction on what to do with incremental resources in the SSG-WI reference case, as CDEAC adds its resource scenarios.

Dean - Set up next meeting at PDX for December 5.

Dean - Post the NTAC table on Transmission costs and send out a note to review it.