4.4

01-30-2009

nh

nh – Arrester Units(1)

| nh-a Gas Tubes |
| --- |
| Manufacturer | MDF Module | Station Module | Well Mount |
| Bourns |  | 125-EW-R(2)(5) |  |
|  |  | 2374-01(2)(5) |  |
|  |  | 2375-01(2)(5) |  |
|  |  | 2377-01(3)(5) |  |
|  |  | 2377-45-HS/-BC(3)(6) |  |
|  |  | 2378-35-HS/-BC(3)(5) |  |
| Corning Cable Systems | 7A(2)(5) | 7X(2)(5) |  |
|  |  | PTD(3)(5) |  |
|  |  | PTD(3)(6) |  |
| Emerson Network Power Energy Systems | 6A20(2)(5) | 6U2VS(2)(5) | 1304VSR(2)(5) |
|  | 3G(3)(4) | 3GUVS(3)(4) |  |
|  |  | G1200-0-350(2)(5) |  |
| Porta Systems |  | 65BCN(2)(5) |  |
| Surge Technologies | ST3B1E(3)(5) | ST356-350V(3)(5) |  |
| TII (Non-Domestic Technical Acceptance expires on 12/31/2010.) |  | 126M(2)(5) |  |
|  |  | 355M(3)(6) |  |
|  |  | 356M1(3)(5) |  |
|  |  | AD-02W-FS(3)(5) |  |
| Tyco |  | GSSP(3)(5) |  |

See page 4.4.1 for notes

4.4.1

12-27-2007

nh

nh – Arrester Units(1)

| nh-b Solid-State |
| --- |
| Manufacturer | MDF Module | Station Module |
| Bourns |  | 2380-27-01(7) |
| Circa Telecom | CT3B1FS(7)(11) |  |
|  | CT3B1S(7)(11) |  |
| Corning Cable Systems | 11A(7)(9) | PTD(7)(10) |
| Surge Technologies | ST3B1E-BAL(8) |  |

Notes:

(1)Arresters listed under this category are not complete protected building entrance terminals (BET) mainframe protectors, or network interface devices (NID).  They are intended for use as components, as accepted and listed, in the protected BETs, mainframe protectors, and network interface device “ni”, “nm”, and “nid” sections of the List of Materials.  Arrester units here shall not be used in a BET, mainframe protector or network interface device listed in the “ni”, “nm”, or “nid” sections unless the same arrester unit is listed for use in the particular BET, mainframe protector, or network interface device on the “ni”, “nm”, or “nid” pages.

(2)2-electrode.

(3)3-electrode.

(4)Medium duty.

(5)Heavy duty.

(6)Maximum duty.

(7)PEG-7, Class I Category.

(8)PEG-7, Class II Category.

(9)For use with Corning’s C-388.

(10)For use with Corning’s NI-2000 Series NID unit.

(11)For use with Circa Telecom’s 2500QC2-100.