Quality Control Functionality Design Specification

Version: 1.1

Brigham and Women’s Hospital, Channing Laboratory Copyright © 2005. All rights reserved.

# Document control

# Superseded documents

| Document Name | File Name | Version Number | Issue Date | Date with-drawn | Replaced by | Reason |
| --- | --- | --- | --- | --- | --- | --- |

# Version history

| Version | Date | Author | Comments | Sections affected | Circulated to: | Purpose |
| --- | --- | --- | --- | --- | --- | --- |
| 0-02 |  |  |  | All |  |  |

Changes since last version

| Section | Change | Reason for change |
| --- | --- | --- |

# Outstanding issues and omissions

| Section | Issue or Ommission |
| --- | --- |

# Distribution control

| Author: | Shelley Tworoger |
| --- | --- |
| Owner and approver for distribution: | Shelley Tworoger |
| Signature: | Date: |

# Distribution List

| Company | Entity | Recipient Name | Action |
| --- | --- | --- | --- |
|  |  | Shelley Tworoger |  |
|  |  | Mark Magid |  |
|  |  | Rakesh Kukatla |  |
|  |  | Helena Judge-Ellis |  |
|  |  | Jeanne Sparrow |  |
|  |  | Eric Rimm |  |
|  |  | Sue Hankinson |  |

# Contents

1.	Introduction	4

1.1	Purpose of document	4

1.2	Background	4

1.3	Scope of the specification	4

1.4	Input	4

1.5	Output	5

1.6	Glossary of Terms and Definitions	6

1.7	Contacts	8

1.7.1	List of comments of final sign off	8

2.	Functional Overview	9

2.1	Business Objectives	9

2.2	Functional Diagram	9

2.3	Design Mock-up	11

2.4	Requirements	11

2.4.1	Primary	11

2.5	Non-Functional Requiremets	11

2.6	Outstanding Issues	11

# Introduction

## Purpose of document

The Quality Control (QC) Functionality will continue the process of pulling samples from the freezer and ultimately sending to a laboratory.  This functionality will build on the information generated in the Pull List and Sorting Functionalities, specifically identifying and placing QC and drift samples into a project going to a laboratory.  The purpose of this document is to outline the specifications for the QC functionality in HealthTrack.

## Background

QC samples are an important aspect of any biospecimen project. These samples, which are split samples from the same individual or pool of individuals, allow the research to estimate the quality of the assay being conducted on regular study participant samples.  QCs only apply to actual projects being sent to a laboratory, not to samples being placed back into the freezer repository.  The purpose of this project will be to create an application as part of HealthTrack that will allow the research assistant to identify the type and number of QCs needed for a project and for HealthTrack to place the QC samples into specific box positions and create a QC info file mapping real QC ID to a fake ID. This functionality will be integrated within the sorting functionality.

## Scope of the specification

The concern of this application and specification is the integration of QC selection and placement into the Sorting Functionality. A completed pull list is a requirement to any work within this application.

## Input

QC functionality input data comprises of:

- The number of QCs as a percent of the total number of participant samples being sent out.

- Set size of QCs. This defines how many QCs will be placed next to each other as a “set” – this is to make QC samples indistinguishable from normal participant samples.  This field should allow multiple selection from 1 to 6.

- Type of QC. This defines which QCs will be used and is based on the QC type table that will be developed based on the Excel file “List of QC Types and cohorts.xls”. This field should allow multiple selection. NOTE for genetics projects where we use real participant sample for QCs, the user will select “39”, which denotes genetic QCs. The study coordinator and RA will then make the QC file matching real ID to fake ID to input directly into GenT, using the fake IDs chosen for the supposed “39” pool of QCs.

## Output

Primary output – QC Info File

The QC info file contains the information about QC type, fake IDs and the location of each QC in the box.  The QC Types are chosen by the user. The fake ID and location in the box are assigned by HealthTrack as follows:

- Given the number of QCs as a percent of the total sample size (n), the set sizes (s, t, etc.), and the selection of QC types (x, y, etc.), there will approximately an equal number of each set size; the types of QCs will be approximately evenly distributed across sets (a set has all of one type of QC).  For example for a 1000 sample project with 10% QCs, the total number of QCs will be 100. If the user chooses set sizes of 2 and 3, there will be 20 QC sets of size 2 and 20 QC sets of size 3. If the user chose QC type “37” and “38” then there will be 10 QC sets of size 2 and 10 QC sets of size 3 using “37” and 10 QC sets of size 2 and 10 QC sets of size 3 using “38”.

- For each QC sample, a fake ID will be chosen and assigned to that sample. The fake ID should have the same format as the study participant IDs in the project – hence the fake IDs are cohort specific. A list of possible fake IDs that do not overlap with any real participant IDs for each cohort will be a table in the database.

- QC samples will be assigned locations in boxes based on the set size(s) selected by the user. For example, if set size 2 and 3 are chosen, than an some QC samples will be included in the boxes as a set of 2 and others as a set of 3. These sets should be evenly distributed throughout the boxes within a lab code.

- A QC info file needs to be generated to report all the above information to the user. The QC info files will have four variables: Fake QC ID, Box Location, QC type, and labcode (sorted by labcode and then box locations).

FAKE            BOX           QC		LAB

QC ID            LOC           TYPE	CODE

-----------      ----------      -----------	----------

275205A      1(6,5)50      3700000	  1

1314484      1(6,6)51      3700000	  1

2347176      1(6,7)52      3700000	  1

3384074      2(2,1)10      3800000	  1

3446464      2(2,2)11      3800000	  1

1244101      2(2,3)12      3800000	  1

1597001      3(3,1)19      postqc1	  2

1705931      3(3,2)20      postqc1	  2

2396912      3(3,3)21      postqc1	  2

2386574      4(2,1)10      postqc2	  2

2757926      4(2,2)11      postqc2	  2

343136A      4(2,3)12      postqc2	  2

- A label file, containing the labels using the Fake IDs will be generated to match the labels made for the real study samples.

## Glossary of Terms and Definitions

| Term | Definition |
| --- | --- |
| Assay | Any type of measurement done on a biological sample |
| Translation Table | A oracle view that combines fields from a normalized structure of many fields to create one long but shallow table of permutations that can be used in the UI for user’s ease |
| Vial | A tube filled with biological specimen to be used in an assay request or as part of a pull list. |
| Pull List | General term for the functionality that generates the all the vial lists including freezer locations, used to pull biospecimens from freezers for a set of labcodes. |
| STAGES OF PULL LIST |
| Initialization | Entering the initial data for a pull list, choosing labcodes, setting parameters. Includes making decisions about appropriate parameter settings and changing those parameters to get the best list. Vials are temporarily reserved until the parameters are changed or approved. |
| Active (Activate) | Approved and finalized the pull list, all final parameter settings selected. Vials are reserved in the database. Pull list has been generated and blood lab personnel are actively pulling samples out of the freezer. Includes updating the freezer file when an incorrect tube is found, getting new locations of alternate vials, and noting what new subvials have been created. |
| Completed and Updated | After all vials have been pulled for a particular pull list, updates are made to the freezer file, including marking of original vials (and subvials) as removed. Also includes final update to the sub-sending list that notes which vials were sent for which assay requests. |
| TYPES OF LISTS IN PULL LIST FUNCTIONALITY |
| Original vial list | List of original vials, separated by vial type (i.e. vial size), with locations in the freezer and other information (see appendix) to be used for pulling vials for a Pull List. Generated by the pull list functionality. |
| Subvial list | List of subvials, separated by assay request, with locations in the freezer and other information (see appendix) to be used for pulling vials for a Pull List. Generated by the pull list functionality. |
| Index number | A sequential set of numbers, beginning at 1, assigned to each vial in a pull list overall all original and sub-vial lists. In other words, no number is repeated and this acts as a unique identifier within pull list. |
| Unique Vial ID | ID number assigned by oracle for every vial handled in a pull list or other project |
| Participant ID | The ID number assigned to a participant when he or she entered the study |
| Pull list ID | ID number assigned by oracle for each Pull List generated for a set of assay requests. |
| Sub-sending list | A list of all potential IDs/vials in an assay request. Notes what vial was sent for that individual, whether a vial was sent for that individual, and if not sent then why. |
| Original Sort List | A set of instructions, with list of original vials (separated by vial type/size), their locations in the Freezer Pull Box and their new expected locations in the Original Sort Box to prepare for aliquoting |
| Sending Sort List | A set of instructions, with a list of subvials (separately by labcode and source of subvial) showing their locations in a Freezer Pull OR an Aliquot Box, and their new locations in the Final Sending box |
| BOX CATEGORIES |
| Freezer Pull Box | A box that contains vials in freezer order, directly pulled from the freezer repository. Separated by vial type/size. |
| Original Sort Box | A box that contains original vials, separately by vial size, that have been sorted into case-control order. |
| Aliquot Ship Box | A box that contains subvials that are newly aliquoted from original vials in Original Sort Boxes (and are therefore in caco order) for labcodes being sent out to a lab. May include subvials from multiple lab codes. |
| Aliquot Store Box | A box that contains subvials that are newly aliquoted from original vials in Original Sort Boxes (and are therefore in caco order) going back in to permanent storage. |
| Final Sending Box | A box that contains subvials of a specified size for a particular Assay Request/Labcode that is sorted into case-control order, and has QCs |
| Permanent Storage box | A plastic 10X10 box in which subvials are placed to be entered into permanent storage. |
| QC sample | Quality control sample. This is a sample that is ultimately used to assess the quality of a particular assay. |
| QC Pool | A large pool of sample, usually from several individuals, that is assigned a name (and usually a cohort) that will be used to create a QC sample. |
| Fake QC ID | An ID that looks like a real participant ID given to a particular QC sample. This ID blinds the laboratory to the fact that a particular sample is a QC. |

## Contacts

| Name | Job Title/ Position/ Role | Signoff | Telephone | E-mail |
| --- | --- | --- | --- | --- |
| Shelley Tworoger | Project Lead |  | 5-2087 | nhsst@channing.harvard.edu |
| Mark Magid | Project Development |  | 5-0074 | mgmagi@hotmail.com |
| Rakesh Kukalta | Project Development |  | 5-2575 | rkukatla@hsph.harvard.edu |
| Helena Judge Ellis | Lab Manager End User |  | 617-732-5781 | nhhje@channing.harvard.edu |
| Jeanne Sparrow | Data Manager |  | 5-4220 | nhjms@channing.harvard.edu |

### List of comments of final sign off

# Functional Overview

## Business Objectives 
(See separate, expanded flow chart for sorting)

## .a Functional Diagram

Enter Assay Request		         Enter Assay Request		Enter Assay Request

*if replace/delete participants

**if need to change parameters

Conduct tally to find cases/controls

that may need to be removed,

update sending lists.

Create Pull List Request

*	     **

See Intermediate Results    (Put “hold” on potential vials)

Finalize Pull List

Generate Freezer Pull List(s)

***if a vial is                                          Generate Pull Box Labels

missing in

freezer, pull                                       (Blood Lab RA Pulls Tubes***)

alternate vial if

one exists, if                     Generate Sub-Sending List by Assay Request

not remove from                     to note which ID’s will actually be set.

list + any matched

controls if a case                          Sorting Lists Information Defined (e.g. Box size, aliquot   volumes)

Sort Lists Generated

-Aliquot sort list, separated                                                   Final sort list, separate by assay

by original vial volume                                                          request , notes where subvials are

-Generates labels for newly                                                 placed into sending boxes.  Make

aliquoted tubes                                                                     QC labels

Actual aliquots recorded             Add QCS w/ labels that have fake ID’s

in healthtrack                                                                                          Put subvials into

sending box

New aliquots into 					Computer generates a box list/ASCII file

sending box                                              Double check, give sub-sending list to programmer

## 2.2.b Functional Diagram in more detail

Sorting

## Design Mock-up

## Requirements

### Primary

Below are the fields that should be included on the QC Request user-interface (which will reside in the Sort Functionality):

Percent QC	- User entered number that is the percent of the total number of samples in a project.

Set size of QCs	- Multiple selection simple table with choices of 1 through 6.

Type of QC 	- Multiple selection simple table (Use all columns describing QC pool).

## Non-Functional Requiremets

Research Assistants and Lab Technicians are not typically technically advanced.  The user interface of this and any part of Htrack needs to accommodate for their skill set and ensure usability by making the product as easy to use for non-technical people as possible.

## Outstanding Issues

None.

# Text boxes

“Freezer Pull Box”
Subvials

“Freezer Pull Box”
Originals

### “Original Sort List”
instructions to go from pulled order to aliquot order

### “Sending Sort List”

Instructions to go from aliquot order (originals) or from pulled order (subs) to sending order

“Aliquot  Store Box”
Subvials, aliquotted from originals for permanent storage. Requires Aliquot Sheet

“Aliquot  Send Box”
Subvials, aliquotted from originals for lab codes. Requires Aliquot Sheet

“Final Sending Box”
All subs to send out sorted into  
Final Sending Boxes, with spaces for QCS

Storing

“Permanent Storage Box”
Subs not sent out, put in new locations, recorded in Htrack

“Original Sort Box”
Originals sorted into aliquot order, (CaCo order) within vial type, 
before aliquotting

QC vials added to 
Final Sending Boxes

Double check:

- vials against boxlist

- ID list (ascii file) against boxlist