| Equipment and Supplies Checklist for Sampling the Westbay MP System Tubing for vacuum pump Monitoring equipment (turbidity, pH or P [if called for], alkalinity kit, conductivity, dissolved oxygen, and temperature) MOSDAX sampler probe – Model 2532 MOSDAX handheld controller – Model 2525 Four Non-vented sample bottles – Model 2420 Sample containers and preservatives Coolers and Blue Ice (or equivalent) Plastic sheeting Filters (if required) Daily Activity Log forms Chain-of-Custody/Request-for-Analysis forms Sample Collection Log forms Variance Log Custody seals Sample labels Any PPE listed or required in the SSHASP Vacuum pump w/ backup hand pump Cables for hook-up to 12V battery Well-Specific Attachments to SOP Sampling trailer w/ winch and generator Graduated beaker for field parameter collection Field logbook to record all field activities Ice chests and ice for sample storage Alconox and De-ionized water for decontamination |
| --- |
| SOP-06.32, R2 | Los Alamos National Laboratory RRES-RS/ECR |