## Sheet1
E. Fabrizio 5/15/07 | revised date 5/25/07 |  | file: energy star 2
Eemax Engineering
4390 kwH consumption at 100% eff
kwh cost value | $/Kwh | 0.104 | < - enter value for kWh rate
58 inlet - 135 outlet 64.3 gallons per day, 365 days per year
64.3 gallons per day x 365 days/yr = 23,469 gallons per year
|  | ------------ electric heater type --------------- |  |  | using average electrical data/rates
|  | standard | high-perfoming | instantaneous | DOE report
|  | tank | tank | tankless
energy factor |  | 0.904 | 0.95 | 0.99 | 0.7 | 0.75 | 0.8 | 0.85
annual consumption | kWh/yr | 4857 | 4622 | 4434 | 6271.4286 | 5853.3333 | 5487.5 | 5164.7059
annual savings | kWh/yr | 0 | 235 | 423 | -1414.4286 | -996.3333 | -630.5 | -307.7059
annual cost or operation | $/yr | 505.128 | 480.688 | 461.136 | 652.2286 | 608.7467 | 570.7 | 537.1294
annual savings | $/yr | 0 | 24.44 | 43.992 | -147.1006 | -103.6187 | -65.572 | -32.0014
| kWh/gal | 0.20695 | 0.19694 | 0.18893 | 0.26722 | 0.24941 | 0.23382 | 0.22007
study 1 (intermittant usage) |  |  |  |  | 2007 DOE criteria
Lake Hope |  | gallons | kwh | kwh/gal | kwh cost | gal/yr | annual $
Cabins | conventional | 2370 | 688 | 0.2903 | 0.104 | 23469 | 708.5459
| instantaneous | 2470 | 408 | 0.16518 | 0.104 | 23469 | 403.1727
| standby loss |  |  | 43.1% |  |  | 305.3732 | annual savings
study 2 (everyday usage) |  |  |  |  | 2007 DOE criteria
Rocky Hill, CT. |  | gallons | kwh | kwh/gal | kwh cost | gal/yr | annual $
using 14% given, and | conventional | 23470 | 4857 | 0.20695 | 0.104 | 23469 | 505.1065
standard volume and rate | instantaneous | 23470 | 4177 | 0.17797 | 0.104 | 23469 | 434.3895
| standby loss |  |  | 14% |  |  | 70.717 | annual savings
other notes
1 kW is a quantity of energy
1 kW = 3414 BTU/hr
1 Therm = 100,000 BTU
29.29 kW x 3414 BTU/hr = 100,000 BTU/hr = 1 Therm/hr
cost = $207/150 therm = $1.38/therm at 100%eff