32.	DELIVERABLE REQUIREMENTS

The Contractor shall perform and/or deliver the following:

- Services and materials necessary for the Rehabilitation of Building F-10, North Wing, at the Goddard Space Flight Center, Wallops Flight Facility, Wallops Island, VA as required under this fixed price contract.

- Original and one copy of 100% Performance Bond (for all contracts in excess of $25,000.00) within 15 days after Notice of Award in accordance with Paragraph 39--Contractual Documents.

- Original and one copy of 50% Payment Bond (for all contracts in excess of $25,000.00) within 15 days after Notice of Award in accordance with Paragraph 39--Contractual Documents.

- Insurance certificates (two copies) (for prime and all subcontractors) in accordance with Paragraph 39--Contractual Documents and 52.228-5--Insurance-Work on a Government Installation (Jan 1997).

- Subcontractor’s Statements 39--Contractual Documents.

- Contractors Daily Reports in accordance with Paragraph 56--Contractor’s Daily Reports.

- Payrolls (two copies) for prime and all subcontractors in accordance with Clause 52.222-8--Payrolls and Basic Records (FEB 1988).

- Price breakdown in accordance with Clause 52.232-5--Payments Under Fixed-Price Construction Contracts (MAY 1997).

- Six copies of Progress Schedule in accordance with Clause 52.236-15--Schedules for Construction Contracts (APR 1984).

- Contractor’s Release required before final payment can be made.  See Clause 52.232-5--Payments Under Fixed-Price Construction Contracts (MAY 1997).

- The Contractor shall furnish all submittals in accordance with construction Specifications S-51605 Section 01330 (Attachment 2).

- Any other reports as mandated by the clauses in this contract, including those mandated by state and federal laws and regulations.

- To the extent any other deliverables are required by this contract, but are not specifically referenced under this clause, such requirements shall be considered as included hereunder by reference.

33.	SCOPE AND DESCRIPTION (GSFC 52.211-91)(FEB 1991)

The Contractor shall provide all services and materials necessary for the Rehabilitation of Building F-10, North Wing, at the National Aeronautics and Space Administration, Goddard Space Flight Center, Wallops Flight Facility, Wallops Island, Virginia 23337 in a complete and satisfactory manner.

All work is to be performed on the Mainbase, located at Wallops Flight Facility, Wallops Island, VA.

The scope of work includes:  Replacement of deteriorated interior finishes in Building F-10, North Wing, 1st and 2nd floors, modifications to HVAC system and exterior repairs and other work as indicated on the drawings or otherwise required by the specifications.

The Basic Bid shall be for all the work as shown on NASA Specifications S-51605 dated January 11, 2002, and Drawings No. 13449 through 13483.

The work shall be complete.  It includes furnishing, as applicable or may be required, all Contractor's plant, equipment,  safety devices, labor, tools, materials, supplies, and services; and performing all operations necessary for or incidental to a complete project in conformance with NASA Specifications Number S-51605 dated January 11, 2002 (Attachment 2) and NASA Drawings No. 13449 through 13483 (34 sheets total) (Attachment 3).

34. FIRM-FIXED PRICE (1852.216-78) (DEC 1988)

The total firm-fixed price of this contract is $TBD_______________.

35. SPECIFICATIONS

See Attachment 2, NASA Specification No.S-51605, January 11, 2002.  (Available in paper copy only)

36.	COMMENCEMENT, PROSECUTION, AND COMPLETION OF WORK(52.211-10)      	(APR 1984)

The Contractor shall be required to (a) commence work under this contract within 15 calendar days after the date the Contractor receives the notice to proceed, (b) prosecute the work diligently, and (c) complete the entire work ready for use not later than 270 calendar days after the notice to proceed.  The time stated for performance shall include final cleanup of the premises.

37.	LIQUIDATED DAMAGES--CONSTRUCTION (52.211-12)(SEP 2000)

(a) If the Contractor fails to complete the work within the time specified in the contract, the Contractor shall pay liquidated damages to the Government in the amount of $180.00 for each calendar day of delay until the work is completed or accepted.

(b) If the Government terminates the Contractor's right to proceed, liquidated damages will continue to accrue until the work is completed.  These liquidated damages are in addition to excess costs of repurchase under the Termination clause.

38.	QUALITY CONTROL TESTING SUPPLIED BY THE CONTRACTOR

a.	The Contractor shall direct their testing service subcontractor to provide to the Contracting Officer's Technical Representative (COTR) or Project Inspector one copy of each test result for all tests taken at the construction site prior to close of business of the day the tests are run.  The Contractor shall direct their testing service representative to orally inform the COTR or Project Inspector within two hours of the test if a test result indicated failure in meeting the specified requirement.

b.	The Contractor shall ensure that their testing service subcontractor provides directly to the COTR or Project Inspector all results of lab run tests and mix designs within five working days of running the test(s).  This requirement is in addition to the Contractor's requirement to submit all test reports or mix designs.  Also, should any lab run test or design mix fail to meet the contract specifications, the Contractor shall require their testing service to notify the COTR or Project Inspector of that failure within 24 hours of the test or mix design.

c.	If the COTR or Project Inspector suspects that field test results, lab test results, or mix design results are inaccurate, the Contracting Officer may, without limiting or waiving any other rights available to the Government under this contract, or under any applicable statute or regulation, in accordance with Clause 52.242-14 Suspension of Work (APR 1984), suspend work in those areas affected by the questionable test results or mix design.

39.	CONTRACTUAL DOCUMENTS

The Contractor shall submit the following documents to the Government within fifteen days after date of Notice of Award:

a.  Original and one copy of Performance Bond (for all contracts in excess of $25,000.00).

- Original and one copy of Payment Bond (for all contracts in excess of $25,000.00).

- Insurance certificates (for prime and all subcontractors).

- Subcontractors' Statements and Acknowledgments (may be           submitted on Standard Form 1413).

No work shall begin on this contract until the above documents are received and notice given in writing by the Contracting Officer to proceed.

Failure by the Contractor to submit all of the required submittals may be cause for termination of the contract in accordance with FAR Clause 52.249-10, Default-(Fixed Price Construction) (APR 1984).

40.	SUBMISSION OF REQUESTS FOR PROGRESS PAYMENT--CONSTRUCTION AND ARCHITECT ENGINEERING CONTRACTS

The Contractor shall submit requests for progress payments to the Wallops Fiscal Operations Section, Code 157.W, NASA/Goddard Space Flight Center, Wallops Flight Facility, Building E-105, Wallops

Island, VA 23337.  Invoices shall be prepared in quadruplicate and shall, in addition to the requirements of FAR 52.232-5, contain the following information: Contract and order number (if any), item numbers, description of supplies or services, sizes, quantities, unit prices and extended totals.

All payment requests must be accompanied by the progress schedule properly annotated to show the work completed to date.  Requests for progress payments must be accompanied by a brief report showing the percentage of work completed for each work element during the period and the cumulative percentage of work completed to date.  In addition, the Contractor shall submit a narrative

description of work accomplished and any known or foreseeable problems that have or may result in a delay in performance.  If progress payments are not to be requested, the report called for herein shall be submitted monthly.  If payment is being requested for materials delivered to the site but not installed, copies of invoices/delivery tickets for verification of quantities of

materials must accompany the payment request.  Invoices submitted without this information will be returned.

The payment due date for prompt payment purposes will be the 14th day after Government approval of Contractor estimates of work or services accomplished.  Delayed payment of progress payments for Fixed-Price Construction contracts and Fixed-Price Architect-Engineer contracts will result in payment of an interest penalty per the Prompt Payment Clause, FAR 52.232-27.

41.  PRIORITIES, ALLOCATIONS AND ALLOTMENTS

The DO priorities and allocations rating for this contract is C2 Construction.

42.  PRICE BREAKDOWN

Promptly upon award of contract, the Contractor shall submit to the Contracting Officer a price breakdown to include a projected construction schedule, a schedule of price values and a list of critical work sequences necessary for proper and timely execution of the work in accordance with Clause 52.232-5--Payment under Fixed Price Construction (MAY 1997).  Where several buildings and/or structures are involved, each shall be shown separately.  This breakdown shall be in such detail as to make possible a quick check of estimates for partial payments, and shall separate material prices from labor prices for each portion of the work.

- GOVERNMENT PREMISES--COMPLIANCE WITH PROCEDURES (GSFC 52.211-95)(NOV 1999)

a) Compliance with procedures.  While on Government premises, the Contractor shall comply with established requirements governing the conduct of personnel and the operation of the facility.  These requirements are set forth in NASA-wide or local  installation management instructions, handbooks, or announcements.  The following cover many of the requirements that must be met by contractors utilizing GSFC facilities:

GMI 1040.5     	GSFC Emergency Management Program

GMI 1040.6		GSFC Emergency Management Plan

GMI 1152.9		Facilities Coordination Committee

GHB 1600.1      	Security Manual

GMI 1700.2      	GSFC Health and Safety Program

GMI 1772.1       	Center Smoking Policy

GMI 1780.1		GSFC Confined Space Policy

GHB 1790.1		Chemical Hygiene Plan

GHB 2540.2     	Administrative Communications, Facilities, Equipment and Services

GHB 8800.2      	GSFC Environmental Handbook

GMI 8840.1		Center Paper Recycling Program

Center Announcement No. 90-59--Contractor Business Use of Official Mail and of the Mail Services Center

Copies of the current issuances may be obtained at

<http://gdms.gsfc.nasa.gov/gdms/plsql/menu_guest> or from the Contracting  Officer.  The above list may be modified by the Contracting Officer to include additional issuances pertaining to the  conduct of personnel and the operation of the facility.

(b) Telephone usage certification.  If the installation provided  property and services listed in NASA FAR Supplement clause 1852.245-77 includes the use of telephones, the Contractor shall  provide an annual certification that all such usage was in  accordance with GHB 2540.2, "GSFC Administrative Communications Facilities, Equipment and Services".  This certification shall be made in January of each year covering  the preceding calendar year and at the conclusion of the  Contractor's efforts onsite at the GSFC.  The certification shall be  submitted to the Contracting Officer with a copy to the Customer Interface Branch, Code 294.

44. LIMITATIONS ON SUBCONTRACTING (52.219-14) (DEC 1996)

(a) This clause does not apply to the unrestricted portion of a partial set-aside.

(b) By submission of an offer and execution of a contract, the Offeror/Contractor agrees that in performance of the contract in the case of a contract for--

(1)  Services (except construction).  At least 50 percent of the cost of contract performance incurred for personnel shall be expended for employees for the concern.

(2)  Supplies (other than procurement from a nonmanufacturer of such supplies).  The concern shall perform work for at least 50 percent of the cost of manufacturing the supplies, not including the cost of materials.

(3)  General construction.  The concern will perform at least 15 percent of the cost of the contract, not including the cost of materials, with its own employees.

(4)  Construction by special trade contractors.  The concern will perform at least 25 percent of the cost of the contract, not including the cost of materials, with its own employees.

45. SAFETY AND HEALTH--ADDITIONAL REQUIREMENTS (GSFC 52.223-91) (SEP 2000)

a.  Purpose.  This clause establishes certain additional safety and health requirements as contemplated by NASA FAR Supplement (NFS) clause 1852.223-70, "Safety and Health", of this contract.

b.  Other safety and health requirements. (1)In addition to compliance with all Federal, state, and local laws as required by paragraph (a)of NFS clause 18-52.223-70, the Contractor shall comply with the following:  None

(2)The immediate notification and prompt reporting required by paragraph (c) of clause 1852.223-70 shall be to the to the Goddard Space Flight Center Safety and Environmental Branch, Code 205.2, and to the Contracting Officer.  This should be a verbal notification and confirmed by FAX or E-Mail. This notification is also required for any unsafe or environmentally hazardous condition associated with Government-owned property that is provided or made available for the performance of the contract.

(3) The acceptable limits referred to in paragraph (c) of clause 1852.223-70 are established as provided by Code 205.2.

c.  Safety and health plan.

The Contractor shall submit a Safety and Health Plan to the Contracting Officer within 10 days after the effective date of this contract.  Upon approval by the Contracting Officer, the Plan will become part of this contract.  The Contractor shall implement the safety and health requirements of this contract in accordance with the Plan.

46. ACCEPTANCE--SINGLE LOCATION (GSFC 52.246-92) (SEPT 1989)

The Contracting Officer or authorized representative will accomplish  acceptance at Wallops Island, Virginia.  For the purpose of this  clause, the Contracting Officer's Technical Representative named in this contract is the authorized representative.  The Contracting Officer reserves the right to unilaterally designate a different Government agent as the authorized representative.  The Contractor will be notified by a written notice or by a copy of the delegation of authority if different representative is designated.

If this is a fixed price type contract, acceptance shall be deemed  to have occurred constructively--for the sole purpose of computing  an interest penalty that might be due the Contractor under the  Prompt Payment Act--on the 7th working day after the Contractor has  delivered the supplies or services in accordance with the terms and  conditions of the contract.  In the event that actual acceptance  occurs within the constructive acceptance

period, the determination  of an interest penalty shall be based on the date of the actual acceptance.

47. INSPECTION SYSTEM RECORDS (GSFC 52.246-102) (OCT 1988)

The Contractor shall maintain records evidencing inspections in accordance with the Inspection clause of this contract for 3 years after delivery of all items and/or completion of all services called for by the contract.

48. EXPORT LICENSES (1852.225-70) (FEB 2000)

(a) The Contractor shall comply with all U.S. export control laws and regulations, including the International Traffic in Arms Regulations (ITAR), 22 CFR Parts 120 through 130, and the Export

Administration Regulations (EAR), 15 CFR Parts 730 through 799, in the performance of this contract.  In the absence of available license exemptions/exceptions, the Contractor shall be

responsible for obtaining the appropriate licenses or other approvals, if required, for exports of hardware, technical data, and software, or for the provision of technical assistance.

(b) The Contractor shall be responsible for obtaining export licenses, if required, before utilizing foreign persons in the performance of this contract, including instances where the work is to be performed on-site at any Government installation, where the foreign person will have access to export-controlled technical data or software.

(c) The Contractor shall be responsible for all regulatory record keeping requirements associated with the use of licenses and license exemptions/exceptions.

(d) The Contractor shall be responsible for ensuring that the provisions of this clause apply to its subcontractors.

49.  ESTIMATE OF PERCENTAGE OF RECOVERED MATERIAL CONTENT FOR EPA-DESIGNATED PRODUCTS (52.223-9) (AUG 2000)--ALTERNATE I (AUG 2000)

(a) Definitions.  As used in this clause--

"Postconsumer material" means a material or finished product that has served its intended use and has been discarded for disposal or recovery, having completed its life as a consumer item.  Postconsumer material is a part of the broader category of "recovered material".

"Recovered material" means waste materials and by-products recovered or diverted from solid waste, but the term does not include those materials and by-products generated from, and commonly used within, an original manufacturing process.

(b) The Contractor shall execute the following certification required by the Resource Conservation and Recovery Act of 1976 (42 U.S.C. 6962(i)(2)(C)):

CERTIFICATION

I, ____________ (name of certifier), am an officer or employee responsible for the performance of this contract and hereby certify that the following percentage of recovered material content for EPA Designated products met the applicable contract specifications.

_____________________________________________________

[Signature of the Officer or Employee]

_____________________________________________________

[Typed Name of the Officer or Employee]

_____________________________________________________

[Title]

_____________________________________________________

[Name of Company, Firm, or Organization]

_____________________________________________________

[Date]

(End of certification)

(c) The Contractor, on completion of this contract, shall--

(1) Estimate the percentage of the total recovered material used in the contract performance, including, if applicable, the percentage of postconsumer material content; and

(2) Submit this estimate to the NASA, Goddard Space Flight Center, Greenbelt, MD 20771, Attn: Code 205, Affirmative Procurement Manager.

50.  BUY AMERICAN ACT--BALANCE OF PAYMENTS PROGRAM--CONSTRUCTION

MATERIALS (52.225-9)(FEB 2002)

(a) Definitions. As used in this clause--

"Component" means an article, material, or supply incorporated directly into a construction material.

"Construction material" means an article, material, or supply brought to the construction site by the Contractor or a subcontractor for incorporation into the building or work.  The term also includes an item brought to the site pre-assembled from articles, materials, or supplies.  However, emergency life safety systems, such as emergency lighting, fire alarm, and audio evacuation systems, that are discrete systems incorporated into a public building or work and that are produced as complete systems, are evaluated as a single and distinct construction material regardless of when or how the individual parts or components of those systems are delivered to the construction site.  Materials purchased directly by the Government are supplies, not construction material.

"Cost of components" means--

(1) For components purchased by the Contractor, the acquisition cost, including transportation costs to the place of incorporation into the construction material (whether or not such costs are paid to a domestic firm), and any applicable duty (whether or not a duty-free entry certificate is issued); or

(2) For components manufactured by the Contractor, all costs associated with the manufacture of the component, including transportation costs as described in paragraph (1) of this definition, plus allocable overhead costs, but excluding profit.  Cost of components does not include any costs associated with the manufacture of the end product.

Domestic construction material" means--

(1) An unmanufactured construction material mined or produced in the United States; or

(2) A construction material manufactured in the United States, if the cost of its components mined, produced, or manufactured in the United States exceeds 50 percent of the cost of all its components.  Components of foreign origin of the same class or kind for which nonavailability determinations have been made are treated as domestic.

"Foreign construction material" means a construction material other than a domestic construction material.

"United States" means the 50 States and the District of Columbia, U.S. territories and possessions, Puerto Rico, the Northern Mariana Islands, and any other place subject to U.S. jurisdiction, but does not include leased bases.

(b) Domestic preference.  (1) This clause implements the Buy American Act (41 U.S.C. 10a - 10d) and the Balance of Payments Program by providing a preference for domestic construction material. The Contractor shall use only domestic construction material in performing this contract, except as provided in paragraphs (b)(2) and (b)(3) of this clause.

(2) This requirement does not apply to the construction material or components listed by the Government as follows:

_None____________________________________________________________

(3) The Contracting Officer may add other foreign construction material to the list in paragraph (b)(2) of this clause if the Government determines that--

(i) The cost of domestic construction material would be unreasonable.  The cost of a particular domestic construction material subject to the requirements of the Buy American Act is unreasonable when the cost of such material exceeds the cost of foreign material by more than 6 percent. For determination of unreasonable cost under the Balance of Payments Program, the Contracting Officer will use a factor of 50 percent;

(ii) The application of the restriction of the Buy American Act or Balance of Payments Program to a particular construction material would be impracticable or inconsistent with the public interest; or

(iii) The construction material is not mined, produced, or manufactured in the United States in sufficient and reasonably available commercial quantities of a satisfactory quality.

(c) Request for determination of inapplicability of the Buy American Act or Balance of Payments Program. (1)(i) Any Contractor request to use foreign construction material in

accordance with paragraph (b)(3) of this clause shall include adequate information for Government evaluation of the request, including--

(A) A description of the foreign and domestic construction materials;

(B) Unit of measure;

(C) Quantity;

(D) Price;

(E) Time of delivery or availability;

(F) Location of the construction project;

(G) Name and address of the proposed supplier; and

(H) A detailed justification of the reason for use of foreign construction materials cited in accordance with paragraph (b)(3) of this clause.

(ii) A request based on unreasonable cost shall include a reasonable survey of the market and a completed price comparison table in the format in paragraph (d) of this clause.

(iii) The price of construction material shall include all delivery costs to the construction site and any applicable duty (whether or not a duty-free certificate may be issued).

(iv) Any Contractor request for a determination submitted after contract award shall explain why the Contractor could not reasonably foresee the need for such determination and could not have requested the determination before contract award.  If the Contractor does not submit a satisfactory explanation, the Contracting Officer need not make a determination.

(2) If the Government determines after contract award that an exception to the Buy American Act or Balance of Payments Program applies and the Contracting Officer and the Contractor negotiate adequate consideration, the Contracting Officer will modify the contract to allow use of the foreign construction material.  However, when the basis for the exception is the unreasonable price of a domestic construction material, adequate consideration is not less than the differential established in paragraph (b)(3)(i) of this clause.

(3) Unless the Government determines that an exception to the Buy American Act or Balance of Payments Program applies, use of foreign construction material is noncompliant with the Buy American Act or Balance of Payments Program.

(d) Data. To permit evaluation of requests under paragraph (c) of this clause based on unreasonable cost, the Contractor shall include the following information and any applicable supporting data based on the survey of suppliers:

FOREIGN AND DOMESTIC CONSTRUCTION MATERIALS PRICE COMPARISON Construction Material Unit of Price Description Measure Quantity (Dollars)* Item 1: Foreign construction material ________ ________ ________ Domestic construction material ________ ________ ________ Item 2: Foreign construction material ________ ________ ________ Domestic construction material ________ ________ ________

[List name, address, telephone number, and contact for suppliers surveyed.  Attach copy of response; if oral, attach summary.]

[Include other applicable supporting information.]

[* Include all delivery costs to the construction site and any applicable duty (whether or not a duty-free entry certificate is issued).]

(End of clause)

51. USE OF RURAL AREA SMALL BUSINESSES (1852.219-74) (SEP 1990)

(a) Definitions.

"Rural area" means any county with a population of fewer than twenty thousand individuals.

"Small business concern," as used in this clause, means a concern, including its affiliates, that is independently owned and operated, not dominant in the field of operation in which it is bidding under this contract, and qualified as a small business under the criteria and size standards in 13 CFR 121.

(b) NASA prime and subcontractors are encouraged to use their best efforts to award subcontracts to small business concerns located in rural areas.

(c) Contractors acting in good faith may rely on written representations by their subcontractors regarding their status as small business concerns located in rural areas.

(d) The Contractor agrees to insert the provisions of this clause, including this paragraph (d), in all subcontracts hereunder that offer subcontracting possibilities.

51A. ESTIMATE OF PERCENTAGE OF RECOVERED MATERIAL CONTENT FOR EPA-DESIGNATED PRODUCTS (52.223-9) (AUG 2000)

(a) Definitions.  As used in this clause--

"Postconsumer material" means a material or finished product that has served its intended use and has been discarded for disposal or recovery, having completed its life as a consumer item.  Postconsumer material is a part of the broader category of "recovered material".

"Recovered material" means waste materials and by-products recovered or diverted from solid waste, but the term does not include those materials and by-products generated from, and commonly used within, an original manufacturing process.

(b) The Contractor, on completion of this contract, shall--

(1) Estimate the percentage of the total recovered material used in the contract performance, including, if applicable, the percentage of postconsumer material content; and

(2) Submit this estimate to the NASA, Goddard Space Flight Center, Greenbelt, MD 20771, Attn: Code 205, Affirmative Procurement Manager.

(End of clause)

52. CLAUSES INCORPORATED BY REFERENCE (52.252-2) (FEB 1998)

A.  This contract incorporates one or more clauses by reference, with the same force and effect as if they were given in full text.  Upon request, the Contracting Officer will make their full text available.

NOTICE:  The following clauses are hereby incorporated by

reference.

CLAUSE NO.				TITLE

52.202-1		DEFINITIONS (DEC 2001)--ALTERNATE I (MAY 2001)

52.203-3		GRATUITIES (APR 1984)

52.203-5		COVENANT AGAINST CONTINGENT FEES (APR 1984)

52.203-6		RESTRICTIONS ON SUBCONTRACTOR SALES TO THE

GOVERNMENT (JUL 1995)

    - ANTI-KICKBACK PROCEDURES (JUL 1995)

    - CANCELLATION, RESCISSION, AND RECOVERY OF FUNDS

FOR ILLEGAL OR IMPROPER ACTIVITY (JAN 1997)

52.203-10		PRICE OR FEE ADJUSTMENT FOR ILLEGAL OR IMPROPER     ACTIVITY (JAN 1997)

52.203-12		LIMITATION ON PAYMENTS TO INFLUENCE CERTAIN FEDERAL TRANSACTIONS (JUN 1997)

52.204-2       SECURITY REQUIREMENTS  (AUG 1996) ALTERNATE II (APR 1984)

52.204-4		PRINTING/COPYING DOUBLE-SIDED ON RECYCLED PAPER (AUG 2000)

52.209-6		PROTECTING THE GOVERNMENT'S INTEREST WHEN

SUBCONTRACTING WITH CONTRACTORS DEBARRED,

SUSPENDED, OR PROPOSED FOR DEBARMENT (JUL 1995)

    - DEFENSE PRIORITY AND ALLOCATIONS REQUIREMENTS (SEP 	1990)

    - AUDIT AND RECORDS--SEALED BIDDING (OCT 1997)

    - PRICE REDUCTION FOR DEFECTIVE COST OF PRICING DATA--MODIFICATIONS--SEALED BIDDING (OCT 1997)

    - SUBCONTRACTOR COST OR PRICING DATA--MODIFICATIONS --SEALED BIDDING (OCT 1997)

52.219-6       NOTICE OF TOTAL SMALL BUSINESS SET ASIDE(JUL 1996)

    - UTILIZATION OF SMALL BUSINESS CONCERNS (OCT 2000)

52.222-3		CONVICT LABOR (AUG 1996)

52.222-4		CONTRACT WORK HOURS AND SAFETY STANDARDS ACT - 					OVERTIME COMPENSATION (SEP 2000)

52.222-6		DAVIS BACON ACT (FEB 1995)

52.222-7		WITHHOLDING OF FUNDS (FEB 1988)

52.222-8		PAYROLLS AND BASIC RECORDS (FEB 1988)

52.222-9 		APPRENTICES AND TRAINEES (FEB 1988)

52.222-10		COMPLIANCE WITH COPELAND ACT REQUIREMENTS (FEB 					1988)

52.222-11		SUBCONTRACTS (LABOR STANDARDS) (FEB 1988)

52.222-12	    CONTRACT TERMINATION--DEBARMENT (FEB 1988)

52.222-13		COMPLIANCE WITH DAVIS-BACON AND RELATED ACT 				REGULATIONS (FEB 1988)

52-222-14		DISPUTES CONCERNING LABOR STANDARDS (FEB 1988)

    - CERTIFICATION OF ELIGIBILITY (FEB 1988)

52.222-21		PROHIBITION OF SEGREGATED FACILITIES (FEB 1999)

52.222-26		EQUAL OPPORTUNITY (FEB 1999)

52.222-27		AFFIRMATIVE ACTION COMPLIANCE REQUIREMENTS

FOR CONSTRUCTION (FEB 1999)

52.222-35	EQUAL OPPORTUNITY FOR SPECIAL DISABLED VETERANS, VETERANS OF THE VIETNAM ERA, AND OTHER ELIGIBLE VETERANS (DEC 2001)

52.222-36	AFFIRMATIVE ACTION FOR WORKERS WITH DISABILITIES (JUN 1998)

52.222-37	EMPLOYMENT REPORTS ON SPECIAL DISABLED VETERANS, VETERANS OF THE VIETNAM ERA, AND OTHER ELIGIBLE VETERANS (DEC 2001)

52.223-3		HAZARDOUS MATERIAL IDENTIFICATION AND MATERIAL

SAFETY DATA (JAN 1997) ALTERNATE I (JUL 1995)

52.223-4       RECOVERED MATERIAL CERTIFICATION (OCT 1997)

    - POLLUTION PREVENTION AND RIGHT-TO-KNOW INFORMATION

(APR 1998)

    - DRUG-FREE WORKPLACE (MAY 2001)

    - TOXIC CHEMICAL RELEASE REPORTING (OCT 2000)

52.225-13	RESTRICTIONS ON CERTAIN FOREIGN PURCHASES (JUL 2000)

52.227-1		AUTHORIZATION AND CONSENT (JUL 1995)

52.227-2		NOTICE AND ASSISTANCE REGARDING PATENT AND COPY-

RIGHT INFRINGEMENT (AUG 1996)

52.227-4	PATENT INDEMNITY--CONSTRUCTION CONTRACTS (APR 1984)

52.228-1		BID GUARANTEE (SEP 1996)

52.228-2		ADDITIONAL BOND SECURITY (OCT 1997)

52.228-5		INSURANCE--WORK ON A GOVERNMENT INSTALLATION           			(JAN 1997)

    - PLEDGES OF ASSETS (FEB 1992)

    - PROSPECTIVE SUBCONTRACTOR REQUESTS FOR BONDS (OCT 	1995)

    - IRREVOCABLE LETTER OF CREDIT (OCT 1997)

    - PERFORMANCE AND PAYMENT BONDS -CONSTRUCTION (JUL

2000)

52.229-3		FEDERAL, STATE, AND LOCAL TAXES (JAN 1991)

52.229-5		TAXES--CONTRACTS PERFORMED IN U.S. POSSESSIONS

OR PUERTO RICO (APR 1984)

52.232-5    	PAYMENTS UNDER FIXED-PRICE CONSTRUCTION CONTRACTS 			(MAY 1997)

    - INTEREST (JUN 1996)

52.232-23		ASSIGNMENT OF CLAIMS (JAN 1986)

52.232-27		PROMPT PAYMENT FOR CONSTRUCTION CONTRACTS

(FEB 2002) (b)(2), second sentence, shall have

a 30 day period for any financing payments

    - PAYMENT BY ELECTRONIC FUNDS TRANSFER--CENTRAL CONTRACTOR REGISTRATION

(MAY 1999)

52.233-1		DISPUTES (DEC 1998)--ALTERNATE I (DEC 1991)

52.233-3		PROTEST AFTER AWARD (AUG 1996)

52.236-2 		DIFFERING SITE CONDITIONS (APR 1984)

    - SITE INVESTIGATION AND CONDITIONS AFFECTING THE 		WORK (APR 1984)

52.236-5		MATERIAL AND WORKMANSHIP (APR 1984)

52.236-6		SUPERINTENDENCE BY THE CONTRACTOR (APR 1984)

52.236-7		PERMITS AND RESPONSIBILITIES (NOV 1991)

52.236-8		OTHER CONTRACTS (APR 1984)

52.236-9		PROTECTION OF EXISTING VEGETATION, STRUCTURES,

EQUIPMENT, UTILITIES, AND IMPROVEMENTS (APR 1984)

52.236-10		OPERATIONS AND STORAGE AREAS (APR 1984)

52.236-11		USE AND POSSESSION PRIOR TO COMPLETION (APR 1984)

52.236-12		CLEANING UP (APR 1984)

52.236-13		ACCIDENT PREVENTION (NOV 1991)

52.236-14		AVAILABILITY AND USE OF UTILITY SERVICES

(APR 1984)

52.236-15		SCHEDULES FOR CONSTRUCTION CONTRACTS (APR 1984)

52.236-17		LAYOUT OF WORK (APR 1984)

52.236-21		SPECIFICATIONS AND DRAWINGS FOR CONSTRUCTION

(FEB 1997)--ALTERNATE I (APR 1984)

52.236-26		PRECONSTRUCTION CONFERENCE (FEB 1995)

52.242-13		BANKRUPTCY (JUL 1995)

52.242-14		SUSPENSION OF WORK (APR 1984)

    - CHANGES (AUG 1987)

    - SUBCONTRACTS FOR COMMERCIAL ITEMS (DEC 2001)

    - GOVERNMENT PROPERTY (FIXED PRICE CONTRACTS)

(DEC 1989)—ALTERNATE I (APR 1984) (DEVIATION)

(PIC 95-8)(JUL 1995)

52.246-12		INSPECTION OF CONSTRUCTION (AUG 1996)

    - WARRANTY OF CONSTRUCTION (MAR 1994)

52.248-3	VALUE ENGINEERING—CONSTRUCTION (FEB 2000)--ALTERNATE I (APR 1984)

52.249-2		TERMINATION FOR CONVENIENCE OF THE GOVERNMENT

(FIXED PRICE)(SEP 1996))--ALTERNATE I (SEP 1996)

52.249-10	 	DEFAULT (FIXED-PRICE CONSTRUCTION) (APR 1984)

    - COMPUTER GENERATED FORMS (JAN 1991)

II.	NASA Federal Acquisition Regulation Supplement (48 CFR 	Chapter 18) Clauses

1852.204-74    CENTRAL CONTRACTOR REGISTRATION (OCT 2001)

    - COMPOSITION OF THE CONTRACTOR (DEC 1988)

1852.215-84	OMBUDSMAN (JUN 2000)

    - NASA 8 PERCENT GOAL (JUL 1997)

1852.223-70	SAFETY AND HEALTH (MAY 2001)

1852.223-73	SAFETY AND HEALTH PLAN (SEP 2001)--ALTERNATE I (OCT 2001)

1852.223-75    MAJOR BREACH OF SAFETY OR SECURITY (FEB 2002)

1852.228-75	MINIMUM INSURANCE COVERAGE (OCT 1988)

1852.232-79 	PAYMENT FOR ON-SITE PREPARATORY COSTS (SEP 1987)

1852.236-73	HURRICANE PLAN (DEC 1988)

    - OBSERVANCE OF LEGAL HOLIDAYS (AUG 1992)

    - EQUITABLE ADJUSTMENTS (APR 1998)

1852.243-71    SHARED SAVINGS  (MAR 1997)

B.  REPRESENTATIONS, CERTIFICATIONS, AND OTHER STATEMENTS OF OFFERORS OR QUOTERS INCORPORATED BY REFERENCE (AUG 1988)

The Representations, Certifications, and Other Statements of Offerors or Quoters as completed by the Contractor are hereby incorporated in their entirety by reference, with the same force and effect as if they were given in full text.

## 53.  ORDER OF PRECEDENCE--CONSTRUCTION

Any inconsistency in this contract shall be resolved by giving precedence in the following order:  (a) the Schedule (excluding the specifications); (b) representations and other instructions; (c) contract clauses contained in Paragraph 50; (d) the specifications; (e) drawings; and (f) other documents, exhibits, and attachments.

54.	SPECIAL REQUIREMENTS

Barricades and signs shall be posted at project areas while work is in progress to ensure safety of personnel entering or working in the building.

Whenever, during the performance of this contract, the Contractor discovers or has reason to suspect that existing building materials have deteriorated to the extent that they should be replaced, the Contractor shall cease work on the item(s) in question and report such findings to the Contracting Officer through the assigned inspector for disposition, and lessen the inconvenience to Government or non-Contractor personnel during all phases of the work.

All work shall be in compliance with NASA Health Standard NHS/IH-1845.1, “Entry Into and Work In Confined Spaces,” 29CFR 1910.146: “Permit-required Confined Spaces,” and Virginia OSH regulations.

55. WORK PERFORMANCE

The work shall be conducted under the general cognizance of the Contracting Officer, working through his authorized representative, who will assign Inspectors to the work with authority to insure strict compliance with the terms of the contract.  Inspectors will be assigned on the basis of approved work schedules.  No Inspector or any other Government employee is authorized to waive or change any provisions of this contract or the specification without written authorization from the Contracting Officer; nor shall the presence or absence of an Inspector relieve the Contractor from any requirement of the contract.

56.	CONTRACTOR'S DAILY REPORTS

A representative of the Contractor shall provide a completed Form WI-452 (4-80) (Attachment 4) for daily pick up by the Government Inspector.

57.	WORKING HOURS

The Contractor's working hours shall conform to the regular working hours of the NASA Inspection Section, which are 8:00 a.m. to 4:30 p.m., except where authorized by the Contracting Officer in accordance with FAR Clause 52.236-15--Schedules for Construction Contracts (Apr 1984), to exceed the Schedule limitations.  Should the Contractor desire to work outside of these hours, a written request shall be made in advance, and approval obtained from the Contracting Officer.  The Contracting Officer’s Technical Representative on the job may authorize emergency deviations.  No work shall be performed without such approval.  In addition, no work will be performed on Government observed holidays unless authorized by the Contracting Officer.  See Clause NFS 1852.242-72  Observance of Legal Holidays (Aug 1992) for a listing of Government observed holidays.

The Contractor shall give written notice to the Contracting Officer's Technical Representative (COTR) fourteen days prior to the date when the contract work will begin at the site.

Should the Contractor suspend work at any time before the contract is completed, the Contractor shall notify the COTR and shall not again resume work without notifying the COTR in advance.

58.	IDENTIFICATION BADGES

Contractors and subcontractors shall report to the Contracting Officer's Technical Representative both upon their arrival at the

site to begin work and upon completion of the work.  At all times, while on Government property, Contractors, subcontractors, their employees and agents shall wear badges which will be issued by Wallops Flight Facility Security Force.  Badges for subcontractors and their employees will be issued only upon written authorization by the prime Contractor.  The Contractor shall draw the required number of badges, sign a receipt for same, and will be held accountable for these badges during the life of the contract.

The prime contractor shall submit the names of one primary and one secondary individual for approval by the Contracting Officer, to serve as escort for all material deliveries for this job site, visitors to the job site by non-badged personnel, and other workers not badged through the identification badge process by NASA/WFF Security Force.  These appointed personnel will receive a Temporary Picture Badge that will allow escort duty of non-badged personnel to the job site during normal duty hours.  The primary or secondary individual shall be available on the job site at all times work is being performed.  Escorts must adhere to the NASA Visitor Escort policies at all times.

Upon the completion of the contract and prior to departure from Wallops Flight Facility, the Contractor shall surrender all badges to the office from which obtained.  Failure on the part of the prime Contractor to properly surrender all badges of people involved in work under this contract may be cause for the Contracting Officer to withhold final payment of the contract.

Any badges lost by the Contractor, subcontractor, their employees and agents during the life of the contract shall be reported immediately to the office from which they were obtained.

59.	HANDLING OF MATERIALS AND EQUIPMENT

All shipments shall be addressed to the Contractor who shall be responsible for their receipt, unloading, handling, and storage at the site.

The Government will not accept deliveries on behalf of the Contractor or subcontractors, nor will it assume any responsibility for security of materials, supplies, or equipment delivered to the site.

The Contractor shall schedule deliveries of materials to Wallops Flight Facility between the hours of 8:30 a.m. and 4:00 p.m., unless otherwise approved by the Contracting Officer.  A temporary picture badged employee shall be available whenever deliveries are scheduled in order to provide escort duty for all material deliveries.

Mechanical equipment, structural and reinforcing steel, piping, lumber, millwork, cement, and other equipment and materials (with

the exception of sand, gravel, etc.) shall be stored above ground on racks or platforms, free from contact with the soil, and adequately covered and/or heated to protect them against - as applicable - freezing, rust, dirt, water/moisture, chemicals, or any injury of any kind which could, in the opinion of the Contracting Officer, impair their value for use in the work.

60.	USE OF SPACE

The extent and limits of the work shall be as described in this contract.  The site will be made available "as is," and unless otherwise specified, the Contractor shall be responsible for clearing the site of all obstructions, both natural and artificial, which would interfere with the performance of the work under this contract.  All permanent and temporary building operations, as well as all work under this contract, shall be strictly confined to the limits shown or described, or as designated by the Contracting Officer.

The Contractor may be permitted to use, free of charge, unoccupied space which is owned and controlled by the Government and which the Contracting Officer is able to place at his disposal.  The Contractor shall promptly vacate any such space if ordered by the Contracting Officer to do so.

61.	TRAFFIC FACILITIES

The Contractor shall use only the established roadways and such temporary roadways on the premises as may be authorized by the Contracting Officer.  When it is necessary to cross curbing or sidewalks, the Contractor shall construct secure bridges across them; and at the completion of all work such bridges shall be removed by the Contractor.

Work involving construction in driveway or roadway areas (excavation, backfilling, paving, etc.) shall be accomplished as expeditiously as possible.  Traffic shall be maintained at all times with adequate warning signs installed immediately adjacent to detours, temporary bridges, etc.  Signs, barricades, ropes, etc. shall be furnished by and placed by the Contractor.

Should the Contractor's operations result in deposition of dirt or other debris on roads or walks, such facilities shall be cleaned the same day of occurrence and in such manner as will prevent the formation of undesirable quantities of mud or dust, or the creation of any other nuisance.

The Contractor shall make its own arrangements for use of private or public road, rail, or marine facilities.

62. UTILITIES

All work relating to existing utilities shall be in accordance with FAR 52.236-14—-Availability and Use of Utility Services (APR 1984), and as provided below:

Water, in such quantities as may be actually required for the work, will be furnished from Government facilities, as available, without charge. All lines shall be installed and maintained in a sanitary and watertight manner, and shall be removed and capped at the completion of the contract, without additional cost to the Government.  All temporary connections, to include water hoses shall incorporate the use of a backflow device to safeguard against contamination of potable water supply.

The Government will furnish electric power for general construction purposes, with a maximum demand of 25 kilowatts, without cost to the Contractor.  This electrical energy will be made available to the Contractor from the NASA distribution system at the nearest location where such capacity is available; and, at the option of the Contracting Officer, will be supplied at 3-phase, 4-wire, 120/208 volts or 3-wire 440 volts.  The Contractor shall provide a disconnect switch, suitably protected from the weather and properly fused. The Government will connect to the existing government power source provided.  This electrical energy is provided for lighting, motor-driven construction equipment, heaters, and general construction purposes.

Electrical outages shall be requested in writing and received by the Contracting Officer at least 72 hours in advance, and shall, as far as practicable, be limited to the period between 12:00 midnight on Fridays and 10:00 p.m. on the following Sunday.  Outages will be permitted only at times when they will result in minimum interference with research activities, and when adequate labor, equipment and materials are available for restoration of service.  The Contractor shall not receive additional payment for such operations required to be performed outside the regular work hours.

The Contractor shall provide and maintain, all necessary sanitary conveniences for use by his employees, and their use shall be strictly enforced.  Prior to the completion of all work, all such sanitary conveniences shall be removed and the premises left clean and returned to original condition.

The Government will not provide the Contractor with telephone service under this contract.  Arrangements for the cost of installation and maintenance of telephone service required for performance of the contract shall be borne entirely by the Contractor. Removal of such utilities at contract completion shall be at the Contractor’s expense subject to the approval of the Contracting Officer.

63.	PROTECTION AND REPAIR

(a)  The Contractor shall be responsible for conducting its operations, and those of its subcontractors in such a manner as to conform with the AGCA "Manual of Accident Prevention In Construction," latest edition.

- All work at the site on electrical, air, steam, or fluid-driven mechanisms shall conform to applicable safety regulations of the NASA which include but are not limited to a safety tag-out procedure to prevent unauthorized operation of such equipment.

(c)  Contractor's operations involving flame or flammable materials shall be so conducted as to minimize the possibility of fire.  Water barrels, hoses and/or extinguishers shall be furnished by the Contractor and properly placed for instant use if, in the opinion of the Contracting Officer, such precautions are necessary.

(d)  Existing Government services shall be maintained, so far as practicable, without interruption; or, if interrupted by the Contractor's operations, shall be promptly restored without additional cost to the Government.

(e)  In removing materials or equipment, care shall be taken not to disturb or damage adjacent equipment, surfaces, or materials, which are to remain.  Any such damage shall be repaired or replaced as directed by the Contracting Officer's Technical Representative at no additional cost to the Government.  Structural members shall not be cut unless specifically indicated.

(f)  Except as otherwise indicated or specified, all repairs/alterations to the existing work shall be done in accordance with the requirements of these specifications for new work.

(g)  Where the contract work is to be connected to existing buildings or other construction, the Contractor shall do such repairs, touch-up painting, etc., as may be necessary to leave the completed work in a neat and orderly condition.

(h)  The Contractor shall take all necessary precautions to prevent damages to all existing work, utility lines, structures, roadways, sidewalks, parked automobiles, etc.  In the event of such damage, the Contractor shall promptly report such incident to the Contracting Officer or his/her representative, and shall, without charge, replace or repair the damaged work or article fully equal to its original condition.

(i)  The Contractor shall preserve and protect all existing vegetation, such as trees, shrubs, and grass on or adjacent to the work site.  The Contractor shall be responsible for all unauthorized cutting or damaging of trees and shrubs, including damage due to careless operation of equipment, stockpiling of materials, or tracking of grass areas by equipment.  Any damages to vegetation caused by the Contractor's operations shall be repaired or restored promptly by and at the expense of the Contractor.

64.	SUBCONTRACTORS

(a)  The Contractor shall be responsible for familiarizing each of its subcontractors with all aspects of the contract affecting each subcontractor respectively, and shall be responsible for coordinating the work of its subcontractors to prevent any interference or omission whatsoever.

(b)  Nothing contained in the contract shall be construed as creating any contractual relationship between any subcontractor and the Government.  All business shall be conducted through the prime Contractor.

(c)  The divisions or sections of the specifications shall not be interpreted as limiting or defining the work for purposes of dividing the work among subcontractors, or to limit the work performed by any trade.

65.  DRAWINGS BY CONTRACTOR

(a)  The Contractor shall prepare all working drawings, shop drawings, and detailed drawings necessary to enable him to fabricate and erect all parts of the work, and to enable the Contracting Officer to check their conformity with the contract drawings and specifications, and to satisfy the Contracting Officer that all parts can be fabricated or erected as required.  Shop drawings shall consist of fabrication drawings, working drawings, wiring diagrams, and manufacturer's scale drawings.

(b)  On all work requiring preparation of construction drawings by the Contractor and submittal of such to the Contracting Officer for approval, such approval shall be obtained before construction covered is started.  Six copies of the drawings shall be submitted in such sequence that the Contracting Officer will have all information necessary for comparison against the specified requirements of the contract.  All drawings shall be clearly marked with the Government contract number.

(c)  The Contractor shall not proceed with any construction that may be affected in any manner by location of equipment to be installed under the contract, until submittal and approval of equipment layouts showing all components with dimensions and necessary clearances, have been submitted and approved.

(d)  Drawings shall be such as will permit production of clear, permanent reproductions, shall be identified by serial numbers and descriptive titles indicating their application to the contract, and shall be signed by a responsible representative of the Contractor.  So far as practicable, drawings shall be on standard 24 x 36 inch sheets, and shall have title blocks corresponding to NASA standards.

(e)  If, at any time before the completion of the work, changes are made necessitating the revision of previously approved drawings, the Contractor shall make such revisions and shall proceed in the same routine as for original approval.

- Unless otherwise specified, all connections necessary to properly complete the work under this contract, to constitute a complete and useable end item, shall be provided and completed by the Contractor in a manner satisfactory to the Contracting Officer.  This shall apply with equal force to any construction details not shown or specified, but necessary to make indicated alterations or additions to an existing structure, or to provide any connections for future additions indicated on the contract drawings or specified herein.  All parts designed by the Contractor shall be sufficiently strong to withstand, without excessive deflection, all loads and/or pressures to which they are likely to be subjected, and to be of equal or greater strength as the weakest members connected.  In no case shall the construction be inferior in any manner to that shown on the contract drawings. All designs and details provided by the Contractor shall be in accordance with acceptable industry standard practice.

(g)  Where reports of factory tests are required by the specifications, the Contractor shall furnish six (6) copies of such reports, certified by a responsible Officer of the Contractor. The reports shall be subject to the approval of the Contracting Officer before delivery of the materials or equipment.  If the Contracting Officer rejects these reports, the contractor must take corrective action and resubmit said reports in a reasonable time. In no event does the governments failure to approve any individual report relieve the Contractor of its obligation to meet all the requirements of these specifications, drawings, and contract documents.

- The contractor is responsible for providing a finished end product that fully satisfies the requirements of the Government as expressed herein.  Approval by the Contracting Officer or the Contracting Officer's Technical Representative (COTR) of the Contractor's drawings shall not relieve the Contractor of any part of the Contractor's responsibility to meet all of the requirements of this contract, or of the responsibility for the correctness of the Contractor's drawings.  The approval of drawings by the Contracting Officer or the COTR shall not be construed as a complete certification and review of the

contractor’s work, but will indicate only that the general method of design work and detailing is acceptable.

- Upon completion, and prior to final acceptance by the Government of all work under the contract, the Contractor shall furnish six copies of all drawings that shall be corrected to include all field changes, alterations, and "as-built" conditions

for all construction, including utilities, built under this contract.

(1)  The Contractor shall keep the work prints current by recording locations of the construction, including utilities, immediately upon installation and before backfilling over underground work.  All plotting shall be accurate.  All control dimensions shall be indicated.  Where dimensions of new construction have been indicated on the work prints, these shall be crossed out and the "as-built" dimensions recorded even if the same as those given.

(2) Locations shall be three-dimensional.  Elevations shall be in Meters and Millimeters, referenced to USC&GS datum.  Lateral dimensions shall be in meters and millimeters.  Dimensions to subsurface utilities which extend under foundations, buildings, or other construction; shall be given to the point of exposure at the surface or to the point of "rise" in concealed construction.  ("Surface" shall be considered as the lowest level of basement, first floor, or "crawl" space under the construction.)  (The foregoing applies to entering or exiting items only.  No records will be required for utilities entirely enclosed in construction, or entirely above surface.)  Dimensions shall be given from survey lines, major fixed surface points, or points of permanent nature, such as road center lines, curb lines, sidewalk edges, building wall, center of manhole covers, fire plugs, etc.  Building, foundation, and manhole locations shall be those used by the engineer in the layout for control of construction, and normally shall be to center lines or edges.  Manholes or pit dimensions shall include the invert or bottom elevation in addition to the top or cover elevation.  Invert elevation shall be given to flow line, if present; otherwise it shall be to the bottom of the manhole or pit with separate information for sump, if present.  Dimensions shall be recorded

for all changes in direction, slope, or type of run, as well as valves, tees, elbows, fire plugs, cleanest, manholes, and similar features.  For circular utilities, horizontal dimensions shall be to center lines; diameter shall be recorded, and invert or top elevations shall be designated.  For rectangular utilities, horizontal dimensions shall be to center lines, and widths shall be given.  Elevations shall be recorded for both the top and bottom.

Construction layout control dimensions shall be taken and locations shall be recorded and checked for completeness of record before backfilling.  Accuracy of dimensions shall be as follows:

Location:

Buildings, roads, foundations, manholes, and similar items construction accuracy; duct banks, trenches, water lines, sanitary and storm sewers, etc., to plus or minus 3 inches.

Elevation:

Buildings, roads, foundations, sanitary and storm sewers, manhole covers, catch basins, and similar items to plus or minus 0.05 foot.  Duct banks, trenches, water lines, etc., to plus or minus 0.1 foot.

(3)  On contracts running more than 9 months, the Contracting Officer may request progress prints at intervals of 6 months.  These progress prints shall consist of prints from the work prints supplied by the Contractor, as corrected to date of submittal.

66.	FEDERAL SPECIFICATIONS

(a)  Wherever in the various sections of these specifications, material or equipment to be furnished or work to be done is required to conform to Federal Specifications, American Society for Testing and Materials (ASTM), American Institute of Steel Construction (AISC), Society of Automotive Engineers, Inc. (SAE), or any other generally recognized authority, the latest revised edition of such specifications in effect on the date of the opening of bids shall apply.

(b)  Copies of the following specifications may be obtained by  application to the agencies listed below:

Federal Specifications

Superintendent of Documents, Government Printing Office, 	Washington, DC

Navy Department or joint Army-Navy Specifications

Bureau of Supplies and Accounts, Navy Department,

Washington, DC

Military Specifications

Commander, Air Development Center, Wright-Patterson Air

Force Base, Dayton, OH

67.	MATERIALS AND EQUIPMENT

(a)  Manufactured materials shall be delivered on the site in original, unopened packages and marked with the manufacturer's name and brand.  They shall be labeled to indicate grade, weight, size, type, etc., as applicable, and shall not be transferred to other packages or containers.

(b)  Equipment shall be of the size and type customarily used in work of this kind and the use of said equipment shall be subject to Contracting Officer approval.  In no event shall the Government’s approval of the use of any particular piece of equipment be construed as relieving the Contractor from its obligations under this contract or waiving the Government’s right to timely and complete performance of the contract.

(c)  Where equipment specified by manufacturer's designation requires modification to fully meet contract requirements, such modification shall be made by the Contractor without additional cost to the Government.

(d)  Where two or more types of equipment or materials are specified without indication of preference, it shall be optional with the Contractor which one is used, but the same type shall be used throughout.

(e)  All required equipment and material data, including location and function, shall be furnished to the Contracting Officer for approval.  Six copies of each shall be provided.  Submittals shall be on standard letter-size, or larger, sheets.  Machinery, equipment, materials, and articles furnished without such approval shall be at the risk of subsequent rejection, and will not be considered in computing partial payments.

(f)  Prior to delivery of each major item of equipment, the Contractor shall unless otherwise directed, submit 6 copies of an instruction manual for each, containing the following information as a minimum.

(1)  Descriptions, including ratings, construction details, bearing and lubrication details, dimensions, weights, location of any internal pressure or temperature devices,  etc.

(2)  Erection and disassembly instruction.

(3)  Operating instructions, including temperature limitations, lubrication recommendations, and operating procedures.

(4)  Instructions for maintenance, inspection, cleaning, and 	adjustment.

(5)  List of repair parts, including description and catalog 	numbers of each piece.

(6)  Test reports and characteristic data.

(g)  When a product used by the Contractor is believed by the Contracting Officer not to meet the specifications called for, the product shall be tested by an independent testing laboratory at no additional cost to the Government.  Testing conducted by the company who manufactures the products, in this instance, will not be acceptable.

68.	DISPOSITION OF MATERIALS

Existing equipment or materials to be reused under this contract shall be as set forth on the drawings.  Items suitable for reuse but not specified to be reused shall be carefully removed to preclude damage and delivered to the Government as directed by the Contracting Officer's Technical Representative (COTR), at the time of removal.

Any materials that are furnished by the Government which are in excess of what is required for the project shall remain the property of the Government and shall, at the completion of all work, be delivered to a site and placed as directed by the COTR.

Salvage material shall be delivered to the Government salvage yard and placed, as directed by the COTR, with the proper documentation.

Excess excavated material not specified to be reused shall be disposed of as directed by the COTR.

The Contractor shall dispose of fluid waste, such as oil, mineral spirits, etc., in an appropriate manner and shall not dispose of said waste in the storm or sewage disposal systems.

The Contractor shall maintain adequate property control records for all materials or equipment specified to be salvaged.  These records may be in accordance with the Contractor's system of property control, if approved by the Contracting Officer.  The Contractor shall be responsible for the adequate storage and protection of all salvaged materials and equipment.

69.	EXCAVATION REQUIREMENTS

In order to ensure the integrity of the NASA cable plant, electrical power distribution system, water and wastewater distribution systems, high pressure air lines, storm drainage systems, and steam distribution systems, an excavation permit is required prior to any digging activity at Wallops Flight Facility.  Application for an excavation permit shall be submitted to the COTR at least fifteen working days prior to a specific excavation activity.  Excavation shall not commence prior to the issuance of an excavation permit.

For purposes of this clause, excavation is to include any digging activity whether this be a single posthole, surface grading, cable and pipe trenching, or a foundation system.

Excavation will be implemented according to the procedures issued at the time of permit approval, and the Contractor will be

required to hand-dig to determine the exact location of identified utilities.

In no event will the Government’s failure to issue a permit relieve the Contractor from its obligation under the contract or waive the Government’s right to timely and satisfactory performance of this contract.

70.	HOT WORK PERMITS

The contractor shall contact the Government Inspector to obtain a written permit from the Fire Department prior to commencing any burning, welding, soldering, open flame cutting, leading, operation of tar kettles, salamanders, and any other non-permanently installed heat or fire producing devices.  The contractor shall assure that adequate precautionary measures have been taken to protect all personnel and property.  Permits will be good from 8:00 a.m. to 3:30 p.m. daily.  The permit shall be posted in a conspicuous location at the job site.  Permits required after normal working hours, weekends, and holidays shall be requested as soon as the need is known.  Failure to maintain the specified fire and safety requirements will result in immediate suspension of such operations.

All contractor employees working with flame or heat producing equipment such as a propane torch or cutting/welding equipment shall be properly trained and experienced in this type of work.

The contractor shall provide an appropriate size and type of chemical fire extinguisher at each welding, cutting or burning operation and also at each roofing tar pot or kettle.

In addition, the contractor shall furnish all barricades, signs, ropes, shields and other guards as appropriate to ensure the safety of Wallops Flight Facility personnel/the general public who may be in the vicinity of the work area.

In no event will the Government’s failure to issue a permit relieve the Contractor from its obligation under the contract or waive the Government’s right to timely and satisfactory performance of this contract.

71.	LIST OF ATTACHMENTS (GSFC 52.210-101) (OCT 1988)

The following attachments constitute part of this contract:

Attachment		Description			Date		  	No.of

## Pages

1.		General Decision No.		2-11-00		6

VA000016

VA000103

2.		NASA Specifications No.     January 2002

S-51605

- Drawings 13449 thru 13483   January 2002     35 Drawings

4.		Contractor's Daily Report	  --		     2

form WI-452 (11-89)

5.		Safety Plan (To be provided

by the successful offeror

prior to Notice to Proceed)

SEE INSTRUCTIONS FOR OFFERORS ON NEXT PAGE

INSTRUCTIONS, CONDITIONS AND NOTICES (CONSTRUCTION)

The following Paragraphs 72 through 88 are solicitation instructions, conditions and notices only and do not become part of the final contract documents.

- TYPE OF CONTRACT (52.216-1)(APR 1984)

The Government contemplates award of a Firm Fixed Price contract resulting from this solicitation.

73.  NAICS CODE AND SMALL BUSINESS SIZE STANDARD

NAICS Code:  233320           Size Standard:  $27,500,000.00

74.  SITE VISIT (CONSTRUCTION) (52.236-27)(FEB 1995)

- The clauses at 52.236-2, Differing Site Conditions (APR 1984), and 52.236-3, Site Investigations and Conditions Affecting the Work (APR 1984), will be included in any contract awarded as a result of this solicitation.  Accordingly, offerors are urged and expected to inspect the site where the work will be performed.

- A pre-proposal/pre-bid conference will be held as indicated below:

Date:		04/23/2002

Time:		1:00 p.m.

Location:	Site visit will commence in Building N-161 conference room

- Government personnel will discuss the requirements and answer questions regarding the solicitation.

- As a result of recent heightened security at this and other

Federal facilities, the procedures/process for gaining access to this Facility have changed significantly from those in the past.  All individuals requiring access to GSFC/Wallops Flight Facility (GSFC/WFF) are required to present a picture ID and will be continually escorted while on GSFC/WFF.  Individuals must be U.S. citizens; individuals possessing “Green Cards” will not be allowed to come on the Facility on short notice.  Non-citizens requiring access must notify their “sponsor” in advance, not later than 30 days prior to access being required.  Transportation will be provided to and from the GSFC/WFF Reception Building (BLDG No. 125) to Building N-161 for the site visit.

Any offeror’s questions should be submitted, in writing, as soon as possible. TECHNICAL QUESTIONS MUST BE SUBMITTED NO LATER

THAN 04/26/2002.  The Government will not answer any question submitted too late to permit transmittal to all potential offerors reasonably in advance of the due date.

CAUTION TO OFFERORS:  READ CAREFULLY.  THIS EVALUATION AND SELECTION PROCESS IS BEING CONDUCTED IN ACCORDANCE WITH NASA FAR SUPPLEMENT (NFS) 1871 MIDRANGE PROCUREMENT PROCEDURES AND DIFFERS FROM THE STANDARD NASA EVALUATION AND SELECTION PROCESS.

75. BACKGROUND

This procurement is being conducted under NASA FAR Supplement, Part 1871, MidRange Procurement Procedures.

76. SEALED OFFER PROCUREMENT

This solicitation provides for award to be made to the lowest priced, responsive, responsible offeror providing the most advantageous offer considering only price and price-related factors.

The Government will evaluate offers in three general steps:

Step One -- Publicly open and record all offers submitted in response to the solicitation.

Step Two -- Examine all offers for mistakes.  Determine responsibility of the offeror and reasonableness of the price(s) offered.

Step Three -- The Government will award a contract to the low, responsive, responsible offeror, whose offer conforms to the solicitation and the specifications, and will be most advantageous to the Government, considering only price and the price-related factors included in this solicitation.

77. REQUIRED INFORMATION TO BE PROVIDED BY OFFEROR

Failure to submit the following information may result in a determination by the Contracting Officer that the bid is nonresponsive.

- Offerors shall submit THREE (3) ORIGINAL SIGNED COPIES of the SF-1442 filled in as indicated (bindings are not desired).

- Offerors shall submit a BID BOND, with the original bid, in the amount of twenty percent (20%) of the bid price, or $3 million, whichever is the lower amount.

- Offerors shall submit base bid prices, options and additives totally and properly completed in Block 17 of the SF-1442.

- Offerors shall acknowledge receipt of amendments in Block 19 of SF-1442 to the solicitation and give the number and date of each.

Only the required MINIMUM amount of information is requested to provide for proper evaluation.  Efforts should be made to keep offers as BRIEF as possible, concentrating on substantive information essential for a proper evaluation.

One copy of requested INFORMATION shall be submitted along with the THREE (3) ORIGINAL SIGNED COPIES of the attached SF-1442. Offers shall include the offeror's facsimile number and e-mail address(es).

FACSIMILE OFFERS SHALL NOT BE AUTHORIZED AS A METHOD OF RESPONSE TO THIS SOLICITATION.

78. SOLICITATION PROVISIONS INCORPORATED BY REFERENCE (52.252-1)

(FEB 1998)

This solicitation incorporates one or more solicitation provisions by reference, with the same force and effect as if they were given in full text.  Upon request the Contracting Officer will make their full text available.

NOTICE:  The following provisions are hereby incorporated by reference:

A.  FEDERAL ACQUISITION REGULATION (48 CFR CHAPTER 1)

PROVISIONS

Provision

No.                             Title

52.211-14     Notice of Priority Rating for National Defense Use

(Sep 1990) (Insert "DO rated order" in 						blank)

52.214-1      Solicitation Definitions -- Sealed Bidding

(Jul 1987)

52.214-3      Amendments to Invitations for Bids (Dec 1989)

52.214-4      False Statements in Bids (Apr 1984)

52.214-5      Submission of Bids (Mar 1997)

52.214-6      Explanation to Prospective Bidders (Apr 1984)

52.214-7      Late Submissions, Modifications, and Withdrawals of

Bids (NOV 1999)

52.214-18	    Preparation of Bids--Construction (Apr 1984)

52.214-19	    Contract Award -- Sealed Bidding--Construction (Aug 		    1996)

52.219-2	Equal Low Bids (Oct 1995)

    - Notice of Requirement for Affirmative Action to Ensure Equal Employment Opportunity for Construction (Feb 1999)

    - Affirmative Action Compliance Requirements for Construction (Feb 1999)

52.225-12	Notice of Buy American Act Requirements—Construction Materials (May 1997)

    - Submission fo Electronic Funds Transfer Information

with Offer (May 1989)

    - Service of Protest (Aug 1996) (Insert in paragraph

(a) Contracting Officer address:  [Bid Room, 				Building E-105, Room 315A, Mail Code 218, Goddard 			Space Flight Center, Wallops Flight Facility, 				Wallops Island, VA  23337

B.  NASA/FAR SUPPLEMENT (48 CFR CHAPTER 18) PROVISIONS

Provision

No.                             Title

1852.214-70  	Caution to Offerors Furnishing Descriptive               		    	Literature (Dec 1988)

1852.236-74  	Magnitude of Requirement (Dec 1988) {Fill in:  			    	$500,000.00 to $1,000,000.00}

C.  FEDERAL INFORMATION RESOURCES MANAGEMENT REGULATION

(41 CFR CHAPTER 201) PROVISION

NONE

79. FULL TEXT SOLICITATION PROVISIONS

AVAILABILITY OF SPECIFICATIONS NOT LISTED IN THE GSA INDEX OF        FEDERAL SPECIFICATIONS, STANDARDS AND COMMERCIAL ITEM DESCRIPTIONS (52.211-3) (JUN 1988)

The specifications and drawings cited in this solicitation may be obtained from:

Activity:                Goddard Space Flight Center

Complete Address:        Wallops Flight Facility, Code 218

Wallops Island, VA  23337

### Telephone Number:        757-824-1426

Person to be Contacted:  Ray A. Stevens

The request should identify the solicitation number

“RFO5-5-51605/615” and the specification requested by date, title, and number, as cited in the solicitation. The price for hard copies of this solicitation is $75.00.

80.	BID BOND (1852.228-73) (OCT 1988)

- Each bidder shall submit with its bid a bid bond (Standard Form 24) with good and sufficient surety or sureties acceptable to the Government, or other security as provided in

Federal Acquisition Regulation clause 52.228-1, in the amount of twenty percent (20%) of the bid price, or $3 million, whichever is the lower amount.

- Bid bonds shall be dated the same date as the bid or earlier.

81. PROTESTS TO NASA (1852.233-70) (MAR 1997)

Potential bidders or offerors may submit a protest under 48 CFR part 33 (FAR Part 33) directly to the Contracting Officer.  As an alternative to the Contracting Officer’s consideration of a protest, a potential bidder or offeror may submit the protest to the Deputy Associate Administrator for Procurement, who will serve as or designate the official responsible for conducting an independent review.  Protests requesting an independent review shall be addressed to Deputy Associate Administrator for Procurement, NASA Code H, Washington, DC 20546-0001.

82. NOTICE OF BUY AMERICAN ACT/BALANCE OF PAYMENTS PROGRAM REQUIREMENT--CONSTRUCTION MATERIALS (52.225-10)(FEB 2000)

(a) Definitions. "Construction material," "domestic construction material," and "foreign construction material," as used in this provision, are defined in the clause of this solicitation entitled "Buy American Act--Balance of Payments Program-Construction Materials" (Federal Acquisition Regulation (FAR) clause 52.225-9).

(b) Requests for determinations of inapplicability. An offeror requesting a determination regarding the inapplicability of the Buy American Act or Balance of Payments Program should submit the request to the Contracting Officer in time to allow a determination before submission of offers. The offeror shall include the information and applicable supporting data required by paragraphs (c) and (d) of the clause at FAR 52.225-9 in the request. If an offeror has not requested a determination regarding the inapplicability of the Buy American Act or Balance of Payments Program before submitting its offer, or has not received a response to a previous request, the offeror shall include the information and supporting data in the offer.

(c) Evaluation of offers. (1) The Government will evaluate an offer requesting exception to the requirements of the Buy American Act or Balance of Payments Program, based on claimed unreasonable cost of domestic construction material, by adding to the offered price the appropriate percentage of the cost of such foreign construction material, as specified in paragraph (b)(3)(i) of the clause at FAR 52.2259.

(2) If evaluation results in a tie between an offeror that requested the substitution of foreign construction material based on unreasonable cost and an offeror that did not request an exception, the Contracting Officer will award to the offeror that did not request an exception based on unreasonable cost.

(d) Alternate offers. (1) When an offer includes foreign construction material not listed by the Government in this solicitation in paragraph (b)(2) of the clause at FAR 52.225-9, the offeror also may submit an alternate offer based on use of equivalent domestic construction material.

(2) If an alternate offer is submitted, the offeror shall submit a separate Standard Form 1442 for the alternate offer, and a separate price comparison table prepared in accordance with paragraphs (c) and (d) of the clause at FAR 52.225-9 for the offer that is based on the use of any foreign construction material for which the Government has not yet determined an exception applies.

(3) If the Government determines that a particular exception requested in accordance with paragraph (c) of the clause at FAR 52.225-9 does not apply, the Government will evaluate only those offers based on use of the equivalent domestic construction material, and the offeror shall be required to furnish such domestic construction material. An offer based on use of the foreign construction material for which an exception was requested--

(i) Will be rejected as nonresponsive if this acquisition is conducted by sealed bidding; or

(ii) May be accepted if revised during negotiations.

(End of provision)

## 83.  CONSTRUCTION--OTHER INSTRUCTIONS/CONDITIONS/NOTICES

a. Do not include the price of base bid in the price of any requested additive bid.  (The additive is an increase or decrease of the base bid.)

b. Word any telegraphic amendment carefully to state the amount of increase or decrease of base bid and additive bid price.  Do not include the original or revised bid total price in a telegraphic message--only the amount of increase or decrease of each base bid and additive price.

c. Be sure to submit bid guarantee in the amount of 20 percent of bid price.  The guarantee cannot be amended by telegram.  Recommend that the figures "20%" be inserted in the proper blank on Standard Form 24 and limit (amount not to exceed)  should be high enough to cover any telegraphic increase in bid.

d. Review FAR Clause 52.236-5, "Material and Workmanship".  Reference to a brand name of any equipment, material, article, or patented process shall be regarded as establishing a standard of quality and not limiting competition.

e. Verbal statements by government representatives will not affect the work.  All changes, if any, will be made by amendments issued by the Contracting Officer.

f. Public Opening of Bids.  Bids will be publicly opened at the time set for opening in the invitation for bids.  Their content will be made public for the information of bidders and others interested, who may be present either in person or by representative.

g. Bidder's Qualifications.  Before a bid is considered for award, the bidder may be requested by the Government to submit a statement regarding his previous experience in performing comparable work, his business and technical organization, financial resources, and plant available to be used in performing the work.

## 84.	 BID MARKING AND DELIVERY

1. Receiving Office

The designated receiving office for bids is the Bid Room located on the premises of the Goddard Space Flight Center, Wallops Flight Facility, Wallops Island, Virginia, in Building E-105, Room 315A.  The Bid Room hours are 8:00 AM to 4:00 PM, Monday through Friday, except Government Holidays.  Bids must be received by the date and time stated on the solicitation face page. Offerors must either deliver their bid, modifications or withdrawals by U. S. Postal Service Mail or *hand deliver (includes the use of a commercial delivery service). Regardless of the delivery method chosen, the bid must be closed and sealed as if for mailing.

*Note:  See the “Notice to All Bidders” attached to the front of the solicitation documents for new [policy on the Delivery of Bids and Public Bid Openings at GSFC/Wallops Flight Facility, Wallops Island, VA.  Non-U.S. citizens will not be given access to the Goddard Space Flight Center, Wallops Flight Facility, for the purpose of bid delivery.

2. External Marking

[PLEASE NOTE THE ADDITIONAL MARKING REQUIREMENTS IN (b) IF A

COMMERCIAL DELIVERY SERVICE IS USED]

(a) The required mailing address/external marking for bids is as follows:

"NASA

Goddard Space Flight Center

Wallops Flight Facility

Wallops Island, VA 23337

Attention:  Ray A. Stevens, Code 218

Building E-105, Room 315A

IFB 5-(offeror--add the remaining numbers of solicitation)

SEALED BID -- DELIVER UNOPENED"

(b) If the bid is to be delivered by a commercial delivery service such as United Parcel Service, Federal Express, DHL, Purolator, etc., place the following on the outside of the carriers envelope or package cover:  (offeror must complete fill-in's appropriately)

## Same information as in (a) above and--

“COMMERCIAL DELIVERY PERSONNEL:  THIS BID MUST BE HAND CARRIED DIRECTLY TO THE RECEIVING FACILITY, BUILDING F-19 AND RECEIVED NO LATER THAN 3:00 P.M. 05/13/2002.  THE RECEIVING FACILITY IS OPEN FROM 8:00 AM TO 4:00 PM, MONDAY THROUGH FRIDAY, EXCEPT GOVERNMENT HOLIDAYS"

85. REQUIRED FORMS

(a)  The forms listed below are attached to the end of this solicitation and shall be submitted prior to award of any contract resulting from this solicitation, upon request from the responsible contracting office.

NONE

(b)  The forms listed below are required to be submitted in the performance of any contract awarded as a result of this solicitation.  Forms are available in part 53 of the FAR or NASA FAR Supplement.  An information copy of a form may be obtained

from the responsible contracting office.  See FAR 52.253-1 and 53.105(b) for information on the use of computer generated forms.  See FAR 53.107(b) for information on obtaining multiple copies of forms.

SF 3881          Payment Information Form ACH Vendor Payment

System

86.  SAFETY AND HEALTH PLAN (1852.223-73) (SEP 2001)--ALTERNATE I (OCT 2001)

The offeror shall submit a detailed safety and occupational health plan as part of its proposal (see NPG 8715.3, NASA Safety Manual, Appendices).  The plan must include a detailed discussion of the policies, procedures, and techniques that will be used to ensure the safety and occupational health of contractor employees and to ensure the safety of all working conditions throughout the performance of the contract.  The plan must similarly address safety and occupational health for subcontractor

employees for any proposed subcontract whose value is expected to exceed $500,000, including commercial services and services provided in support of a commercial item.  Also, when applicable, the plan must address the policies, procedures, and techniques that will be used to ensure the safety and occupational health of: (1) the public, (2) astronauts and pilots, (3) the NASA workforce (including other contractor employees working on NASA contracts), and (4) high-value equipment and property.  This plan, as approved by the Contracting Officer, will be included in any resulting contract.

87.  FULL QUANTITIES (1852.214-72) (DEC 1988)

The Government will not consider an offer for quantities of items less than those specified.  If this is an invitation for bids, the Government will reject as nonresponsive a bid that is not made on full quantities.

88.  COMMUNICATIONS REGARDING THIS SOLICITATION (GSFC 52.215-96) (AUG 2000)

Any questions or comments regarding this solicitation shall cite the solicitation number and be directed to the following Government representative:

Name:	Ray A. Stevens, Contract Specialist

Phone:    787-824-1426

(collect calls not accepted)

FAX:      757-824-1974

E-Mail:	Ray.A.Stevens.1@gsfc.nasa.gov

*Address:  Goddard Space Flight Center

Wallops Flight Facility

Wallops Island, VA  23337

Attention:  Ray A. Stevens , *Mail Code 218

*(Note:   Must be complete, including Mail Code, on all transmittals.)

The Government will answer relevant and appropriate questions regarding this solicitation.  Any offeror questions should be submitted in writing as soon as possible.