Board of Directors

Interim Report

Judy Cardin, Chief

Wisconsin, Weights and Measures

Reference

Key Number

### INTRODUCTION

The Board of Directors held its quarterly meeting on Saturday, January 26, 2008, and continued meeting during work periods throughout the remainder of the Interim Meetings.  The Board of Directors and NTEP Committee invited members to dialogue with the Board on the following issues:  conformity assessment, changing the management structure of NCWM, the National Training Program, marketplace surveys, membership, the newsletter and website, and participation internationally, i.e., International Organization on Legal Metrology (OIML), the OIML Mutual Acceptance Arrangement (MAA), the Canadian Forum on Trade Measurement (CFTM), the Asia-Pacific Legal Metrology Forum (APLMF), and U.S. National Work Groups (USNWG).

Table A identifies the agenda items in the Report by reference key number, item title, and page number.  An item marked with an “I” after the reference key number is an informational item.  An item marked with a “V” after the reference key number is a voting item.  Table B lists the appendices to the Report.

Table A

Index to Reference Key Items

Reference Key

Items	Title of Item	Page

INTRODUCTION	1

1.	I	NCWM Automatic Temperature Compensation (ATC) Steering Committee	2

2.	I	Marketplace Surveys Update	2

3.	I	Membership and Meeting Attendance	2

4.	I	Newsletter and Website	2

5.	I	Meetings Update	2

6.	I	Participation in International Standard Setting	3

7.	I	Efficiency and Effectiveness	3

8.	V	Bylaws Amendment: Article IX, Section 2 – Standing Committees	3

9.	I	NCWM Policies	4

Table B

Appendices

Appendix	Title	Page

A	Report on the Activities of the International Organization of Legal Metrology (OIML) and Regional Legal Metrology Organizations	A1

Details of all Items

(In order by Reference Key Number)

### I	NCWM Automatic Temperature Compensation (ATC) Steering Committee

The Automatic Temperature Compensation (ATC) Steering Committee has been meeting by conference call.  Ross Andersen will serve as the NCWM liaison to the California Energy Commission for their work on ATC.  The NCWM Chair, Judy Cardin, met with a representative from the GAO to offer the NCWM’s assistance in their cost benefit analysis.  The Steering Committee will continue to work on technical questions and will present a report at the NCWM Annual Meeting.

### I	Marketplace Surveys Update

The Board is planning on conducting a marketplace survey in 2009.  The NCWM will work with NIST on this survey.

### I	Membership and Meeting Attendance

| NCWM Membership Report |
| --- |
|  | 12/31/07 | 12/31/06 | 12/31/05 | 12/31/04 | 12/31/03 | 12/31/02 |
| Associate | 807 | 804 | 783 | 784 | 780 | 879 |
| Foreign Assc | 53 | 49 | 51 | 33 | 34 | 31 |
| Federal Gov't | 9 | 9 | 13 | 13 | 18 | 17 |
| NIST | 14 | 14 | 10 | 8 | 14 | 18 |
| State Gov't | 814 | 794 | 791 | 826 | 804 | 852 |
| Local Gov't | 548 | 547 | 465 | 453 | 515 | 556 |
| Int’l Gov't | 22 | 29 | 21 | 29 | 18 | 23 |
| Retired | 222 | 221 | 221 | 224 | 226 | 229 |
| Total | 2489 | 2467 | 2355 | 2370 | 2409 | 2605 |

As of the 2008 Interim Meeting, the total NCWM membership was 2497.  This is the highest membership total since December 2002.  The 2008 Interim Meeting had a record number of members in attendance.

### I	Newsletter and Website

Steve Grabski has been reviewing the website and newsletter.  He would welcome membership feedback.

### I	Meetings Update

Interim Meetings

January 11 - 14, 2009	Hilton Daytona Beach Hotel, Daytona Beach, Florida

Locations for the 2010 and 2011 Interim Meetings will be announced at the 2008 Annual Meeting.

Annual Meetings

July 13 - 17, 2008	Sheraton Burlington Hotel & Conference Center, Burlington, Vermont

July 12 - 16, 2009	Marriott Plaza Hotel, San Antonio, Texas

July 11 - 15, 2010	Crowne Plaza St. Paul Hotel, St. Paul, Minnesota

### I	Participation in International Standard Setting

Chuck Ehrlich and other NIST Weights and Measures Division (WMD) staff briefed the NCWM Board and NCWM members on key activities of OIML and regional legal metrology organizations (see Appendix A).

### I	Efficiency and Effectiveness

To increase the efficiency and effectiveness of the NCWM, the Board of Directors announced changes to the conference management structure.  Management Solutions Plus (MSP), the company currently supplying management support, elected not to participate in the new management structure.  MSP will continue in its current role until September 30, 2008.

## On October 1, 2008, the following changes will be in place:

- Two contract employees will be hired.  One to serve as the NCWM Executive Director and the second as NTEP Administrator.  NCWM will no longer use a management company – just individuals.  Job announcements for these positions were posted on the NCWM website, and e-mailed to the membership.  These positions should be filled by May 2008.

- The NCWM office will be located in the city where the new Executive Director resides.  The Executive Director will report to the NCWM Board of Directors.  Three to four support staff will be hired to work in the new office and will report to the Executive Director.

- The NTEP Administrator will work from his home and will report to the Executive Director.

- The membership will not see changes in their services, only the necessary telephone number and address changes after October 1, 2008.

The Board is examining other cost saving measures to control meeting and administrative expenses and will continue to solicit ideas to increase the effectiveness of the Conference.  Membership feedback on this topic is welcome.

### V	Bylaws Amendment:  Replace A&P Committee with PDC

Background:  In 2003, the Board of Directors disbanded the Administration and Public Affairs Committee.  At the same time, the Professional Development Committee was formed.  This new standing committee has a much narrower scope than its predecessor.  Even though this change occurred in 2003, the board neglected to change the corresponding by-laws to reflect the current committee name and its new scope.  The changes proposed below address this issue.

Article IX, Section 2 – Standing Committees

The Board of Directors may create and disband standing committees in the best interests of the Corporation.  As referenced in Article IX, Section 1, the Chairman makes appointments to the several special purpose committees.  The current standing committees are:

Committee on Specifications and Tolerances (S&T);

Committee on Laws and Regulations (L&R); and

Committee on Administration and Public Affairs (A&P)Professional Development Committee (PDC).

Article IX, Section 5

D. Committee on Administration and Public AffairsProfessional Development Committee

The mission of the Committee is:

To provide leadership to develop and implement uniform, quality weights and measures services in the areas of:

-  effective program management,

-  education, and

-  public relations.

The Committee on Administration and Public AffairsProfessional Development Committee annually presents a report for Corporation action.

Its scope embraces all matters dealing with:

1. development and recommendation of administrative procedures;

2. education and training of weights and measures officials;

3. promotion of weights and measures principles and techniques among users of weights and measures devices and the

general public; and

4. liaison with Federal agencies, State agencies, and other groups and organizations on issues within the purview of the

committee. This entails explaining, advocating, and coordinating Corporation positions, recommendations, and needs before

Federal Government agencies, consumer groups, the Associate NCWM membership, domestic and international standards

organizations, industry, trade associations, and others. The goals are to provide and solicit information, develop a spirit of

cooperation, and promote uniformity with the activities and standards of the NCWM.

The Professional Development Committee annually presents a report for Corporation action.

The four main areas for focusing their efforts are:

National Training Program – The focus of the National Training Program (NTP) is to increase technical knowledge, strengthen credibility, and improve the professionalism of the individual weights and measures official.  A strong NTP would promote uniformity across the nation.

National Certification System – Develop a national certification system to recognize or accredit weights and measures programs as competent or capable.  The program would include requirements around individual training, proper test standards, use of national handbooks, and a data gathering system.

Conference Training Topics – The Committee would be the focal point for gathering and recommending workshops or symposia on leadership, management, and emerging issues to be presented during the Annual Meeting.  These topics would provide a forum for the exchange of ideas and discussion of changes in the marketplace.

Uniformity of Data – The Committee would develop standard categories for devices and inspection areas so that such things as the number of devices, compliance rates, frequency of inspection and other areas could be compiled and compared at the national level.  These statistics could be used to benchmark organizations and to communicate the value of weights and measures to the public and to decision makers.

Upon passage of these changes, the PDC will remain a technical committee.

### I	NCWM Policies

The NCWM board of directors sets policies for the board, committees, and for the corporation.  These policies are documented and will be made available as they are approved.  In the future, NCWM Policies will be posted on the NCWM website.

Judy Cardin, Wisconsin, NCWM Chairman

Jack Kane, Montana, Chairman-elect

Don Onwiler, Nebraska, NTEP Chairman

Will Wotthlie, Maryland, Treasurer

Charles Carroll, Massachusetts, Northeastern Regional Representative

Steven Malone, Nebraska, Central Regional Representative

Randy Jennings, Tennessee, Southern Regional Representative

Steven Grabski, Nevada, Western Regional Representative

Christopher Guay, Procter & Gamble, At-large

Tim Tyson, Kansas, At-large

Robert Murnane, Seraphin Test Measure, Associate Membership Representative

Beth W. Palys, CAE, NCWM Executive Director

Carol Hockert, NIST, Executive Secretary

Board of Directors

This page intentionally left blank

Appendix A

Report on the Activities of the

International Organization of Legal Metrology (OIML)

and Regional Legal Metrology Organizations

Weights and Measures Division, NIST

INTRODUCTION

The Weights and Measures Division (WMD) of the National Institute of Standards and Technology (NIST) is responsible for coordinating U.S. participation in the International Organization of Legal Metrology (OIML) and other international legal metrology organizations.  Learn more about OIML at the website www.oiml.org and about NIST Weights and Measures Division at the WMD website www.nist.gov/owm.  Dr. Charles Ehrlich, Group Leader of the International Legal Metrology Group (ILMG), can be contacted at charles.ehrlich@nist.gov or at (301) 975-4834 or by fax at (301) 975-8091.

Please note:  OIML publications are available without cost at http://www.oiml.org.

Table A

Table of Contents

Subject		Page

I.	Report on the Activities of the OIML Technical Committees	A3

II.	Report on the 42nd CIML Meeting in Shanghai, China, October 24 - 26, 2007	A6

III.	Future OIML Meetings	A7

IV.	Regional Legal Metrology Organizations	A7

Table B

Glossary of Acronyms

| BIML | International Bureau of Legal Metrology | IR | International Recommendation |
| --- | --- | --- | --- |
| B | Basic Publication | IWG | International Work Group |
| CD | Committee Draft1 | MAA | Mutual Acceptance Arrangement |
| CIML | International Committee of Legal Metrology | MC | Measurement Canada |
| CPR | Committee on Participation Review | OIML | International Organization of Legal Metrology |
| D | Document | R | Recommendation |
| DD | Draft Document2 | SC | Technical Subcommittee |
| DR | Draft Recommendation2 | TC | Technical Committee |
| DoMC | Declaration of Mutual Confidence | WD | Working Draft3 |
| DV | Draft Vocabulary2 | USNWG | U.S. National Work Group |
| ILMG | International Legal Metrology Group |  |  |
| 1 CD: a draft at the stage of development within a technical committee or subcommittee; in this document, successive drafts are numbered 1 CD, 2 CD, etc. 2 DD, DR, and DV: draft documents approved at the level of the technical committee or subcommittee concerned and sent to BIML for approval by CIML. 3 WD: precedes the development of a CD; in this document, successive drafts are number 1 WD, 2 WD, etc. * Explanation of acronyms provided by OIML. |

Details of All Items

(In Order by Reference Key Number)

# Report on the Activities of the OIML Technical Committees

This section reports on recent activities and the status of work in OIML Technical Committees (TCs) and Technical Subcommittees (SCs) of specific interest to members of the NCWM.  Also included are schedules of future activities of the Secretariats, the U.S. National Work Groups (USNWGs), and the International Work Groups (IWGs) of the Committees and Subcommittees.

TC 3/SC 1 “Pattern approval and evaluation” (United States)

The subcommittee approved the U.S. proposal for a combined revision of OIML D 19 “Pattern evaluation and pattern approval” and D 20 “Initial and subsequent verification of measuring instruments and processes” into a single document entitled “Principles of metrological control of measuring instruments:  type approval and verification.”  Key elements of OIML D 3 “Legal qualification of measuring instruments,” R 34 “Accuracy classes of measuring instruments,” and R 42 “Metal stamps for verification officers” will also be incorporated into the combined revision of OIML D 19 and D 20.  The revised documents will incorporate recent developments such as the OIML certificate system, D 27 “Initial verification of measuring instruments utilizing the manufacturer's quality management system,” and the “Framework for a mutual acceptance arrangement (MAA) on OIML type evaluations.”  Consideration will be given to the appropriate conformity assessment options developed by the ISO Council Committee on Conformity Assessment (ISO CASCO), including quality systems, product certification, and accreditation.  Consideration will also be given to information technology and statistical methods to increase or decrease verification intervals based upon proven instrument performance.  For more information on this activity, contact Dr. Ambler Thompson at (301) 975-2333 or at ambler@nist.gov.

TC 3/SC 5 “Conformity assessment” (United States and BIML)

The subcommittee is planning a meeting on May 27 - 30, 2008, to begin revision of the documents B 3 (Certificate System) and B 10 (MAA).  The meeting will also include discussion of a new document on the incorporation of measurement uncertainty into conformity assessment decisions in legal metrology.  In January 2008, a 3 WD of this document was sent to the BIML and other technical advisors for review.  For more information on this activity, contact Dr. Charles Ehrlich at (301) 975-4834 or at charles.ehrlich@nist.gov.

TC 5/SC 2 “Software” (Germany and BIML)

A 1 CD of OIML "General requirements for software-controlled measuring instruments" was received in June 2007 and circulated to the NCWM Software Sector and other interested U.S. parties.  The U.S. comments on the 1 CD were submitted to the International Secretariat in September 2007.  There was a meeting of the OIML Software Subcommittee in Berlin in December 2007.  When complete, the OIML document will serve as guidance for software requirements in International Recommendations by OIML technical committees.  A 2 CD is anticipated to be circulated in spring 2008.  The ILMG participated in NCWM Software Sector meetings in Lake Tahoe, California, and Little Rock, Arkansas, in October and May 2007, respectively.  Please contact Dr. Ambler Thompson at (301) 975-2333 or at ambler@nist.gov if you would like to receive information and participate in this project.

TC 6 “Prepackaged products” (South Africa)

In September 2007, NIST hosted the OIML TC 6 committee at NIST in Gaithersburg, Maryland.  There was continued discussion on the issue of an OIML International Quantity Mark, referred to as an IQ Mark.  The IQ Mark would be a program that would allow for an international system of acceptance of prepackaged goods.  The IQ Mark is designed to eliminate trade barriers on prepackaged goods.

Receiving countries would want imported packages to meet all requirements.  On the other side, packers in exporting countries want to be sure that prepackages will not be rejected after their product has arrived in the destination country.

Such a program would also require that participants meet specific requirements in order to participate in a program for quantity control and marking of prepacked goods.  The United States is participating in a work group that will develop guidelines on good manufacturing practice and additional documentation for selected criteria that would be used in the IQ Mark's accreditation programs.

It was agreed that all members of the TC 6 would send out a questionnaire to all current stakeholders, including industry, and federal and state agencies seeking input to specific questions.  Please contact Lisa Warfield at (301) 975-3308 or at lisa.warfield@nist.gov if you would like more information about the work of this subcommittee or to participate in any of these projects.

TC 8/SC 1 “Static volume and mass measurement” (Austria and Germany)

The subcommittee Secretariat plans to have three documents completed and ready for a CIML postal ballot in 2008:  OIML R 71 “Fixed storage tanks,” R 80 “Road and rail tankers,” and R 85 “Automatic level gages for measuring the level of liquid in fixed storage tanks.”  The Secretariat circulated a 3 CD for R 80 in November 2006 and a 3 CD of R 85 in December 2006.  U.S. vote and comments on R 80 and R 85 were returned in February 2007, and a subcommittee meeting was held in March 2007 in Vienna, Austria.  Progress was made on all three documents in Vienna.  A 3 CD of R 71 was received in July 2007, and a 4 CD of R 85 was received in August 2007.  Please contact Ralph Richter at (301) 975-3997 or at ralph.richter@nist.gov if you would like copies of the documents or to participate in any of these projects.

TC 8/SC 3 “Dynamic volume and mass measurement for liquids other than water” (United States and Germany)

OIML R 117-1 “Dynamic measuring systems for liquids other than water, Part 1:  Metrological and technical requirements” has undergone an extensive revision.  The Recommendation obtained 100 % international “yes” votes and final CIML approval at the CIML meeting in Shanghai, China, in October 2007.  The revision incorporates new instrument technologies and includes a merger with OIML Recommendations R 86 “Drum meters” and R 105 “Mass flowmeters.”  After publication of R 117-1, Recommendations R 86 and R 105 will be withdrawn.  The ILMG has worked closely with the USNWG on flowmeters, Germany, and the Netherlands on this effort.  Meetings of the USNWG on flowmeters were held during the NCWM Interim Meeting in January 2007 in Jacksonville, Florida, and the NCWM Annual Meeting in July 2007 in Utah.  Measurement Canada has also been a strong contributor to this effort.  Subcommittee work on R 117-2 “Test methods” and R 117-3 “Test report format” has begun.  If you have any questions, would like a copy of the R 117-1 DR, or would like to participate in the next phases of this project, please contact Ralph Richter at (301) 975-3997 or ralph.richter@nist.gov.

TC 8/SC 6 “Measurement of cryogenic liquids” (United States)

In July 2007 the Secretariat (United States) requested that Participating members and U.S. stakeholders decide if there was sufficient justification for opening a new project to revise R 81 “Dynamic measuring devices and systems for cryogenic liquids.”  The response received by the Secretariat indicated that a revision of R 81 was justified to update:  (1) electronic tests in accordance with the latest edition of OIML D 11 (2004) and/or the latest IEC and ISO standards; (2) technical requirements to include new developments in hydrogen measurements; (3) Annex C to include current recommendations for density equations; and (4) existing sections into three distinct parts similar in format to recently-developed OIML Recommendations.

Subsequently, the Secretariat submitted a proposal to the BIML requesting approval for the start of a new project to revise R 81.  The BIML submitted the proposal at the October 2007 42nd Meeting of the CIML and was granted approval of the project.  The Secretariat will ask members of TC 8/SC 6 to review and formally comment on R 81.  The Secretariat will form a National Work Group to establish a U.S. position on the appropriate updates to the document by spring 2008.  To obtain more information or to participate in this project, please contact Juana Williams at (301) 975-3989 or juana.williams@nist.gov.

TC 8/SC 7 “Gas metering” (Netherlands)

In October 2007, the CIML approved the merger of TC 8/SC 7 (with France and Belgium as co-secretariats) and TC 8/SC 8 “Gas meters” (with Netherlands as secretariat).  Netherlands has assumed responsibility of this newly merged technical subcommittee.  In April 2007, a DR of the new Recommendation “Measuring systems for compressed natural gas (CNG) for vehicles” was circulated with annexes covering performance tests for electronic devices and basic test procedures.  The postal ballot on this Recommendation failed, but the Recommendation was approved by the CIML in October 2007.  The United States voted “no” on both the postal ballot and at the CIML meeting because some of the system testing requirements were considered to be excessive and very expensive.

Also in April 2007 a postal ballot was circulated on another new Recommendation, “Measuring systems for gaseous fuel” and U.S. comments were submitted in June 2007.  This Recommendation is intended for large pipelines with large flow rates and high operating pressures.  The postal ballot on this Recommendation also failed, but the Recommendation was approved by the CIML in October 2007.

The final draft of OIML R 137-1 “Gas meters” was approved by the CIML at their October 2006 meeting in Cape Town, South Africa.  Published in 2007, OIML R 137-1 combines and replaces three old Recommendations that will soon be withdrawn:  R 6 “General provisions for gas volume meters,” R 31 “Diaphragm gas meters,” and R 32 “Rotary piston gas meters and turbine gas meters.”  Development of R 137-2 “Test methods” is now underway.  Please contact Ralph Richter at (301) 975-3997 or ralph.richter@nist.gov if you would like to obtain a copy of any of these gas measurement documents or if you would like to participate in future work of this subcommittee.

TC 9 “Instruments for measuring mass” (United States)

The Secretariat to OIML R 60, “Metrological regulation for load cells” (United States) reported that the new edition of R 76-1 was published in December 2007.  He expects to contact members of TC 9 and the USNWG in May 2008 to solicit their views on whether or not TC 9 should request approval from CIML for a new project to review R 60.  Based on the results of the solicitation, the Secretariat will provide the BIML with a recommendation on whether or not to establish a project to revise R 60.  The questionnaire will ask for feedback on everything from the basic principles of R 60 (e.g., tolerances and accuracy classes) to exploring the addition of new requirements.  For more information on these efforts, please contact Steve Cook at (301) 975-4003 or steven.cook@nist.gov.

TC 9/SC 1 “Nonautomatic weighing instruments” (Germany and France)

The revision of R 76 “Non-automatic weighing instruments” is of major importance to U.S. interests because the Recommendation serves as the foundation for a majority of the laws and regulations that govern weighing instruments around the world.  The revision includes new language addressing metrological controls for type evaluations, conformity, initial and subsequent inspections, suitability of separable components and requirements for metrological software.  The USNWG was consulted concerning proposals to harmonize NIST Handbook 44 and R 76.  As reported at the 2007 NCWM Interim Meeting, the DR of R 76-1 was approved by the CIML in October 2006.  Most recently, the United States voted “yes” on the DR of R 76-2 “Test report format.”  The final revision of R 76 was published in December 2007.  For more information on these efforts, please contact Steve Cook at (301) 975-4003 or steven.cook@nist.gov.

TC 9/SC 2 “Automatic weighing instruments” (United Kingdom)

The Recommendation R 134-1 “Automatic instruments for weighing road vehicles in motion – total load and axle weighing” was approved by CIML in October 2006 with the agreement that U.S. comments concerning terminology and document scope were to be incorporated before publication.  The test report format of this document, R 134-2, has been approved by the subcommittee and is going through a final editorial process at the BIML.

The 3 CD of R 106 Parts 1 and 2, “Automatic rail-weighbridges” were distributed by the Secretariat to members of TC 9/SC 2 on September 25, 2007.  Comments and vote were due February 11, 2008; however, the Secretariat inadvertently did not take into account the U.S. comments on the 3 CD.  Therefore, the vote will not be counted, and a 4 CD will be prepared.  In distributing the 3 CD, the Secretariat commented that although the 2 CD achieved majority approval, there were substantial comments and some amendments to the technical requirements of the 2 CD which did not make the draft suitable for issue as a Draft Recommendation.

The subcommittee approved a revision of R 107 “Discontinuous totalizing automatic weighing instruments (totalizing hopper weighers),” and approval was granted on the 1 DR at the October 2007 42nd meeting of the CIML.  However, the Secretariat first accommodated U.S. concerns by inserting into the document that national legislation will dictate whether the automatic zero tracking feature is allowed in a country.  The U.S. CIML member pointed out at the CIML meeting that the United States does not allow the automatic zero tracking feature.  If you would like to receive copies of these documents or work on these projects, Richard Harshman is the contact at (301) 975-8107 or at harshman@nist.gov.

TC 17/SC 1 “Humidity” (China)

The Secretariat (China) is working closely with the United States and a small IWG to revise OIML R 59 “Moisture meters for cereal grains and oilseeds.”  All drafts have been distributed to the USNWG, which for the most part is a subset of the NTEP Grain Sector.  A 4 CD was circulated to the IWG in August 2006.  U.S. comments on the 4 CD were returned to the Secretariat in November 2006.  A TC 17/SC 1 meeting was hosted by NIST in September 2007 to discuss the comments to the 4 CD.  At the TC 17/SC 1 September 2007 meeting, the subcommittee also discussed harmonization of the Recommendation for moisture with the TC 17/SC 8 subcommittee’s Recommendation for protein.  Please contact Diane Lee at (301) 975-4405 or at diane.lee@nist.gov if you would like to participate in this work group.

TC 17/SC 8 “Quality Analysis of Agricultural Products” (Australia)

A new subcommittee has been formed to study the issues and write a working draft document “Measuring instruments for protein determination in grains.”  Australia is the Secretariat for this new subcommittee.  A work group meeting was held in September 2006 in Ottawa, Canada, to discuss comments on the 1 CD.  A TC 17/SC 8 meeting was hosted by NIST in September 2007 to discuss the 2 CD.  At the September 2007 meeting the TC 17/SC 8 subcommittee also discussed comments concerning the maximum permissible errors (MPEs) and harmonization of the TC 17/SC 8 Recommendation for protein with the TC 17/SC 1 Recommendation for moisture.  Please contact Diane Lee at (301) 975-4405 or at diane.lee@nist.gov if you would like to participate in this work group.

OIML Mutual Acceptance Arrangement (MAA)

Note:  The report on the OIML Mutual Acceptance Arrangement (MAA) has moved.  It can now be found in Item 2 of the NTEP section of the NCWM Pub 16.  For further information on the MAA and its implementation, please contact Dr. Charles Ehrlich at charles.ehrlich@nist.gov or at (301) 975-4834 or by fax at (301) 975-8091.

# Report on the 42nd CIML Meeting in Shanghai, China, October 24 - 26, 2007

The International Committee of Legal Metrology (CIML) opened with addresses given by Mr. Li Chuanqing, Minister of the General Administration of Quality Supervision, Inspection and Quarantine of the People’s Republic of China (AQSIQ), Mr. Zhou Taitong, Deputy Mayor of Shanghai, and Mr. Alan E. Johnston, CIML President.  A quorum was reached as 48 Member States out of 59 were present or represented at the meeting.

The Committee noted that two new Corresponding Members, the United Arab Emirates and Sudan, had joined the OIML in the past year.

The CIML gave final approval to the following publications in China:

- Combined Revision of R 4, R 29, R 45 and R 96 “Vessels for commercial transactions”

- Combined Revision of R 117, R 105 and R 86 “Dynamic measuring systems for liquids other than water, Part 1:  Metrological and technical requirements”

- New OIML Recommendation “Compressed gaseous fuel measuring systems for vehicles” (the United States and the Netherlands voted “no” on this document, based on input from industry; also see below about a new work project to immediately begin revising this document)

- New OIML Recommendation “Measuring systems for gaseous fuel”

- Revision of R 21 “Taximeters”

- Revision of R 107-1 “Discontinuous totalizing automatic weighing instruments (totalizing hopper weighers), Part 1:  Metrological and technical requirements – Tests, and Part 2:  Test report format” (the United States voted “yes”, but indicated that the “automatic zero-tracking feature” is not permitted in the United States)

- Revision of R 35 “Material measures of length for general use, Part 1:  Metrological and technical requirements”

- Amendment 2 to D 2 “Legal units of measurement”

The CIML took action on the following publications:

- Recommendation R 24 “Standard one meter bar for verification officers” was re-confirmed

- Document D 4 “Installation and storage conditions for cold water meters” was withdrawn

The CIML approved the following new work projects:

- Project to revise R 79 “Labeling requirements for pre-packaged products”

- Project to revise R 81 “Dynamic measuring devices and systems for cryogenic liquids”

- Project to revise R 66 “Length measuring instruments”

- Project to revise the new OIML Draft Recommendation “Compressed gaseous fuel measuring systems for vehicles” – a new work item in (the newly merged) TC 8/SC 7.  (This revision should address U.S. concerns about this document.)

The CIML also approved the following proposals in China:

- Proposal to merge subcommittees TC 8/SC 7 Gas metering and TC 8/SC 8 Gas meters, with the Netherlands as the Secretariat of the combined subcommittee

- Proposal to reallocate the responsibility for Measuring Container Bottles from TC 8 to TC 6

The Committee noted efforts by the “Conformity to Type Work Group.”  The WG is in the early stages of developing a project to study the issue of conformity to type on a global basis.  The WG conducted two surveys on the subject in the past year, but survey results have thus far proved to be inconclusive as to how OIML should proceed on this.  Further study will follow.  A few countries have indicated they will be conducting some tests about this, although this is not a formally sanctioned OIML activity.

The Committee also took note of a presentation given by the BIML Director concerning the development of the first draft tables of correspondence between OIML Recommendations and the applicable requirements in the European “Measuring Instruments Directive (MID).”  The Bureau plans to continue its cooperation with WELMEC on this issue and requested the European participants of the appropriate TCs/SCs to assist in this effort as soon as a Recommendation reaches DR status.

The CIML presented Awards to the following individuals in recognition of their outstanding contribution to legal metrology:

- Mr. Romain Eggermont (Belgium)

- Mr. Gerard Lagauterie (France)

- Mr. Wayne Stiefel (United States)

- Mr. Ali Tukai (Tanzania)

- Mr. Bruno Vaucher (Switzerland)

It also gave Letters of Appreciation to:

- Mr. Peter Brandes (Germany)

- Dr. Charles Ehrlich (United States)

- Mr. Mikhalchenko Vassily Nikolaevich (Kazakhstan)

# Future OIML Meetings

The 13th OIML Conference and the 43rd CIML Meeting will be held in Sydney, Australia, in October 2008, and the CIML accepted Kenya’s invitation to hold the 44th CIML Meeting in 2009.

# Regional Legal Metrology Organizations

Meeting of the SIM General Assembly and SIM Legal Metrology Working Group (LMWG)

The SIM General Assembly was held in Ottawa, Canada, in September 2007.  Dr. Humberto S. Brandi, Director of Scientific and Industrial Metrology (SIM) at INMETRO Brazil, is the SIM President (elected last year).  Marcos Senna (senna@inmetro.rs.gov.br), also of INMETRO in Brazil, was announced this year as the new Chairman of the SIM Legal Metrology Work Group (LMWG).  A meeting of the SIM LMWG is planned for March 2008.  Topics to be discussed include composition of the SIM Legal Metrology Working Group, SIM Legal Metrology directory, survey on training needs and their implementation, events organization costs (translation, mikes, data-show, coffee-breaks, etc.), events calendar (dates, venue, organization committee, instructors, etc.), budget for 2008-2009, and correspondence/communications in LMWG.  Please contact Dr. Ambler Thompson at (301) 975-2333 or at ambler@nist.gov for more information.

APLMF Meeting

The 14th APLMF Meeting was held October 18 - 20, 2007, in Zouzhuang, China (just outside of Shanghai).  The United States was represented by Dr. Charles Ehrlich, who serves as Chairman of the APLMF Work Group on Mutual Recognition Arrangements, and Mr. Wayne Stiefel.  The APLMF conducted three training courses/seminars in 2007, including a train-the-trainer course on the verification of Mechanical Weighing Scales.  A workshop on Metrology of Agricultural Products and Foods was held February 7 - 9, 2007, in Chiang Mai, Thailand, and a Seminar on Electricity Meters was held March 19 - 22, 2007, in Shanghai, China.  The Peoples Republic of China assumed the Presidency and Secretariat of the APLMF at the conclusion of this year’s meeting.  The next meeting of the APLMF will be in late October 2008 in Sydney, Australia, just prior to the 43rd CIML meeting.