2.9

02-06

wt

wt - Pole Mounted Wire Terminals

Manufacturer	Catalog Number

wt-a Unprotected Filled Blocks

1-Pair	10-Pair	12-Pair	20-Pair	25-Pair	30-Pair	50-Pair

Channell	    --	    --	    --	    --	BMT60925B7 Series	     --	BMT650B7 Series

Emerson Network Power,

Energy Systems	5533G	    --	    --	    --	     --	     --	     --

Thomas&Betts(1)	    --	    --	    --	    --	C-2516	     --	C-2518

Tyco Electronics(1)

(DTerminator 2) 	    --	DT2-PMT	DT2-PMT	DT2-PMT	DT2-PMT	DT2-PMT	DT2-PMT

wt-b Protected Filled Blocks

1-Pair	10-Pair	12-Pair	20-Pair	25-Pair	30-Pair	50-Pair

Thomas&Betts(1)(2)	    --	    --	    --	    --	C-2517	    --	    --

Tyco Electronics(1)

(DTerminator 2)	    --	DT2-PMP	DT2-PMP	DT2-PMP	DT2-PMP	DT2-PMP	DT2-PMP

Note:

- Order stub cable length in accordance with manufacturer's instructions.

- These protected blocks use the Energy Network Power, Energy Systems Communications 1557 (R-800) cable-class "medium duty" arrester.

- These protected blocks use the DTerminator 2 cable-class "heavy duty" arrester.  Add details on Tyco types of protection i.e. – (1) Fail-Safe 265-600V 24 AWG protection for OSP applications and (2) Fail-Safe/Vent Safe 265-600V 24 AWG protection, which can be used for primary protection.