Poster Presentation 3-65

An Adaptation of GOD-PAP Method for the Quantification of Glucose in the Presence of Sucrose

Adilson R. Gonçalves*, Patrícia M.B. de Carvalho, Maria B. Medeiros

Departamento de Biotecnologia - FAENQUIL

CP 116

CEP 12.600-970 Lorena - SP, Brazil

E-mail: adilson@debiq.faenquil.br, URL: http://www.debiq.faenquil.br/adilson

GOD-PAP method was developed for glucose determination in whole blood, serum and plasma. In this work we propose an adaptation of this kit to be used to quantify glucose in the presence of sucrose. Glucose concentration (Cglu) is given by the equation:

Cglu = 1.18 Cmeas - 0.26 t - 7.52

where Cmeas is the measured absorbance in a given time (t in min). This equation has a maximum deviation of 5% for Cglu from 20 to 180 (g glucose mL-1.

[Financial support from FAPESP and CNPq]