COMPARISON OF AC AND DC POWERFLOW SIMULATIONS FOR TRANSMISSION PLANNING IN THE WESTERN INTERCONNECTION

1.  INTRODUCTION

The SSG-WI is presently proceeding with detailed Western Interconnection planning studies for ‘economic’ transmission expansion. The methodology uses “production simulation programs” with transmission modeling and LMP simulations to evaluate generation scenarios with and without the new transmission line or reinforcement.  The economic analysis will essentially compare how existing generators, absent new generation plant, would be economically dispatched differently for a system with or without the new transmission line.  Alternatively, overall economic benefits will be computed for locating new generation with or without the new transmission.

Impact of a New 500 kV Line in the Western Interconnection

Introducing a new transmission line, or reinforcement, impacts bus voltages and line loadings in the system.  The higher the line rating and voltage of the line, the greater the impact, especially in a sparse topology network as the Western Interconnection.  Also, the higher the loading on the lines, the greater are the system losses and voltage differentials, and a different pattern of loop flows.  A new 500 kV line will clearly impact the Western Interconnection significantly.  It is thus required to ensure that “economic” transmission additions do not also create or worsen a reliability problem in the system.

LMP Modeling in the Western Interconnection

Locational Marginal Pricing (LMP) simulations integrate economic and electrical powerflow analysis using optimal power flow (OPF) analysis or Security Constrained Optimal Power Flow (SCOPF).  This makes it possible to minimize system operation costs and dispatch economically available generators in the Western Interconnection system within generator MW operation limits and simultaneously enforce transmission line and control area thermal and area  interface limits (a seams problem).

While none of the Western Interconnection control areas have LMP markets presently as in the Eastern Interconnection, it is still advantageous to use the method to assess congestion or restrictions in the transmission system that prevent the least expensive supply of energy from generation to load.  It follows that it is useful to also study the impacts of new transmission (or generation) in the system using SCOPF and LMPs which give pricing signals.

In SCOPF, to enable the system to be ready to take on the next N-1 outage in accordance with current NERC/WECC criteria, “expected” forced outages are taken for a SCOPF generator dispatch. The extent of the “expected” forced outages (including critical 500 kV outages) that will be taken with the SCOPF model will thus have a critical bearing on the SCOPF simulation results and LMPs.  Running SCOPF solutions rather than plain OPF will provide an operations type generation dispatch that will lend value and credibility to the study.

Data for LMP Simulations

The basic network data for LMP analysis are available in existing WECC reliability programs modeling for electrical systems.  These include powerflow network bus and line topology, generator and load buses, line and transformer thermal loadings and interchange area constraints data, and a critical contingency list.

The minimum additional data required for economic dispatch, OPF, or SCOPF generation scheduling to minimize the operation costs and dispatch the available generators, are the following:  generator heat rates or input-output operating cost curves, fuel costs, and generator maximum and minimum limits for DC simulations.  For AC OPF or SCOPF simulations the following are additionally required:  voltage controls, voltage operating limits and reactive power limits or MW-MVAR capability curves for generators, capacitor controls, spinning, etc.  Note that DC programs do not have voltage and reactive power controls.  To perform 8760 hour simulations, hourly load shapes are required.  Further modeling functions include hydro and wind generation, outage scenarios, ramp rates, reserves policy, etc.

It is important that the SSG-WI data base currently planned have data that is available to all stakeholders who are desirous of performing LMP studies in the Western Interconnection.  Certain individual entities that perform studies in public stakeholder forums currently withhold certain economic analysis data stating that these are “confidential”.  This practice should be discouraged.  An example is “piece-wise” heat rate curve data of critical units.  Fig.1 below illustrates the difference between “confidential piece-wise” heat rate curve and the “SSG-WI average” heat rate curve.  Critical “confidential” data of specific generators which are different from the SSG-WI data base could result in OPF results and generator dispatches substantially different between one study and another.

Fig.1   Showing “confidential piece-wise” heat rate curve vs  SSG-WI “average” heat rate curve.

Use of ABB Gridview for SSG-WI studies

From the SSG-WI presentations, it is understood that the ABB program Gridview will be used for ‘economic’ transmission simulations and that it models the transmission system in detail.  The program will use generator and load buses from the GE PSLF and PTI/PSSE programs.  Hourly load curves can be stored and used in the production simulation. Random forced outages for generators are taken in Monte Carlo simulations.  Unit commitment is by using SCOPF calculations. The program has thermal line limits and can also use nomograms.  Hourly prices, shadow prices and line utilization can be displayed.

It was stated at the TSG meeting that the ABB Gridview program uses the DC powerflow algorithm. If this statement is incorrect and the program, or a newer version of it, uses an AC algorithm instead, the comments herein of the potential incorrect solutions that may be expected from DC powerflow programs will not apply to Gridview.  However, these comments will still apply to all other programs using DC algorithms, such as Plexos which the CAISO uses for ‘economic’ transmission evaluation, or any other DC production simulation programs that SSG-WI/WECC may plan to use or purchase.

2.  INACCURACIES IN DC POWERFLOW AND OPF MODELING

DC powerflow simulations have basic inherent inaccuracies arising from the fact that reactive power and voltage control, vital characteristics of the interconnected electric system, are not modeled.  Hence DC OPF modeling that does not include reactive power and voltage control operating constraints in determining the optimum economic dispatch and unit commitment of generators in the system would produce results substantially different from AC OPF modeling.  This is especially true for sparse systems such as the WECC.

For DC Powerflows :

- Voltages are made equal to 1.0 per unit value throughout the system.  This results in an unnatural voltage profile in the system. It is well known that the Northwest has higher voltages of about 110%, and voltages go down to nearly 100% at critical buses in California as power flows from NW to south.

- The line and transformer resistances are made equal to zero.  Hence losses cannot be evaluated.

- As a result, the DC powerflow solution will result in significant errors in line and transformer flows.

- These errors increase as large generator and line contingencies are taken in the Western Interconnection.

If losses are lumped with loads, other issues arise; the implications of this approach will be examined in greater detail in this paper.

Voltage Control and Reactive Power Issues in the WECC System are not Insignificant

WECC’s vulnerability to voltage instability is tied directly to voltage control and reactive power availability.  The following are a few points of interest:

- The WECC-wide July 2nd 1996 collapse was due to voltage collapse in the Northwest that cascaded into a system-wide blackout

- A high percentage of the operating transfer capability (OTC) limits in the WECC are currently limited by voltage instability and MVAR requirements.

- The attached file ‘VOL2004Final’ presents the WECC’s 2004 annual voltage stability summary report on voltage stability concerns Western Interconnection –wide  (See Ref.1).

- The dispatch of certain generators for dynamic voltage support, in addition to its MW supply, can be therefore critical for system reliability. These generators would be dispatched in an AC OPF but not in dispatched in a DC OPF because the DC program does not recognize voltage control or reactive power.

- Certain generators in AC OPFs are dispatched for both dynamic voltage support and spinning reserves

The NYISO uses an AC security constrained OPF (SCOPF) program for its market simulation, the main reasons are the voltage and reactive power constraints of the system which DC programs cannot deal with.

Losses in the WECC System are not Insignificant

The total losses in the WECC system are of the order of over 5000 MW during peak summer.  These are clearly not insignificant and the treatment of losses must be carefully evaluated.

It was stated that all transmission losses in powerflow solutions are included with the load located at substations.  There were other statements that loads are obtained from the EMS system of control areas.  These result from real-time AC measurements and are therefore specific to the loads downstream of the substation transformers. These loads would therefore correctly include distribution system losses.  But should the loads also include transmission losses?

For a load forecaster to come up with accurate load allocations for transmission losses, he would need to know the powerflows in the transmission system for different hours of the day, and then allocate it to the different load buses by some arbitrary formula; or use gross percentage loss approximations.  If there is a contingency in the system, for either transmission or generation outages, flows will change in the system and losses too as a result of redispatch.  A large generation trip in the Southwest could change the losses in the WECC by about 500 MW.

Clearly, lumping transmission losses with loads creates significant inaccuracies that can be summarized as follows:

- It is electrically incorrect to include losses with loads because loads do not create transmission losses

- The losses are not insignificant.  For peak loads, losses total over 5000 MW in the WECC. In the Northwest and Southern California, transmission losses are about 1000 MW, and about 800 MW in N.California.

- Power flows through lines will be incorrect in DC powerflow simulations correspondingly for normal flows, with even greater inaccuracies for generation and transmission contingencies

- Intertie flows (seams) will be correspondingly incorrect between control areas in DC powerflow simulations

Losses In LMP Computation

In an LMP solution, transmission losses would be included in the marginal loss component of LMP (note: marginal loss being the derivative is twice the value of power flow in per unit because losses are the square of the current flow), and should therefore be subtracted from the load to prevent double accounting of losses.

As stated earlier, the New York ISO (NYISO) uses AC OPF simulations in their LMP market.  In the figure shown below taken from the NYISO real-time market on Jan.13, 2005, the loss component can be seen to be significantly higher in the Long Island zone, which also has significant congestion, than in other zones.

Fig. 2  Typical Real-time Jan.13, 2005 LMP Recording of the NYISO Market

In a current proposal for a HVDC submarine cable project between Pittsburg substation and the San Fransisco Peninsula, the economic justification of the project is being made on the basis of improvement of LMP prices and the saving in transmission losses in the HVDC alternative compared with power supplied by AC overhead transmission into the peninsula.  This project hence cannot be studied using DC OPF/SCOPF methods. (See Ref. 2 and Attachment 1).

Losses in AC Powerflow Solutions

Losses are part of the AC powerflow solution and the above inaccuracies do not occur in an AC powerflow solution or in AC LMP simulations.

It follows from the earlier discussion on DC powerflow simulations, that in the preparation of the loads in the database for the WECC AC power flow simulations, the load data so carefully prepared by the control areas inclusive of transmission losses will have to be doctored now in the reverse direction to remove the losses from the loads in the WECC AC powerflow database!  It is assumed that this is being done by WECC staff or other work groups; but if this is not being done, WECC AC Powerflow simulations will be correspondingly incorrect!

3.  COMPARISON OF AC AND DC POWERFLOW SIMULATIONS USING THE 2003 HEAVY SUMMER CASE

Table 1 shows the results of simulations of a 2003 Heavy Summer peak load base case used for OTC operating studies in 2003.  The area results for generation, load, and losses are summarized in this table.  Losses in the AC system are 5371 MW.  The case has 144,762 MW of generation and 139,269 MW of load.  The transmission losses in each control area are also shown in the Table..

In the same table, the results showing simulations by a DC power flow algorithm are included for comparison.

Both AC and DC simulations were performed with the Powerworld program.

Note that the scheduled and actual intertie flows between control areas are maintained in both solutions and very closely match each other through the interchange controls in the program.

Table 1  Results of AC and DC simulations with 2003 Heavy Summer peak load case

| AC Powerflow Area Records – |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Area Num | Area Name | Gen MW | Load MW | Tot Sched MW | Int MW | ACE MW |  | Loss MW |
| 54 | ALBERTA | 7531.1 | 7680.3 | -400.1 | -400.14 | -0.04 |  | 240.64 |
| 52 | AQUILA | 707.01 | 738.47 | -54 | -54.02 | -0.02 |  | 22.55 |
| 14 | ARIZONA | 17437.78 | 14470.56 | 2558.4 | 2558.26 | -0.14 |  | 395.47 |
| 50 | B.C.HYDR | 9429.98 | 6212.63 | 2754.4 | 2753.61 | -0.79 |  | 463.74 |
| 60 | IDAHO | 3904.34 | 3157.2 | 506.1 | 506.48 | 0.38 |  | 240.65 |
| 21 | IMPERIAL | 859.77 | 690 | 148.1 | 148.35 | 0.25 |  | 21.42 |
| 26 | LADWP | 3728.04 | 5617.32 | -2404.4 | -2403.77 | 0.63 |  | 512.32 |
| 20 | MEXICO-C | 2068.83 | 1860.7 | 177.4 | 177.49 | 0.09 |  | 30.63 |
| 62 | MONTANA | 2935.01 | 1634.13 | 1199.4 | 1199.54 | 0.14 |  | 100.96 |
| 18 | NEVADA | 4045.98 | 4952.61 | -966.7 | -966.64 | 0.06 |  | 60.01 |
| 10 | NEW MEXI | 2677.55 | 3154.46 | -625.4 | -625.31 | 0.09 |  | 144.12 |
| 40 | NORTHWES | 28925.91 | 22873.98 | 4972.6 | 4973.05 | 0.45 |  | 1031.41 |
| 65 | PACE | 5787.1 | 5989.7 | -440.9 | -440.51 | 0.39 |  | 237.8 |
| 30 | PG AND E | 22879.11 | 23885.64 | -1856.4 | -1859.16 | -2.76 |  | 824.87 |
| 70 | PSCOLORA | 5743.06 | 6675.07 | -1110.6 | -1110.57 | 0.03 |  | 171.29 |
| 22 | SANDIEGO | 1684.64 | 4079.79 | -2490.6 | -2490.45 | 0.15 |  | 95.25 |
| 64 | SIERRA | 1421.47 | 1663.76 | -299.4 | -299.09 | 0.31 |  | 53.89 |
| 24 | SOCALIF | 13853.57 | 20069.25 | -6650.3 | -6650.45 | -0.15 |  | 434.74 |
| 19 | WAPA L.C | 3759.53 | 151.3 | 3482.2 | 3482.37 | 0.17 |  | 120.84 |
| 73 | WAPA R.M | 5329.36 | 3743.16 | 1422.2 | 1422.49 | 0.29 |  | 163.55 |
| 63 | WAPA U.M | 53.16 | -31 | 78.1 | 78.43 | 0.33 |  | 5.73 |
|  | Totals | 144762.3 | 139269.03 | 0.1 | -0.04 | -0.14 |  | 5371.88 |
| DC Powerflow |  |  |  |  |  |  |  |
| Area Records |  |  |  |  |  |  |  |
| Area Num | Area Name | Gen MW | Load MW | Tot Sched MW | Int MW | ACE MW |  | Loss MW |
| 54 | ALBERTA | 7290.02 | 7680.3 | -400.1 | -400.1 | 0 |  | 0 |
| 52 | AQUILA | 684.47 | 738.47 | -54 | -54 | 0 |  | 0 |
| 14 | ARIZONA | 17042.57 | 14470.56 | 2558.4 | 2558.39 | -0.01 |  | 0.01 |
| 50 | B.C.HYDR | 8967.03 | 6212.63 | 2754.4 | 2754.41 | 0.01 |  | -0.01 |
| 60 | IDAHO | 3663.3 | 3157.2 | 506.1 | 506.1 | 0 |  | 0 |
| 21 | IMPERIAL | 838.1 | 690 | 148.1 | 148.1 | 0 |  | 0 |
| 26 | LADWP | 3214.92 | 5617.32 | -2404.4 | -2404.4 | 0 |  | 0 |
| 20 | MEXICO-C | 2038.1 | 1860.7 | 177.4 | 177.4 | 0 |  | 0 |
| 62 | MONTANA | 2834.38 | 1634.13 | 1199.4 | 1199.4 | 0 |  | 0 |
| 18 | NEVADA | 3985.91 | 4952.61 | -966.7 | -966.7 | 0 |  | 0 |
| 10 | NEW MEXI | 2533.25 | 3154.46 | -625.4 | -625.4 | 0 |  | 0 |
| 40 | NORTHWES | 27890.41 | 22873.98 | 4972.6 | 4972.6 | 0 |  | -0.01 |
| 65 | PACE | 5548.9 | 5989.7 | -440.9 | -440.9 | 0 |  | 0 |
| 30 | PG AND E | 22055.29 | 23885.64 | -1856.4 | -1856.5 | -0.1 |  | 0 |
| 70 | PSCOLORA | 5571.5 | 6675.07 | -1110.6 | -1110.6 | 0 |  | 0 |
| 22 | SANDIEGO | 1589.23 | 4079.79 | -2490.6 | -2490.6 | 0 |  | 0 |
| 64 | SIERRA | 1367.18 | 1663.76 | -299.4 | -299.4 | 0 |  | 0 |
| 24 | SOCALIF | 13418.97 | 20069.25 | -6650.3 | -6650.29 | 0.01 |  | -0.01 |
| 19 | WAPA L.C | 3635.04 | 151.3 | 3482.2 | 3482.2 | 0 |  | 0 |
| 73 | WAPA R.M | 5165.51 | 3743.16 | 1422.2 | 1422.2 | 0 |  | 0 |
| 63 | WAPA U.M | 47.1 | -31 | 78.1 | 78.1 | 0 |  | 0 |
|  | Totals | 139381.18 | 139269.03 | 0.1 | 0.01 | -0.09 |  |  |

COI Flows in AC and DC simulations

COI flows are shown on Figs. 3 and 4 for AC and DC simulations.  The lines shown are Malin to Round Mountain # 1 and 2, and Captain Jack to Olinda. The differences between AC and DC are about 262 MW between the two solutions.

Such differences, to varying degrees, between AC and DC solutions exist for line flows throughout the system arising from losses and voltage profile differences between the two simulations.  It is expected that similar differences would result in a one year run which essentially will result in similar errors 8760 times.

Fig. 3   COI – AC solution: COI Path Flows are the sum of 1514, 1495 and 1639 MW over the 3 Lines

Fig. 4   COI – DC solution: COI Path Flows are the sum of 1429,1403 and 1554 MW over the 3 Lines.  Note Reactive Power in MVAR is zero, also voltages are 1.0 pu

Voltage and Angle Profiles of the WECC for AC and DC simulations

Voltage profiles are shown in Figs. 5 and 6.  In the AC system, significant voltage differentials exist between the sending end (Northwest) and the receiving end (California) and vary from about 110% to 95% as in the real system.  In the DC power flow, voltages equal 100% for all buses throughout the system, an unrealistic simulation of the real system.

Fig. 5    AC Voltage Contour of WECC showing voltages varying from about 110% to 95% as in the real system

Voltage and Angle Profiles of the WECC for AC and DC simulations

Voltage profiles are shown in Figs. 4 and 5.  In the AC system, significant voltage differentials exist between the sending end (Northwest) and the receiving end (California) and vary from about 110% to 95% as in the real system.  In the DC power flow, voltages equal 100% for all buses throughout the system, unlike the real system.

Fig.6   DC Voltage Contour- voltages at all buses are 1.0 pu or 100%, an unrealistic simulation

Losses	Comparison – AC and DC

The losses in each control area in the Western Interconnection are given in Table 1. Generation is correspondingly higher in the AC solution.  In the DC powerflow, losses are zero.

LMP Powerflow Calculations

LMP simulations are expected to show similar differences between AC and DC programs as demonstrated above because of the differences in generator dispatch to meet system voltage constraints and reactive power limits of generators that have to be met in the real world of the electrical system.

Unique Differences between Western and Eastern Interconnections

In the ongoing discussion of DC vs AC LMP market systems currently operating in the Eastern Interconnection, DC SCOPF are used in PJM, NE-ISO and MISO.  AC SCOPF is used in NYISO.  CAISO is currently planning for an AC OPF.  The DC vs AC discussion is well documented in an article in the IEEE Power & Energy Magazine issue of July/August 2004 (Ref.3).  In this article the NYISO has given the reasons why they felt that it is advantageous to go to an AC SCOPF program for their system simulations where losses and congestion play critical roles. This issue is discussed in some detail later. NYISO uses AC methods for both their market simulator as well as their network auctions for transmission congestion contracts or financial transmission rights recognizing that even though longer computation time is involved, the results are more valid for their system.

There are unique differences between the Western Interconnection and other market systems in the Eastern Interconnection.  The Western Interconnection is sparser, with long EHV lines connecting remote generation to load centers, and large frequency-responsive hydro generation located primarily in the Northwest.  Spinning reserves are not uniformly distributed. There is a significant loop flow problem. The Western Interconnection is subject to power and voltage swings for even moderately high generation trips affecting the California system. A market system exists in CAISO that comprises over 33% of the entire WECC load with high imports over 500 kV interties, so that its impact to WECC is significant. The 1996 system collapses in the Western Interconnection indicated its vulnerability to both undamped oscillations and voltage collapse. Current operating transfer capabilities (OTCs) of key interties are limited by both phenomena; however voltage collapse limitations dominate OTC limits.

4.  VALIDATION OF DC POWERFLOW AND OPF SIMULATIONS IS REQUIRED

Validate the DC Powerflow Simulation Comparing with the AC Powerflow for a Single Run

Validating simulation programs against real-time system performance is a goal in the electrical industry in general and we have been particularly successful in WECC in this respect.  Given the inaccuracies demonstrated, there is no reason why a DC Power Flow program solving a real network for voltage and powerflow distribution should not be validated against real system AC recordings.  Such a validation will go a long way to assure the credibility of the economic transmission evaluation process based on the LMP studies that SSG-WI has embarked upon.

Before going into an 8760 simulation with a DC program, it is recommended that SSG-WI should “validate” the DC model proposed to be used for a single run and estimate the extent of error in the simulations and evaluate the potential error impact on economic evaluation.  The errors noted from a single run will likely result in similar errors 8760 times (of varying magnitude) in a one year run.  The ‘validation’ check with real-time operational flows and voltages will determine the extent of variance and error for a variety of operational scenarios and contingencies.

The validation could be performed using AC validation basecases already available with WECC for real system disturbances.  These cases have been checked against monitored recordings of bus voltages and flows before and after the event.  Quantities to be compared between the AC and DC programs will include generator MW dispatch for each generator, bus voltages, angles, intertie exchanges, major line and transformer flows and control area losses.

Compare DC OPF Powerflow and AC Simulations with a Single Run

After the validation of the ‘plain vanilla’ power flow is done as described above, the DC OPF program results can be compared to an AC OPF program for a single run.  The errors noted from a single run will likely result in similar errors 8760 times (of varying magnitude) in a one year run.

Available AC Programs with OPF or SCOPF Features

It is understood that robust AC OPF Programs which can perform 365 day simulations that have special solution techniques for dealing with convergence are available from vendors such as Nexant.  These programs have been used with large systems in the Eastern Interconnection.  Other vendors with AC OPF or SCOPF programs include Powerworld, PTI, LCG etc. A copy of Nexant’s SCOPE program is attached for information.  PTI-PSSE ‘s url is http://www.pti-us.com/PTI/software/psse/opf.cfm .

5.  CONCLUSIONS AND RECOMMENDATIONS

- DC powerflow, OPF and SCOPF programs ignore the very significant constraints imposed by AC voltage control and reactive power production in dispatching generators.

- If these are ignored in a sparse system such as the WECC, we could end up having non-optimal dispatch of generators in the real system.  The results of ‘economic’ transmission planning which computes overall benefit from a simulated ‘optimum’ generation dispatch could very well be open to question by ignoring voltage and reactive power  system constraints.

- Losses of over 5000 MW in the WECC with its long transmission lines and remote load areas are significant and can only be modeled correctly using an AC powerflow program.  These losses generally increase during contingencies.

- Before the Western Interconnection goes very much further in deciding the type of programs to be purchased by WECC for transmission ‘economic’ analysis, it is recommended that a validation of the DC powerflow and DC OPF/SCOPF programs should be made versus the AC programs. This validation can be done easily for a single run.  The errors noted from a single run will likely result in similar errors 8760 times (of varying magnitude) in a one year run.

- The oft repeated reasons of non-convergence of AC OPF programs should be carefully evaluated in the light of NYISO’s insistence in using AC programs for their LMP real-time market recognizing its very clear advantages in simulating their system where voltage issues, constraints and high losses are a dominating feature of the NYISO system.  Fig.2 of this paper highlights realtime LMP issues in NYISO.  Improved AC SCOPF programs are available that offer new techniques to deal with convergence problems.

Les Pereira P.E.

January 31st 2005

References

- ‘VOL2004Final’ - WECC’s 2004 Annual Voltage Stability Summary Report.

- Comments on the Evaluation of the Bay Area HVDC Project,  Les Pereira, NCPA, Nov.15,2005, sent to CAISO.  See Attachment 1.

- “The Rights to Fight Price Volatility - Financial Transmission Rights Are an ImportantTool in Hedging Against Congestion Cost Volatility and Promoting Liquidity in Energy Markets” - by O. Alsaç, J.M. Bright, S. Brignone, M. Prais, C. Silva, B. Stott, and N. Vempati with contributions from the New York and Midwest ISOs, published in the IEEE Power & Energy July/August 2004 Vol2, No.4.

Attachment 1

Comments on the Evaluation of the Bay Area HVDC Project

The supply of electrical power to the San Fransisco peninsula, surrounded on three sides by water, is a challenge that is compounded by the planned retirement of key generating units located at the northern extremity of the peninsula. Currently, this is through AC transmission from the south side only through essentially radial feeds from the Greater Bay Area.  This radial system configuration has therefore all the attendant problems that need mitigation during contingencies, including overloading of lines, voltage support with supply of reactive power, and voltage stability.  As the Potrero units retire, “dynamic” voltage support will increasingly fall on the SVC (Static Var Compensator) to be installed at Potrero.  Also four CCSF combustion turbine peaking units planned at the same location will provide voltage support provided they are dispatched and thus operating at the time of the contingency.  PG&E, through a series of upgrade projects, is currently planning to provide the necessary support of the growing San Fransisco peninsula load, and also the Greater Bay Area load.  However, further reinforcement is needed for the area.

The HVDC submarine cable project provides power directly to the loads in the northern extremity of the San Fransisco peninsula from generators located in the Pittsburg and Contra Costa region, thereby bypassing the AC transmission feeds from the south side of the peninsula.  This dramatically reduces the losses in the transmission system (about 36 MW at peaks) and improves generally the voltage and angle profiles of the electrical system in the San Fransisco peninsula and Greater Bay Area regions.

Using the LMP (Locational Marginal Price) method of analysis, the project proponents have attempted to show that the benefits from the improvement of voltages, flows and losses in the transmission system, and power from more economic Bay Area generators, will substantially offset the higher costs of HVDC submarine transmission.

The quality and experience of the internationally known HVDC equipment and submarine cable manufacturers would appear to be well established.  Therefore, the questions on the project evaluation are focused on whether the LMP transmission “benefits” and loss reductions have been properly calculated, and whether the LMP modeling, data accuracy and methodology adopted are appropriate and correct.  Recognizing that this is a fairly new approach to project evaluation in the industry, and because there has been considerable debate on the specific methodology to be adopted, it is appropriate to go into some depth into the comparison of methodologies and simulation models.

The project proponents appear to have limited the load serving capability analysis to  San Fransisco and the peninsula north of San Mateo and have not included the Greater Bay Area (see answers by B&B to questions) stating that the study focus was the San Fransisco peninsula.  The Optimal Power Flow (OPF) program simulations are stated to minimize the Greater Bay Area cost function.  This approach has given rise to several comments from stakeholders regarding (a) the ‘correctness’ or adequacy of simulations, (b) the impact on other areas of the system who may be ‘disadvantaged’, and (c) LMP benefits and losses that may be incorrect if the area of study is expanded to the Greater Bay Area and beyond.

It is believed that all these questions could be addressed by performing simulations of the entire CAISO controlled area using an AC Security Constrained Optimal Power Flow (SCOPF) program, including key contingencies that would affect the area including outage of the HVDC line itself as well as other critical contingencies in the Pittsburgh area etc.  This would also be the simulation closest to CAISO’s future proposed operational LMP simulations. The data for the CAISO generation could be obtained from CAISO who has performed LMP type studies for the STEP and other projects.

The Security Constrained Optimal Power Flow (SCOPF) considers not only normal operating limits, but additionally optimally dispatches generation economically to also mitigate violations that would occur during contingencies.  The list of contingencies to be run for the HVDC project would include an outage of the HVDC line itself as well as other critical contingencies, including for instance, N-1 for lines in the Pittsburgh area which is the source of generation to the HVDC project.  The SCOPF “looks ahead” and dispatches generators optimally so that the total operating cost is minimized, and at the same time assures that no security limit will be violated for any of the selected contingencies if they do occur.

The project proponents have analyzed the annual transmission benefits (for the first year) by dividing the year into three discrete periods of peak (15%), intermediate (65%), and off-peak (20%).  Since the LMP simulations have not been performed on an 8760 hour basis, it would appear that the economics for transmission benefits would likely be overstated.  The accuracy could be improved with a greater sampling of peaks, intermediate and off-peak levels.

The CAISO’s TEAM (Transmission Economic Assessment Methodology) uses an 8760 hour simulation, evaluating total consumer and producer net benefits, developed with a DC OPF program with essentially generation planning algorithms.  It was completed under deadlines imposed by the ALJ for the Path 26 Upgrade Project.  The method analyzes Path 26 which is a path between two zones (utilities).   The TEAM method uses a DC program that has two disadvantages: (a) DC-OPF cannot enforce voltage and reactive power limits and (b) the DC-OPF cannot calculate losses. Both the above features are required for a proper evaluation of the HVDC project.  The DC OPF program will basically provide inaccurate results as far as the HVDC project is concerned which is located in a critical “load pocket”, and for which voltage constraints are critical, as well as the proper evaluation of losses, both of which are not simulated in the DC OPF. Using the DC OPF program by the TEAM method will most likely be prejudicial to the HVDC project.

To provide a fair comparison of the AC alternative to the DC project, a similar LMP type analysis should also be performed for the AC alternative.

Comments sent to CAISO by

Les Pereira P.E.

NCPA

Nov.15, 2004

# Footnotes

These remarks on the advantages of theoretical Western Interconnection-wide LMP studies with SCOPF programs and not a commentary of the current CAISO efforts in LMP market modeling under MD02 using “isolated” system models of CAISO which have substantial seams and loop flow LMP and CRR modeling issues still to be resolved.

In comparison, NYISO, PJM, and NE-ISO comprise about 5% to 8% of the Eastern Interconnection.

This validation approach was suggested to the CAISO when they were attempting to set up their economic transmission planning process for the first time for Path 26 studies.  On account of tight ALJ deadlines, CAISO justified the use a DC program by Plexos to avoid the complexity of AC OPF programs citing long simulation times, convergence issues etc. They have since continued to use Plexos in subsequent project evaluations without validating results of their DC program vs real system conditions.

It may be argued that a parallel configuration would be Cleveland, Ohio, which is located on the Lake Erie shoreline with restricted transmission access.  Cleveland found itself in an unenviable position on August 14th 2003 when a nearby large generating plant tripped out and lines supplying Cleveland started tripping out thereafter starting off the Eastern blackout.

CAISO correctly stated in the Introduction to the TEAM report for Path 26 : “We do not consider this report to be the final end-all treatise with respect to economic evaluation of transmission upgrades.”