THE OPTIMIZATION OF A GLUCOSE OXIDASE-MODIFIED ROTATING DISK  ENZYME ELECTRODE, A. A. Peverly, N. J. Ronkainen-Matsuno*, Benedictine University, Department of Chemisty, Lisle, IL 60532, NRonkainen@ben.edu

Enzyme electrodes combine the sensitivity of electrochemical detection with inherent bioselectivity of enzymes.  Enzyme electrodes have increased usage as they are simple to construct, inexpensive, provide rapid analysis, easily regenerate and are reusable.  However, rotating enzyme electrodes (RDEE) are less commonly studied and not commercially produced.  The rotation of the RDEE provides continuous stirring of the bulk solution and faster transport of the analyte to the electrode surface resulting in shorter detection times and faster overall analysis.  The RDEEs are also less likely to suffer from electrode fouling in biological sample matrix, a major limitation of the existing enzyme electrodes.  In this study, rotating disk electrodes modified with glucose oxidase (GOx) were constructed as working electrodes for the amperometric detection of β-D-glucose.  The enzyme glucose oxidase (GOx) is highly specific for β-D-glucose and was directly immobilized onto the Pt electrode surface through electrodeposition.  A membrane prevents enzyme leaching due to the centrifugal force generated as the electrode rotates. The oxidation of the H2O2, enzymatically generated in the presence of glucose and oxygen, was detected at the optimized potential of 0.65 V vs. Ag wire using a three-electrode configuration.  Additional experimental conditions such as pH, temperature, and electrode rotation rate were optimized with free and/or bound enzyme.  The optimal experimental conditions were:  pH 9.0, temperature 56º C, and electrode rotation rate in the range of 400-800 rpm.  Also, surface area of the electrode was determined by chronocoulometry of 6 mM ferricyanide and the detection limit was established.  The specificity of the GOx RDEE for β-D-glucose relative to sweeteners structurally similar to β-D-glucose was also studied.  GOx RDEE was highly specific for β-D-glucose.

A. A. Peverly was financially supported by the Natural Science Summer Student Research program at Benedictine University.