# MEMORANDUM

To:	Distribution

From:	F. Dylla

Subject:	FEL Upgrade Project Weekly Brief – September 8-12, 2003

Date:	September 12, 2003

Highlights:

Since the last report (Aug. 29th), we took the FEL Upgrade off line for all of Labor Day week for several activities: (1) check-out and/or replacement of both the 6 micron and 10 micron optics; re-cesiation of the gun; and completion of the core drilling of the ceiling of the FEL vault to allow installation of the THz beamline later in the year.  Commencement of commissioning activities was delayed until yesterday due to problems with the Central Helium Liquifier.  The driver accelerator was successfully brought back-on line yesterday afternoon and we have started on a program to recover lasing at 6 microns, move to 10 microns and then optimize the performance at 10 microns by varying the electron bunch length.  During the down period we collected valuable data on our optics and have focused our next steps on optimizing the driver accelerator under the direction of Dave Douglas.  Stay tuned for more light.

Commissioning:

In spite of time consuming limitations this week, we successfully recirculated and energy recovered electron beam after more than a week of down time.  Most of the week was devoted to completion facility THz penetration into Lab 3 and difficulties with the CHL (Central Helium

Liquifier) (See below.)  We are now preparing for next week’s studies of:

•	electron bunch mismatch to the optical mode,

•	10° vs 20° off-crest running,

•	THz measurements of bunch longitudinal dimensions,

•	Heating effects on the OC mirror.

Commissioning activities were impeded by THz port installation and problems with the CHL. This allowed considerable time for cogitation and discussion of FEL performance limits, with an emergent consensus that laser output was likely limited at least in part by longitudinal mismatch of the electron beam at the wiggler. Observations supporting this conclusion are largely heuristic rather than quantitative, but are nonetheless compelling:

1. PARMELA results for various injector parameter sets similar to those run during laser optimization - if propagated to the wiggler - result in phase space configurations which, when used as initial conditions in FEL simulations, closely match the observed laser performance. These same results suggest we were either over bunched at injection (resulting in excessive bunch length and low peak current at the wiggler) or very tightly bunched (~50 fsec, in simulation, with large beam momentum spread) at the wiggler - too short & with too large an energy spread for optimum laser operation.

2. A check of optimized Happek device output (a measurement of bunch length) at different linac phase operating points (10 and 20 degrees off crest) indicates that the linac and recirculator transport provides the anticipated longitudinal phase space rotation and compression.  Compression occurred at roughly the recirculator trim settings predicted by the machine model and gave a factor of two stronger signal at 20 degrees off crest than at 10 - indicating the bunch was a factor of 2 shorter (as expected) at 20 degrees gang phase.

3. Preliminary THz observations produced complex (and somewhat confusing) spectra - which, after discussion with Rui Li, were interpreted as possible evidence of microbunching, a phenomenon that could well occur at bunch lengths in the 10s of fsec range.

4. Ongoing rumination on recirculator transport has regurgitated a particular point raised when the "temporary" DY was installed in the 1st arc as a bridge measure until the "permanent" GY became available - because the DY cannot be run in series with the rest of the recirculator, the tracking accuracy and stability needed from the power supplies exciting both the DY and the GX/GQ/GW string are an order of magnitude tighter than the installed system specs (due to the large individual compactions generated in each substring). As a consequence, the temporal jitter of bunch at wiggler is likely at least an order of magnitude larger (10 of fsec) than either the nominal configuration will provide or that occuring in the IR Demo. Coupled to the likely use of ultrashort bunches, it is entirely possible that optical mode/electron bunch overlap has been severely compromised. As a point of comparison, the Demo mode/bunch duration was ~400 fsec, with ~10 fsec jitter (primarily from RF/momentum compaction) while in the Upgrade, we could potentially have 50 fsec bunch duration with, e.g., 10 fsec from RF jitter, 30 fsec jitter from the DY (assuming the spec'd 10^-5 field stability) and 100 fsec jitt.

Management:

At this week's International FEL Conference held in Japan, papers were presented on the "First Lasing of the IR Upgrade FEL at Jefferson Lab" by Steve Benson, "The Jefferson Lab THz/IR/ UV Light Source Facility (in the satellite FEL User's Workshop) by Michelle Shinn, and "A Comprehensive Study of the Phase Noise in Mode Locked Lasers" by Michelle Shinn. 

The bi-monthly financial report for the 10 kW FEL project for the period Aug.16-Aug 31 
was forwarded to the DOE contracting officer and the ONR program office. 

On Thursday, Sept. 11 the FEL Facility hosted a tour for 36 attendees from the Directed Energy Professional Society meeting held this week at the Northrup Grumman Newport News R&D Center.

WBS 4 (Injector):

Last week we did a heat clean of the wafer and did a new activation. We achieved 6% QE on the cathode. Work continued on the second stack with the electrodes being pulled for modifications in the shop.

Gun HVPS - The Gun HVPS was tested with its 2nd drive stack integrated into the HVPS.  The indicated current jumps up at about 245 kV and increases linearly as the voltage is increased.  The voltage remains quiet and regulated at all voltages.

WBS 6 (RF):

Commissioning - This has been a very difficult week. Monday was lost due to the THz port construction not being finished on Saturday.  Tuesday and Wednesday were lost due to CHL problems with NL 10 on the CEBAF machine.  Thursday was used to run and exercise the machine in Hot Checkout.  All systems ran well.  Beam was recirculated and energy

recovered.  The optics group was able to gather data on the stability of the FEL mirrors.  Friday to machine was turned over to D. Douglas for bunch length and difference orbit tests, but LCW leaks were discovered in 2 magnets, the Quarter 4 HVPS had a problem with a Fast Body Current interlock chassis, and at 13:15 CHL tripped again.

RF - The RF cavities were badly detuned due to the many CHL trips, but all RF systems were up and operational within 1 hr.  They operated without any problems the rest of the day.

WBS 8 (Instrumentation):

Operations support - In the normal fashion, support for machine operations and shift-work continue to demand our time.

- The HR Mirror Heater Control Chassis is 95% completed, and has passed initial testing.

- The Heater Control PCB design has been completed and documented, a manufacturing quote is in progress.

- A second Acromag fanout card has been assembled with a front panel for an EPICS interface for the chassis.  More front panels will be fabricated to accommodate future cards as well as existing ones.

- The design for the front panel of the GC Power Supply has been completed and fabrication is in progress.

- Completed fabrication of 2 GC power supply chassis and are ready to be installed.

- Installation of the SLM attenuators continued along with the ND1 and ND2 filters inside the vault.

- Drive Laser Pulse Control - We corrected an issue with the micropulse frequency generator board.

- The peak voltage of it's drive signal to the Electro-Optical Cell (EO cell) was down by 20%. This was due to an oversight of its dependence on the supply voltage setting. After modifying the supply voltages, the signal is now running to specification.  With this done, we are now operating the drive laser with two EO cells for increased contrast ratio from the drive laser pulses.

- AMS/Video Upgrade - The new AMS/Video switcher chassis design is proceeding well. The schematic for the new core crosspoint module is being finalized as is the placement of the connectors and other key components in the design. With the schematic done we are beginning the board layout today.

- In parallel, at 16 channel breakout board is being developed. This boards will gather the AMS and video inputs from the machine and map the signals to the high-density connectors being used in the core crosspoint module design. This board is done and has been sent-out for prototype today.

- Linux-based EPICS for Emittance Measurements - The Tcl/Tk script support is in place and testing is underway.  The integration and timing is being worked out for the operations now available in the Tcl script.  Users now have the ability to save the recorded data into files for use with other software, allowing them to perform calculations and simulations of their liking.  The data files consist of: background measurement, row sums, column sums, all current settings, and the image. Also, The acquisition of a more advanced video capture card has been approved. This will allow for total self containment of the Framegrabber software. No outside software, such as Max Video, will be a requirement for proper calculations of emittance.  The beam sync problem will be solved local to the system.

- Modifications to the Charge/Dump Current Monitor Chassis and the Buffer/Driver Box attached to the dump are being documented and the drawings updated.  System drawings are being created for this system and the Dump Water Control System.  Procedures for tagging out the magnets and certification of the Machine Protection System are still being fine tuned and should be out soon.

WBS 9 (Beam Transport):

Dipoles

Bend/ Reverse Bend Dipoles ((GQ/GX)

• 	I designed and started manufacture of an aluminum and brass wedge system.  The system is a substitute for the wood wedges at the end of the gaps in the pole tips in GQ serial # 2 & 3.  The wood wedges were placed there to keep the end face shims from moving from under their clamps, into the gap under magnetic excitation.  Pins in the shims of the other GQs eliminate the need for the wedges in their gap

Chicane Dipoles (GW)

• 	I designed and am having fabricated a set of brackets to add better adjustability to the field clamp adjustment system of this style of magnet. We will install the system on to the

6 magnets for the UV branch before they are measured.

Arc 180 Degree Dipoles (GY)

• 	The second magnet is assembled and ready for testing.

Installation:

• 	The position of the Field clamps in the Bends (GX) and Reverse Bends (GQ) of the Second Arc was checked during the down period this week.  A discrepancy was found in one field clamp of the second GQ where the vacuum chamber was resting on the clamp and distorting it.  We released the pressure by adjusting the support clamps on the chamber and the clamp sprung back straight.

•	During the check we took notice of the actual field clamp adjustment numbers.  They turn out to be the same for all magnets, showing that the construction was consistent within the factor of 1 part in 1000 necessary for magnets to qualify within their family.  The core machining folks (Process Equipment Co.) did a good job.

WBS 11 (Optics):

The past two weeks of limited operations have allowed for quite a bit of optical work in the vault.  The first priority was to correct the issues we found in the output couplers during the previous week of operations (Aug 25 to 29).  The 6-micron output coupler-cooling ring was machined to allow for greater clearance when mounted in the can.  After pump down, this optic showed far less aberration and ought to be able to lase.  One of the two 10.6 micron Output couplers was also removed during the can opening. This optic was tested for absorption in the MTS.  These tests showed the optic was absorbing less than .2% of incident light from a CO2 laser.  The optic has since been un-mounted and returned to the vendor for further testing.  With the machine is running again, experimentation is being performed looking for possible correlations between the thermal distortion and synchrotron radiation.

The extended down allowed for advances in other areas as well.  All major components of the OCMMS system are installed and controlled remotely.  This allows for system measurements, which will define the feedback circuit parameters.  This system is also being used to monitor the thermal distortions of the OC optics.  The optical diagnostics suite in the vault was found to have laser damage from the previous weeks of running.  The ND in the filter wheels in line with the spectrometer and Pyrocamera were increased to prevent this in the future.  Replacements have been ordered.

On the drive laser the third EO cell was re-installed to facilitate accelerator machine studies.   The newer shutter was also left in place to allow for maximum flexibility.  The timing-jitter of the Coherent laser for the pulse stacker was also characterized.

Terahertz Project:

A preliminary design review meeting was held at JLab with Vincent Christina visiting from AES.  All major parameters were set allowing the detailed design to commence.  It was decided that M1 will be movable using in-vacuum motors, M3 and M4 will be externally adjustable.  The penetration from Lab 3 into the vault was completed without problems, drilling took place from both directions and met accurately in the middle, thanks to the extreme skill of our survey team.  This provides a 10" ID path for beam transport. Oleg Chubar and Paul Dumas ran the SRW code to calculate the electric field of the emitted light so that we can optimize the mirror figures.  The code had to be modified to take account of the near-field geometry.