## Sheet1
Table 2. SH2060 Laboratory Reagent Water Spike (LRWS) Summary.
Calculated Quality Control Limits
for Laboratory Schedule 2060 Set Spikes
Dates: 06/01/2002 - 09/30/2004
2060 Reagent Water Set Spike Summary
[13 empty] | Mean | Varience | Median
Parameter | Analyte | Date | Number | Median | Quartile | RELIQ | Minimum | P10 | P25 | Maximum | Mean | Standard | T-test | F-test | Mann-Whitney | F-Pseudo | Mediam - | Median + | Mediam - | Median + | Mediam - | Median +
Code |  |  | of | % | Range |  | % |  |  | % | % | Deviation | P-value | P-value | P-value | Sigma | 2*F-pseudo | 2*F-pseudo | 3*F-pseudo | 3*F-pseudo | 4*F-pseudo | 4*F-pseudo
|  |  | Samples | Recovery | % | % | Recovery |  |  | Recovery | Recovery | % | 0.95 | 0.95 | 0.95 | % | Sigma | Sigma | Sigma | Sigma | Sigma | Sigma
[5 empty] | Recovery | [6 empty] | Recovery | Confidence | Confidence | Confidence | Recovery | % | % | % | % | % | %
[13 empty] | < 0.05 | < 0.05 | < 0.05 |  | Recovery | Recovery | Recovery | Recovery | Recovery | Recovery
39732 | 2,4-D | 6/1/02 - 7/31/02 | 76 | 110 | 20 | 18.1818 | 64.1 | 99.82 | 106 | 166 | 114 | 18.3 | 0.0677 | 0.4871 | 0.021 | 14.8258 | 80.3484 | 139.6516 | 65.5226 | 154.4774 | 50.6968 | 169.3032
|  | 8/01/02 - 1/1/04 | 204 | 115 | 21.1 | 18.3478 | 32.2 | 99.88 | 103 | 180 | 119 | 19.5 |  |  |  | 15.6412 | 83.7176 | 146.2824 | 68.0764 | 161.9236 | 52.4351 | 177.5649
38746 | 2,4-DB | 6/1/02 - 7/31/02 | 76 | 71 | 13 | 18.3099 | 28.6 | 56.844 | 67.27 | 96.6 | 68.9 | 11.4 | 0.0002 | 0.9152 | 0.0002 | 9.6368 | 51.7265 | 90.2735 | 42.0897 | 99.9103 | 32.4529 | 109.5471
|  | 8/01/02 - 1/1/04 | 204 | 74.8 | 14.1 | 18.8503 | 16.3 | 61.072 | 62.22 | 123 | 74.6 | 11.5 |  |  |  | 10.4522 | 53.8956 | 95.7044 | 43.4434 | 106.1566 | 32.9913 | 116.6087
49315 | Acifluorfen | 6/1/02 - 7/31/02 | 76 | 94.8 | 23.5 | 24.789 | 8.3 | 59.45 | 77.6 | 148 | 91.9 | 23.3 | 0.0006 | <0.0001 | <0.0001 | 17.4203 | 59.9594 | 129.6406 | 42.5391 | 147.0609 | 25.1188 | 164.4812
|  | 8/01/02 - 1/1/04 | 204 | 85.4 | 15.7 | 18.3841 | 0 | 69.69 | 69.825 | 134 | 83.6 | 15.6 |  |  |  | 11.6383 | 62.1235 | 108.6765 | 50.4852 | 120.3148 | 38.847 | 131.953
38711 | Bentazon | 6/1/02 - 7/31/02 | 76 | 71.1 | 28.4 | 39.9437 | 0 | 2.148 | 0.61 | 109 | 63.8 | 29.8 | <0.0001 | 0.0058 | <0.0001 | 21.0526 | 28.9947 | 113.2053 | 7.9421 | 134.2579 | 0 | 155.3105
|  | 8/01/02 - 1/1/04 | 204 | 2 | 19.2 | 960 | 0 | 0 | 51.82 | 98.7 | 14.4 | 22.8 |  |  |  | 14.2328 | 0 | 30.4655 | 0 | 44.6983 | 0 | 58.9311
48311 | Bromoxynil | 6/1/02 - 7/31/02 | 76 | 69.6 | 36.4 | 52.2989 | 2.6 | 14.752 | 3.62 | 154 | 67.1 | 33.2 | <0.0001 | 0.0322 | <0.0001 | 26.983 | 15.6341 | 123.5659 | 0 | 150.5489 | 0 | 177.5318
|  | 8/01/02 - 1/1/04 | 204 | 7.7 | 27.1 | 351.9481 | 1 | 2.028 | 49.56 | 128 | 22.1 | 27 |  |  |  | 20.089 | 0 | 47.8779 | 0 | 67.9669 | 0 | 88.0558
49306 | Chlorothalonil | 6/1/02 - 7/31/02 | 76 | 10.1 | 14.4 | 142.5743 | 0 | 0 | 0 | 50.2 | 10.5 | 9.8 | <0.0001 | 0.001 | <0.0001 | 10.6746 | 0 | 31.4491 | 0 | 42.1237 | 0 | 52.7983
|  | 8/01/02 - 1/1/04 | 204 | 0 | 8.5 | 0 | 0 | 0 | 0 | 33.6 | 4.5 | 7.1 |  |  |  | 6.301 | 0 | 12.6019 | 0 | 18.9029 | 0 | 25.2039
49305 | Clopyralid | 6/1/02 - 7/31/02 | 76 | 71 | 27.2 | 38.3099 | 49.8 | 57.75 | 56.275 | 132 | 78.5 | 20.7 | 0.0282 | 0.4099 | 0.0985 | 20.1631 | 30.6738 | 111.3262 | 10.5107 | 131.4893 | 0 | 151.6523
|  | 8/01/02 - 1/1/04 | 204 | 72.9 | 32.1 | 44.0329 | 0 | 50.74 | 63.55 | 127 | 72.7 | 19.1 |  |  |  | 23.7954 | 25.3092 | 120.4908 | 0 | 144.2862 | 0 | 168.0816
49304 | Dacthal, Monoacid | 6/1/02 - 7/31/02 | 76 | 93.6 | 20.8 | 22.2222 | 37.6 | 75.81 | 83.6 | 152 | 94.8 | 18.8 | 0.9479 | 0.0285 | 0.6727 | 15.4188 | 62.7623 | 124.4377 | 47.3435 | 139.8565 | 31.9247 | 155.2753
|  | 8/01/02 - 1/1/04 | 204 | 94.9 | 22.6 | 23.8145 | 30.1 | 78.97 | 82.075 | 145 | 95 | 15.2 |  |  |  | 16.7532 | 61.3937 | 128.4063 | 44.6405 | 145.1595 | 27.8874 | 161.9126
38442 | Dicamba | 6/1/02 - 7/31/02 | 76 | 98.4 | 19 | 19.3089 | 70 | 83.68 | 89.3 | 144 | 101 | 15.4 | 0.003 | 0.0175 | 0.0322 | 14.0845 | 70.231 | 126.569 | 56.1465 | 140.6535 | 42.062 | 154.738
|  | 8/01/02 - 1/1/04 | 201 | 95.9 | 12.1 | 12.6173 | 40 | 82.84 | 89.65 | 137 | 95.2 | 12.2 |  |  |  | 8.9696 | 77.9608 | 113.8392 | 68.9912 | 122.8088 | 60.0216 | 131.7784
49302 | Dichloprop | 6/1/02 - 7/31/02 | 76 | 90.4 | 11.1 | 12.2788 | 49.8 | 76.15 | 82.375 | 110 | 89.3 | 10.3 | 0.6964 | 0.0887 | 0.33 | 8.2283 | 73.9434 | 106.8566 | 65.715 | 115.085 | 57.4867 | 123.3133
|  | 8/01/02 - 1/1/04 | 204 | 88.5 | 13.3 | 15.0282 | 24.6 | 76.4 | 84.5 | 151 | 88.7 | 12.1 |  |  |  | 9.8592 | 68.7817 | 108.2183 | 58.9225 | 118.0775 | 49.0634 | 127.9366
49301 | Dinoseb | 6/1/02 - 7/31/02 | 76 | 80 | 24.1 | 30.125 | 1.9 | 44.98 | 38.7 | 139 | 77.1 | 23.9 | <0.0001 | 0.0062 | <0.0001 | 17.8651 | 44.2698 | 115.7302 | 26.4047 | 133.5953 | 8.5397 | 151.4603
|  | 8/01/02 - 1/1/04 | 204 | 49.3 | 25.9 | 52.5355 | 2.4 | 29.77 | 62.5 | 96 | 51.5 | 18.3 |  |  |  | 19.1994 | 10.9012 | 87.6988 | 0 | 106.8982 | 0 | 126.0976
38482 | MCPA | 6/1/02 - 7/31/02 | 76 | 80.1 | 17.1 | 21.3483 | 51 | 70.67 | 78.7 | 110 | 82.6 | 11.6 | 0.0047 | 0.9767 | 0.0022 | 12.6761 | 54.7479 | 105.4521 | 42.0718 | 118.1282 | 29.3958 | 130.8042
|  | 8/01/02 - 1/1/04 | 203 | 87 | 15.6 | 17.931 | 31 | 75.52 | 74.9 | 133 | 87.1 | 11.7 |  |  |  | 11.5641 | 63.8718 | 110.1282 | 52.3076 | 121.6924 | 40.7435 | 133.2565
38487 | MCPB | 6/1/02 - 7/31/02 | 76 | 70.8 | 15.9 | 22.4576 | 25.8 | 53.612 | 68.89 | 190 | 73.4 | 27.3 | 0.0585 | <0.0001 | <0.0001 | 11.7865 | 47.227 | 94.373 | 35.4405 | 106.1595 | 23.654 | 117.946
|  | 8/01/02 - 1/1/04 | 204 | 76.6 | 15.7 | 20.4961 | 15 | 62.424 | 61.13 | 142.8 | 78.6 | 16.8 |  |  |  | 11.6383 | 53.3235 | 99.8765 | 41.6852 | 111.5148 | 30.047 | 123.153
49291 | Picloram | 6/1/02 - 7/31/02 | 76 | 88.1 | 19.2 | 21.7934 | 53.2 | 68.85 | 73.8 | 138 | 90.3 | 18.4 | 0.022 | 0.132 | 0.1203 | 14.2328 | 59.6345 | 116.5655 | 45.4017 | 130.7983 | 31.1689 | 145.0311
|  | 8/01/02 - 1/1/04 | 204 | 84.7 | 21.9 | 25.856 | 0 | 67.84 | 78.625 | 148 | 85.1 | 16 |  |  |  | 16.2342 | 52.2315 | 117.1685 | 35.9973 | 133.4027 | 19.763 | 149.637
49235 | Triclopyr | 6/1/02 - 7/31/02 | 76 | 92.6 | 11.9 | 12.851 | 46.4 | 78.32 | 85.675 | 114 | 91.8 | 12.1 | 0.947 | 0.4848 | 0.9477 | 8.8213 | 74.9573 | 110.2427 | 66.136 | 119.064 | 57.3146 | 127.8854
|  | 8/01/02 - 1/1/04 | 204 | 92.8 | 12.9 | 13.9009 | 29.9 | 80.07 | 84.725 | 139 | 91.9 | 11.3 |  |  |  | 9.5626 | 73.6747 | 111.9253 | 64.1121 | 121.4879 | 54.5494 | 131.0506
99958 | 2,4,5-T (Surrogate) | 6/1/02 - 7/31/02 | 76 | 78.1 | 13.6 | 17.4136 | 42.3 | 69.22 | 76.83 | 102 | 78.8 | 10.8 | 0.0003 | <0.0001 | <0.0001 | 10.0815 | 57.9369 | 98.2631 | 47.8554 | 108.3446 | 37.7738 | 118.4262
|  | 8/01/02 - 1/1/04 | 204 | 87.1 | 19.5 | 22.3881 | 0 | 69.424 | 72.64 | 137 | 86.2 | 16.4 |  |  |  | 14.4552 | 58.1897 | 116.0103 | 43.7345 | 130.4655 | 29.2794 | 144.9206
50470 | 2,4-D Methyl Ester | 6/1/02 - 7/31/02 | 77 | 76.8 | 14.3 | 18.6198 | 6.4 | 53.24 | 68.8 | 97.3 | 73.4 | 15.7 | 0.0031 | 0.4611 | <0.0001 | 10.6004 | 55.5991 | 98.0009 | 44.9987 | 108.6013 | 34.3982 | 119.2018
|  | 8/01/02 - 1/1/04 | 201 | 68.6 | 16.5 | 24.0525 | 5.4 | 52.4 | 59.8 | 108 | 67.4 | 14.6 |  |  |  | 12.2313 | 44.1374 | 93.0626 | 31.9062 | 105.2938 | 19.6749 | 117.5251
61692 | 3(4 chlorophenyl)methyl urea | 6/1/02 - 7/31/02 | 77 | 99 | 12.6 | 12.7273 | 77.7 | 87.98 | 92.6 | 136 | 98.8 | 9.3 | <0.0001 | <0.0007 | <0.0001 | 9.3403 | 80.3195 | 117.6805 | 70.9792 | 127.0208 | 61.639 | 136.361
|  | 8/01/02 - 1/1/04 | 201 | 90.4 | 15.7 | 17.3673 | 27.6 | 74.8 | 83.4 | 152 | 90.7 | 14 |  |  |  | 11.6383 | 67.1235 | 113.6765 | 55.4852 | 125.3148 | 43.847 | 136.953
50295 | 3-Keto Carbofuran | 6/1/02 - 7/31/02 | 77 | 34 | 38.9 | 114.4118 | 0 | 70.56 | 77.3 | 78.5 | 31.3 | 21.1 | 0.3208 | 0.0193 | 0.5108 | 28.8362 | 0 | 91.6723 | 0 | 120.5085 | 0 | 149.3447
|  | 8/01/02 - 1/1/04 | 201 | 30.4 | 42.5 | 139.8026 | 0 | 63.9 | 71.5 | 105 | 34.7 | 26.4 |  |  |  | 31.5048 | 0 | 93.4096 | 0 | 124.9145 | 0 | 156.4193
49308 | 3-OH Carbofuran | 6/1/02 - 7/31/02 | 77 | 84.5 | 13.1 | 15.503 | 66.2 | 4.192 | 8.92 | 104 | 84 | 9.7 | 0.0191 | 0.0008 | 0.0125 | 9.7109 | 65.0782 | 103.9218 | 55.3673 | 113.6327 | 45.6564 | 123.3436
|  | 8/01/02 - 1/1/04 | 201 | 80.5 | 17 | 21.118 | 33.7 | 3.92 | 11.2 | 138 | 80 | 13.4 |  |  |  | 12.6019 | 55.2961 | 105.7039 | 42.6942 | 118.3058 | 30.0923 | 130.9077
49314 | Aldicarb Sulfoxide | 6/1/02 - 7/31/02 | 77 | 58.6 | 45.8 | 78.157 | 0 | 0 | 0 | 94.4 | 48.4 | 26.7 | <0.0001 | 0.1324 | <0.0001 | 33.9511 | 0 | 126.5021 | 0 | 160.4532 | 0 | 194.4043
|  | 8/01/02 - 1/1/04 | 201 | 12.2 | 32.4 | 265.5738 | 0 | 0 | 0 | 94 | 20.7 | 23.1 |  |  |  | 24.0178 | 0 | 60.2356 | 0 | 84.2534 | 0 | 108.2712
49312 | Aldicarb | 6/1/02 - 7/31/02 | 77 | 16.4 | 43 | 262.1951 | 0 | 7.6 | 24.68 | 74.3 | 23.4 | 22.3 | <0.0001 | <0.0001 | <0.0001 | 31.8755 | 0 | 80.1509 | 0 | 112.0264 | 0 | 143.9019
|  | 8/01/02 - 1/1/04 | 201 | 0 | 8.6 | #DIV/0! | 0 | 0 | 1 | 61.4 | 7.7 | 14.3 |  |  |  | 6.3751 | 0 | 12.7502 | 0 | 19.1253 | 0 | 25.5004
49313 | Aldicarb Sulfone | 6/1/02 - 7/31/02 | 77 | 62 | 23.9 | 38.5484 | 0.2 | 41.856 | 47.76 | 104 | 61.2 | 19.1 | 0.7825 | 0.0364 | 0.7014 | 17.7168 | 26.5663 | 97.4337 | 8.8495 | 115.1505 | 0 | 132.8673
|  | 8/01/02 - 1/1/04 | 201 | 58 | 18.8 | 32.4138 | 10.7 | 41.44 | 51.72 | 103 | 60.6 | 15.6 |  |  |  | 13.9362 | 30.1275 | 85.8725 | 16.1913 | 99.8087 | 2.255 | 113.745
39632 | Atrazine | 6/1/02 - 7/31/02 | 77 | 82.1 | 19.2 | 23.3861 | 17 | 46.04 | 67.3 | 101 | 74.4 | 18.8 | 0.5917 | 0.2426 | 0.5205 | 14.2328 | 53.6345 | 110.5655 | 39.4017 | 124.7983 | 25.1689 | 139.0311
|  | 8/01/02 - 1/1/04 | 201 | 76.2 | 19.7 | 25.853 | 7.5 | 58 | 66.1 | 115 | 75.7 | 16.8 |  |  |  | 14.6034 | 46.9932 | 105.4068 | 32.3898 | 120.0102 | 17.7864 | 134.6136
50299 | Bendiocarb | 6/1/02 - 7/31/02 | 77 | 75.5 | 18.4 | 24.3709 | 15.9 | 54.64 | 63.8 | 98.8 | 72.3 | 14.8 | 0.3276 | 0.6072 | 0.1834 | 13.6397 | 48.2205 | 102.7795 | 34.5808 | 116.4192 | 20.9411 | 130.0589
|  | 8/01/02 - 1/1/04 | 201 | 70 | 19.8 | 28.2857 | 4.1 | 51.7 | 61.1 | 132 | 70.3 | 15.6 |  |  |  | 14.6775 | 40.6449 | 99.3551 | 25.9674 | 114.0326 | 11.2898 | 128.7102
50300 | Benomyl | 6/1/02 - 7/31/02 | 77 | 92.6 | 15.3 | 16.5227 | 9.8 | 61.26 | 86 | 128 | 88.6 | 23.2 | <0.0001 | 0.0001 | <0.0001 | 11.3417 | 69.9165 | 115.2835 | 58.5748 | 126.6252 | 47.2331 | 137.9669
|  | 8/01/02 - 1/1/04 | 201 | 47.6 | 61.2 | 128.5714 | 2.4 | 10 | 17.4 | 160 | 50 | 34 |  |  |  | 45.3669 | -43.1339 | 138.3339 | 0 | 183.7008 | 0 | 229.0678
61693 | Bensulfuron, methyl | 6/1/02 - 7/31/02 | 77 | 142 | 36.5 | 25.7042 | 2.3 | 99.52 | 118 | 185 | 134 | 30.1 | <0.0001 | 0.1147 | <0.0001 | 27.0571 | 87.8858 | 196.1142 | 60.8288 | 223.1712 | 33.7717 | 250.2283
|  | 8/01/02 - 1/1/04 | 201 | 94.9 | 53.3 | 56.1644 | 15.7 | 53.8 | 68.8 | 224 | 96.4 | 35 |  |  |  | 39.5107 | 15.8785 | 173.9215 | 0 | 213.4322 | 0 | 252.943
4029 | Bromacil | 6/1/02 - 7/31/02 | 77 | 92 | 21.4 | 23.2609 | 13.8 | 45.312 | 80.76 | 115 | 85.8 | 24.1 | <0.0001 | 0.0214 | <0.0001 | 15.8636 | 60.2728 | 123.7272 | 44.4092 | 139.5908 | 28.5456 | 155.4544
|  | 8/01/02 - 1/1/04 | 201 | 24.7 | 42.7 | 172.8745 | 1.2 | 5.92 | 11.52 | 122 | 35.8 | 30.1 |  |  |  | 31.6531 | 0 | 88.0062 | 0 | 119.6592 | 0 | 151.3123
50305 | Caffeine | 6/1/02 - 7/31/02 | 77 | 97.6 | 21 | 21.5164 | 5.6 | 82.78 | 87 | 127 | 97.1 | 16.9 | 0.0171 | 0.5162 | 0.0012 | 15.5671 | 66.4658 | 128.7342 | 50.8987 | 144.3013 | 35.3317 | 159.8683
|  | 8/01/02 - 1/1/04 | 201 | 91.6 | 18.1 | 19.7598 | 33.4 | 75.56 | 81.9 | 145 | 91.9 | 15.9 |  |  |  | 13.4173 | 64.7653 | 118.4347 | 51.348 | 131.852 | 37.9306 | 145.2694
49310 | Carbaryl | 6/1/02 - 7/31/02 | 77 | 87.6 | 10.3 | 11.758 | 17.6 | 74.02 | 82.4 | 105 | 86.2 | 11.8 | <0.0001 | 0.5668 | <0.0001 | 7.6353 | 72.3294 | 102.8706 | 64.6941 | 110.5059 | 57.0589 | 118.1411
|  | 8/01/02 - 1/1/04 | 201 | 79.6 | 16.1 | 20.2261 | 32.7 | 65.3 | 71.8 | 134 | 79.3 | 12.5 |  |  |  | 11.9348 | 55.7305 | 103.4695 | 43.7957 | 115.4043 | 31.8609 | 127.3391
49309 | Carbofuran | 6/1/02 - 7/31/02 | 77 | 86.8 | 10.1 | 11.6359 | 19.4 | 73.28 | 79.8 | 98.3 | 84.3 | 10.6 | 0.0018 | 0.084 | <0.0001 | 7.487 | 71.8259 | 101.7741 | 64.3389 | 109.2611 | 56.8519 | 116.7481
|  | 8/01/02 - 1/1/04 | 201 | 79.1 | 16.3 | 20.6068 | 45.8 | 65.4 | 71.5 | 139 | 79.3 | 12.5 |  |  |  | 12.083 | 54.934 | 103.266 | 42.8509 | 115.3491 | 30.7679 | 127.4321
61188 | Chloramben, methyl ester | 6/1/02 - 7/31/02 | 77 | 75.8 | 22.7 | 29.9472 | 7.8 | 19.448 | 60.92 | 87.8 | 65.5 | 23.6 | <0.0001 | 0.6222 | <0.0001 | 16.8273 | 42.1454 | 109.4546 | 25.3182 | 126.2818 | 0 | 143.1091
|  | 8/01/02 - 1/1/04 | 201 | 17.8 | 20.6 | 115.7303 | 4.4 | 9.2 | 11.84 | 112 | 27.1 | 22.5 |  |  |  | 15.2706 | 0 | 48.3411 | 0 | 63.6117 | 0 | 78.8823
50306 | Chlorimuron, ethyl | 6/1/02 - 7/31/02 | 77 | 200 | 92 | 46 | 2 | 69.96 | 139 | 276 | 181 | 64.2 | 0.4014 | 0.7511 | 0.0783 | 68.1987 | 63.6027 | 336.3973 | -4.596 | 404.596 | 0 | 472.7947
|  | 8/01/02 - 1/1/04 | 201 | 181 | 74.3 | 41.0497 | 0 | 90.6 | 139 | 374 | 173 | 66.2 |  |  |  | 55.0778 | 70.8443 | 291.1557 | 15.7665 | 346.2335 | 0 | 401.3113
4031 | Cycloate | 6/1/02 - 7/31/02 | 77 | 64.4 | 41.7 | 64.7516 | 0.6 | 6.36 | 34.36 | 96.5 | 53.2 | 27.6 | <0.0001 | 0.0002 | <0.0001 | 30.9118 | 0 | 126.2236 | 0 | 157.1354 | 0 | 188.0471
|  | 8/01/02 - 1/1/04 | 201 | 5.4 | 10.5 | 194.4444 | 1.2 | 2.44 | 3.4 | 82.1 | 14.6 | 19.1 |  |  |  | 7.7835 | 0 | 20.9671 | 0 | 28.7506 | 0 | 36.5342
4040 | Desethyl Atrazine | 6/1/02 - 7/31/02 | 77 | 72.6 | 32.4 | 44.6281 | 6.4 | 24.648 | 51.76 | 98.2 | 64.9 | 23.5 | 0.056 | 0.076 | 0.2793 | 24.0178 | 24.5644 | 120.6356 | 0.54663 | 144.6534 | 0 | 168.6712
|  | 8/01/02 - 1/1/04 | 201 | 72.2 | 23.8 | 32.964 | 2.4 | 47.36 | 58.72 | 127 | 70.3 | 19.8 |  |  |  | 17.6427 | 36.9146 | 107.4854 | 19.2719 | 125.1281 | 0 | 142.7708
4039 | Desethyl Desiso Atrazine | 6/1/02 - 7/31/02 | 77 | 47 | 16.2 | 34.4681 | 28.3 | 36.56 | 41 | 104 | 52.5 | 17.2 | 0.5465 | 0.2193 | 0.4031 | 12.0089 | 22.9822 | 71.0178 | 0 | 83.0267 | 0 | 95.0356
|  | 8/01/02 - 1/1/04 | 171 | 46.5 | 28.6 | 61.5054 | 0 | 31.12 | 36.8 | 122 | 50.9 | 19.4 |  |  |  | 21.2009 | 4.0982 | 88.9018 | 0 | 110.1027 | 0 | 131.3036
4038 | Desisopropyl Atrazine | 6/1/02 - 7/31/02 | 77 | 62.8 | 24 | 38.2166 | 2.3 | 71.08 | 78.6 | 98 | 55.8 | 21.5 | 0.0104 | 0.3651 | 0.0634 | 17.791 | 27.2181 | 98.3819 | 9.4271 | 116.1729 | -8.3638 | 133.9638
|  | 8/01/02 - 1/1/04 | 201 | 65 | 22.8 | 35.0769 | 1.9 | 63.2 | 71.4 | 112 | 62.7 | 19.7 |  |  |  | 16.9014 | 31.1972 | 98.8028 | 14.2958 | 115.7042 | 0 | 132.6056
4033 | Diphenamid | 6/1/02 - 7/31/02 | 77 | 84.9 | 11.3 | 13.3098 | 2.7 | 78.58 | 87.6 | 107 | 82.6 | 13.5 | 0.0209 | 0.8363 | <0.0001 | 8.3766 | 68.1468 | 101.6532 | 59.7703 | 110.0297 | 51.3937 | 118.4063
|  | 8/01/02 - 1/1/04 | 201 | 78.4 | 15.3 | 19.5153 | 43.5 | 70.9 | 77.1 | 142 | 78.4 | 13.3 |  |  |  | 11.3417 | 55.7165 | 101.0835 | 44.3748 | 112.4252 | 33.0331 | 123.7669
49300 | Diuron | 6/1/02 - 7/31/02 | 77 | 91.9 | 9.2 | 10.0109 | 41.3 | 63.48 | 81 | 115.2 | 90.1 | 11.4 | 0.0014 | 0.3343 | <0.0001 | 6.8199 | 78.2603 | 105.5397 | 71.4404 | 112.3596 | 64.6205 | 119.1795
|  | 8/01/02 - 1/1/04 | 201 | 85.1 | 15.2 | 17.8613 | 26.8 | 28.6 | 39.2 | 141 | 84.8 | 12.5 |  |  |  | 11.2676 | 62.5648 | 107.6352 | 51.2972 | 118.9028 | 40.0296 | 130.1704
49297 | Fenuron | 6/1/02 - 7/31/02 | 77 | 88.8 | 13.8 | 15.5405 | 38.2 | 97.2 | 123.28 | 109 | 85.2 | 14.7 | <0.0001 | 0.0002 | <0.0001 | 10.2298 | 68.3404 | 109.2596 | 58.1106 | 119.4894 | 47.8808 | 129.7192
|  | 8/01/02 - 1/1/04 | 201 | 51.9 | 30.2 | 58.1888 | 0 | 53.4 | 68.16 | 122 | 54.5 | 21.2 |  |  |  | 22.387 | 7.1261 | 96.6739 | 0 | 119.0609 | 0 | 141.4478
61694 | Flumetsulam | 6/1/02 - 7/31/02 | 77 | 136 | 27.8 | 20.4412 | 67.5 | 79.1 | 84.8 | 204 | 135 | 27.9 | <0.0001 | 0.0169 | <0.0001 | 20.6079 | 94.7843 | 177.2157 | 74.1764 | 197.8236 | 53.5686 | 218.4314
|  | 8/01/02 - 1/1/04 | 201 | 91.2 | 52.4 | 57.4561 | 24.2 | 65.9 | 73.8 | 213 | 94.1 | 35.1 |  |  |  | 38.8436 | 13.5128 | 168.8872 | 0 | 207.7308 | 0 | 246.5744
38811 | Fluometuron | 6/1/02 - 7/31/02 | 77 | 88.3 | 8.4 | 9.513 | 56.4 | 87.656 | 99.2 | 108 | 88.1 | 7.7 | <0.0001 | <0.0001 | <0.0001 | 6.2268 | 75.8463 | 100.7537 | 69.6195 | 106.9805 | 63.3927 | 113.2073
|  | 8/01/02 - 1/1/04 | 201 | 80.8 | 14.3 | 17.698 | 32.8 | 75.528 | 83.79 | 167 | 81.4 | 13.8 |  |  |  | 10.6004 | 59.5991 | 102.0009 | 48.9987 | 112.6013 | 38.3982 | 123.2018
50355 | Hydroxy-Atrazine | 6/1/02 - 7/31/02 | 77 | 107 | 20 | 18.6916 | 28.4 | 108.056 | 118.16 | 162 | 110 | 20 | <0.0001 | 0.4739 | <0.0001 | 14.8258 | 77.3484 | 136.6516 | 62.5226 | 151.4774 | 47.6968 | 166.3032
|  | 8/01/02 - 1/1/04 | 178 | 93.7 | 22.7 | 24.2263 | 0 | 93.2 | 107.24 | 177 | 94.6 | 21.4 |  |  |  | 16.8273 | 60.0454 | 127.3546 | 43.2182 | 144.1818 | 26.3909 | 161.0091
50356 | Imazaquin | 6/1/02 - 7/31/02 | 77 | 134 | 38.2 | 28.5075 | 86.6 | 88.816 | 96.99 | 274 | 140 | 33.6 | 0.0829 | 0.0049 | 0.0057 | 28.3173 | 77.3655 | 190.6345 | 49.0482 | 218.9518 | 20.7309 | 247.2691
|  | 8/01/02 - 1/1/04 | 201 | 123 | 40.7 | 33.0894 | 0 | 79.186 | 93.71 | 353 | 131 | 44.1 |  |  |  | 30.1705 | 62.659 | 183.341 | 32.4885 | 213.5115 | 2.318 | 243.682
50407 | Imazethapyr | 6/1/02 - 7/31/02 | 74 | 113 | 26.6 | 23.5398 | 0 | 101.8 | 112 | 225 | 114 | 28.9 | 0.3446 | 0.0585 | 0.4059 | 19.7183 | 73.5634 | 152.4366 | 53.8451 | 172.1549 | 34.1268 | 191.8732
|  | 8/01/02 - 1/1/04 | 200 | 108 | 34.1 | 31.5741 | 0 | 82.9 | 93.8 | 214 | 110 | 34.8 |  |  |  | 25.278 | 57.444 | 158.556 | 32.166 | 183.834 | 6.8881 | 209.1119
61695 | Imidacloprid | 6/1/02 - 7/31/02 | 77 | 122 | 25.5 | 20.9016 | 74 | 18.416 | 45.24 | 167 | 123 | 18.2 | <0.0001 | 0.3575 | <0.0001 | 18.9029 | 84.1942 | 159.8058 | 65.2913 | 178.7087 | 46.3884 | 197.6116
|  | 8/01/02 - 1/1/04 | 201 | 105 | 26.3 | 25.0476 | 12.4 | 40.52 | 51.2 | 156 | 107 | 19.8 |  |  |  | 19.4959 | 66.0082 | 143.9918 | 46.5122 | 163.4878 | 27.0163 | 182.9837
38478 | Linuron | 6/1/02 - 7/31/02 | 77 | 87.6 | 8.3 | 9.4749 | 5.1 | 77.98 | 82.8 | 103 | 85.6 | 11.2 | 0.0882 | 0.1154 | 0.0003 | 6.1527 | 75.2946 | 99.9054 | 69.1419 | 106.0581 | 62.9892 | 112.2108
|  | 8/01/02 - 1/1/04 | 201 | 82.4 | 12.8 | 15.534 | 16.2 | 69.2 | 75.4 | 138 | 82.7 | 13 |  |  |  | 9.4885 | 63.423 | 101.377 | 53.9345 | 110.8655 | 44.446 | 120.354
50359 | Metalaxyl | 6/1/02 - 7/31/02 | 77 | 81.7 | 10.6 | 12.9743 | 4.1 | 72.26 | 76.6 | 95.5 | 81.1 | 11.3 | 0.0043 | 0.0055 | <0.0001 | 7.8577 | 65.9847 | 97.4153 | 58.127 | 105.273 | 50.2693 | 113.1307
|  | 8/01/02 - 1/1/04 | 201 | 74.2 | 17.1 | 23.0458 | 43.5 | 59.2 | 66.1 | 165 | 75.8 | 14.8 |  |  |  | 12.6761 | 48.8479 | 99.5521 | 36.1718 | 112.2282 | 23.4958 | 124.9042
38501 | Methiocarb | 6/1/02 - 7/31/02 | 77 | 82.3 | 43.8 | 53.2199 | 1.1 | 4.952 | 45.08 | 99.2 | 66.7 | 32.1 | <0.0001 | 0.0305 | <0.0001 | 32.4685 | 17.363 | 147.237 | 0 | 179.7055 | 0 | 212.174
|  | 8/01/02 - 1/1/04 | 201 | 4 | 12 | 300 | 0.8 | 1.8 | 2.48 | 116 | 16.3 | 26.1 |  |  |  | 8.8955 | 0 | 21.791 | 0 | 30.6864 | 0 | 39.5819
49296 | Methomyl | 6/1/02 - 7/31/02 | 77 | 77.4 | 21.9 | 28.2946 | 1.2 | 12.856 | 64.32 | 103 | 69 | 27.7 | <0.0001 | 0.7987 | <0.0001 | 16.2342 | 44.9315 | 109.8685 | 0 | 126.1027 | 0 | 142.337
|  | 8/01/02 - 1/1/04 | 201 | 7.5 | 31.1 | 414.6667 | 0 | 1.64 | 2.92 | 104 | 21.4 | 27 |  |  |  | 23.0541 | 0 | 53.6082 | 0 | 76.6623 | 0 | 99.7165
61697 | Metsulfuron, methyl | 6/1/02 - 7/31/02 | 77 | 43.9 | 64.5 | 146.9248 | 0 | 0 | 3.4 | 107 | 39.7 | 32.7 | 0.8033 | 0.034 | 0.8934 | 47.8132 | 0 | 139.5264 | 0 | 187.3396 | 0 | 235.1528
|  | 8/01/02 - 1/1/04 | 197 | 39.5 | 44.9 | 113.6709 | 0 | 2.008 | 15.4 | 111 | 38.8 | 26.7 |  |  |  | 33.2839 | 0 | 106.0678 | 0 | 139.3517 | 0 | 172.6357
49294 | Neburon | 6/1/02 - 7/31/02 | 77 | 92.7 | 10.9 | 11.7584 | 2.9 | 73.28 | 85.9 | 104 | 88.9 | 13.9 | 0.0015 | 0.5167 | <0.0001 | 8.0801 | 76.5399 | 108.8601 | 68.4598 | 116.9402 | 60.3798 | 125.0202
|  | 8/01/02 - 1/1/04 | 201 | 84 | 14.3 | 17.0238 | 6.6 | 69.8 | 76.4 | 135 | 83.1 | 13.1 |  |  |  | 10.6004 | 62.7991 | 105.2009 | 52.1987 | 115.8013 | 41.5982 | 126.4018
50364 | Nicosulfuron | 6/1/02 - 7/31/02 | 77 | 180 | 59.9 | 33.2778 | 21 | 104.496 | 135.04 | 272 | 169 | 48 | 0.0001 | 0.0197 | <0.0001 | 44.4033 | 91.1935 | 268.8065 | 46.7902 | 313.2098 | 0 | 357.613
|  | 8/01/02 - 1/1/04 | 201 | 136 | 90.9 | 66.8382 | 9.6 | 67.6 | 95.04 | 316 | 139 | 60.1 |  |  |  | 67.3832 | 1.2335 | 270.7665 | 0 | 338.1497 | 0 | 405.533
49293 | Norflurazon | 6/1/02 - 7/31/02 | 77 | 90.4 | 15 | 16.5929 | 17.9 | 52.504 | 83.2 | 119 | 85.1 | 20.5 | <0.0001 | 0.1319 | <0.0001 | 11.1193 | 68.1613 | 112.6387 | 57.042 | 123.758 | 45.9226 | 134.8774
|  | 8/01/02 - 1/1/04 | 201 | 42.8 | 31.9 | 74.5327 | 6.2 | 19.68 | 28.88 | 107 | 46.9 | 23.7 |  |  |  | 23.6471 | 0 | 90.0943 | 0 | 113.7414 | 0 | 137.3886
49292 | Oryzalin | 6/1/02 - 7/31/02 | 77 | 81 | 18.2 | 22.4691 | 0 | 59.72 | 70.8 | 98.2 | 77.7 | 15.5 | <0.0001 | 0.5128 | <0.0001 | 13.4915 | 54.017 | 107.983 | 40.5256 | 121.4744 | 27.0341 | 134.9659
|  | 8/01/02 - 1/1/04 | 201 | 58.4 | 24.4 | 41.7808 | 8.6 | 40 | 48 | 115 | 60.3 | 16.5 |  |  |  | 18.0875 | 22.2251 | 94.5749 | 4.1376 | 112.6624 | 0 | 130.7499
38866 | Oxamyl | 6/1/02 - 7/31/02 | 77 | 74 | 20.2 | 27.2973 | 33.6 | 51.78 | 61.9 | 94.9 | 71.3 | 13.9 | <0.0001 | 0.0298 | <0.0001 | 14.9741 | 44.0519 | 103.9481 | 29.0778 | 118.9222 | 14.1038 | 133.8962
|  | 8/01/02 - 1/1/04 | 201 | 49.4 | 25.4 | 51.417 | 12.4 | 31.9 | 38.96 | 116 | 51.7 | 17.1 |  |  |  | 18.8288 | 11.7425 | 87.0575 | 0 | 105.8863 | 0 | 124.715
49236 | Propham | 6/1/02 - 7/31/02 | 77 | 87.6 | 11.6 | 13.242 | 13.8 | 76.16 | 80.7 | 111 | 86.7 | 12.7 | 0.6216 | 0.1644 | 0.128 | 8.599 | 70.4021 | 104.7979 | 61.8031 | 113.3969 | 53.2042 | 121.9958
|  | 8/01/02 - 1/1/04 | 201 | 84.7 | 15.5 | 18.2999 | 18.9 | 69.9 | 77.6 | 141 | 85.7 | 14.5 |  |  |  | 11.49 | 61.72 | 107.68 | 50.23 | 119.17 | 38.74 | 130.66
50471 | Propiconazole | 6/1/02 - 7/31/02 | 77 | 93.5 | 12.7 | 13.5829 | 1.1 | 72.76 | 86 | 115 | 89.6 | 14.9 | 0.1066 | 0.9736 | 0.0018 | 9.4144 | 74.6712 | 112.3288 | 65.2569 | 121.7431 | 55.8425 | 131.1575
|  | 8/01/02 - 1/1/04 | 201 | 86.6 | 15.1 | 17.4365 | 5.7 | 71.2 | 78.8 | 140 | 86.4 | 15 |  |  |  | 11.1935 | 64.213 | 108.987 | 53.0196 | 120.1804 | 41.8261 | 131.3739
38538 | Propoxur | 6/1/02 - 7/31/02 | 77 | 84.6 | 11.2 | 13.2388 | 24.1 | 71.4 | 77 | 101 | 81.9 | 10.1 | 0.0838 | 0.0169 | 0.0161 | 8.3024 | 67.9951 | 101.2049 | 59.6927 | 109.5073 | 51.3902 | 117.8098
|  | 8/01/02 - 1/1/04 | 201 | 78.7 | 15.2 | 19.3139 | 35.9 | 63.2 | 71.7 | 138 | 79.1 | 12.7 |  |  |  | 11.2676 | 56.1648 | 101.2352 | 44.8972 | 112.5028 | 33.6296 | 123.7704
38548 | Siduron | 6/1/02 - 7/31/02 | 77 | 95.2 | 12.6 | 13.2353 | 20.4 | 67.98 | 88.6 | 124 | 91.7 | 16.2 | <0.0001 | 0.0049 | <0.0001 | 9.3403 | 76.5195 | 113.8805 | 67.1792 | 123.2208 | 57.839 | 132.561
|  | 8/01/02 - 1/1/04 | 201 | 64.4 | 29.5 | 45.8075 | 9 | 39.5 | 51.4 | 130 | 66 | 21.3 |  |  |  | 21.8681 | 20.6639 | 108.1361 | -1.2042 | 130.0042 | 0 | 151.8722
50337 | Sulfometuron, methyl | 6/1/02 - 7/31/02 | 77 | 129 | 30 | 23.2558 | 8.1 | 98.76 | 117 | 174 | 129 | 26.9 | 0.0128 | 0.265 | 0.0028 | 22.2387 | 84.5226 | 173.4774 | 62.2839 | 195.7161 | 40.0452 | 217.9548
|  | 8/01/02 - 1/1/04 | 201 | 122 | 27 | 22.1311 | 23.8 | 91.8 | 108 | 187 | 121 | 24.2 |  |  |  | 20.0148 | 81.9703 | 162.0297 | 61.9555 | 182.0445 | 41.9407 | 202.0593
82670 | Tebuthiuron | 6/1/02 - 7/31/02 | 77 | 100 | 17.4 | 17.4 | 74.7 | 85.08 | 91.7 | 130 | 101 | 12 | <0.0001 | 0.0852 | <0.0001 | 12.8984 | 74.2031 | 125.7969 | 61.3047 | 138.6953 | 48.4062 | 151.5938
|  | 8/01/02 - 1/1/04 | 201 | 92 | 16.1 | 17.5 | 36 | 72.7 | 83.1 | 156 | 91.2 | 14.2 |  |  |  | 11.9348 | 68.1305 | 115.8695 | 56.1957 | 127.8043 | 44.2609 | 139.7391
4032 | Terbacil | 6/1/02 - 7/31/02 | 77 | 94.4 | 20 | 21.1864 | 11.1 | 41.32 | 86.52 | 128 | 88.6 | 27.9 | <0.0001 | 0.1183 | <0.0001 | 14.8258 | 64.7484 | 124.0516 | 49.9226 | 138.8774 | 35.0968 | 153.7032
|  | 8/01/02 - 1/1/04 | 201 | 18.6 | 42.4 | 227.957 | 0 | 3.84 | 7.76 | 130 | 32.9 | 32.5 |  |  |  | 31.4307 | 0 | 81.4614 | 0 | 112.8921 | 0 | 144.3228
61159 | Tribenuron, methyl | Removed
90640 | Barban (Surrogate) | 6/1/02 - 7/31/02 | 77 | 97.4 | 14.4 | 14.7844 | 2.4 | 79.968 | 88.68 | 111 | 93.7 | 14.8 | <0.0001 | 0.4702 | <0.0001 | 10.6746 | 76.0509 | 118.7491 | 65.3763 | 129.4237 | 54.7017 | 140.0983
|  | 8/01/02 - 1/1/04 | 200 | 84.2 | 16.4 | 19.4774 | 6.6 | 69.88 | 77.12 | 144 | 85.4 | 15.8 |  |  |  | 12.1572 | 59.8857 | 108.5143 | 47.7285 | 120.6715 | 35.5714 | 132.8286
99959 | Caffeine C13 (Surrogate) | 6/1/02 - 7/31/02 | 77 | 102 | 20.7 | 20.2941 | 67.9 | 84.6 | 90.24 | 185 | 102 | 17.2 | <0.0001 | 0.938 | <0.0001 | 15.3447 | 71.3106 | 132.6894 | 55.9659 | 148.0341 | 40.6212 | 163.3788
|  | 8/01/02 - 1/1/04 | 200 | 89.5 | 22.1 | 24.6927 | 34.4 | 72.844 | 78.93 | 146 | 90.5 | 17.1 |  |  |  | 16.3825 | 56.735 | 122.265 | 40.3525 | 138.6475 | 23.97 | 155.03